## Instructions
Instructions for analyzing GeneRead DNAseq Library Quant Array (Ion Torrent) results with this file:
Generally, only change data in yellow or orange cells. Gray and white cells contain formulas for calculation or results. Please do not change them.
1. Raw data worksheet: Copy and paste the Ct values from the real-time PCR instrument runs of your experimental samples to the yellow section of the "Raw data" worksheet starting at cell B2.
2. Sample library dilution: Input your sample library dilution fold (in orange) if you use different dilution fold other than recommended ones in Handbook.
3. Library information: Change the total primer pairs (in orange) according to corresponding GeneRead NGS DNAseq Gene Panel (Find the primer pair information in Table 1 in the same worksheet. This is critical for target enrichment QC). Input your library insert size (in orange). This will be used for size adjustment to account for the difference in size between the average amplicon length of the library and the DNA standard (183 bp).
4. QC report: All NTC should be more than 29. Slope should be within –3.1 to –3.6. Standard deviation for triplicates should be <0.4.
5. Results: Template dilution factors (dilution fold from original library) are displayed, which you can use to dilute your original libraries (to 4 pM). Use 25 µl of diluted library for emPCR, which is recommended from Ion Torrent template kit. Target Enrichment procedure is monitored by using spikein primers to measure control templates. The control template amount should be in a reasonable range in the library. All libraries should display "Pass" or "Marginal" for processing to sequencing.
6. Calculations: To view the formulas and equations used to calculate the QC data and results, you may review but not alter the "Calculations" worksheet.
.

## Raw data
Well | Raw Ct
A01 | 11.2
A02 | 11.2
A03 | 14.5
A04 | 14.5
A05 | 17.8
A06 | 17.8
A07 | 21.1
A08 | 21.2
A09 | 24.4
A10 | 24.5
A11 | undetermined
A12 | undetermined
A13 | 24
A14 | 24.1
A15 | 12.2
A16 | 12.2
A17 | 15.6
A18 | 15.7
A19 | 24
A20 | 24.1
A21 | 12.2
A22 | 12.2
A23 | 15.6
A24 | 15.7
B01 | 11.2
B02 | 11.2
B03 | 14.5
B04 | 14.5
B05 | 17.8
B06 | 17.8
B07 | 21.1
B08 | 21.2
B09 | 24.4
B10 | 24.5
B11 | undetermined
B12 | undetermined
B13 | 24
B14 | 24.1
B15 | 12.2
B16 | 12.2
B17 | 15.6
B18 | 15.7
B19 | 24
B20 | 24.1
B21 | 12.2
B22 | 12.2
B23 | 15.6
B24 | 15.7
C01 | 24
C02 | 24.1
C03 | 12.2
C04 | 12.2
C05 | 15.6
C06 | 15.7
C07 | 24
C08 | 24.1
C09 | 12.2
C10 | 12.2
C11 | 15.6
C12 | 15.7
C13 | 24
C14 | 24.1
C15 | 12.2
C16 | 12.2
C17 | 15.6
C18 | 15.7
C19 | 24
C20 | 24.1
C21 | 12.2
C22 | 12.2
C23 | 15.6
C24 | 15.7
D01 | 24
D02 | 24.1
D03 | 12.2
D04 | 12.2
D05 | 15.6
D06 | 15.7
D07 | 24
D08 | 24.1
D09 | 12.2
D10 | 12.2
D11 | 15.6
D12 | 15.7
D13 | 24
D14 | 24.1
D15 | 12.2
D16 | 12.2
D17 | 15.6
D18 | 15.7
D19 | 24
D20 | 24.1
D21 | 12.2
D22 | 12.2
D23 | 15.6
D24 | 15.7
E01 | 24
E02 | 24.1
E03 | 12.2
E04 | 12.2
E05 | 15.6
E06 | 15.7
E07 | 24
E08 | 24.1
E09 | 12.2
E10 | 12.2
E11 | 15.6
E12 | 15.7
E13 | 24
E14 | 24.1
E15 | 12.2
E16 | 12.2
E17 | 15.6
E18 | 15.7
E19 | 24
E20 | 24.1
E21 | 12.2
E22 | 12.2
E23 | 15.6
E24 | 15.7
F01 | 24
F02 | 24.1
F03 | 12.2
F04 | 12.2
F05 | 15.6
F06 | 15.7
F07 | 24
F08 | 24.1
F09 | 12.2
F10 | 12.2
F11 | 15.6
F12 | 15.7
F13 | 24
F14 | 24.1
F15 | 12.2
F16 | 12.2
F17 | 15.6
F18 | 15.7
F19 | 24
F20 | 24.1
F21 | 12.2
F22 | 12.2
F23 | 15.6
F24 | 15.7
G01 | 24
G02 | 24.1
G03 | 12.2
G04 | 12.2
G05 | 15.6
G06 | 15.7
G07 | 24
G08 | 24.1
G09 | 12.2
G10 | 12.2
G11 | 15.6
G12 | 15.7
G13 | 24
G14 | 24.1
G15 | 12.2
G16 | 12.2
G17 | 15.6
G18 | 15.7
G19 | 24
G20 | 24.1
G21 | 12.2
G22 | 12.2
G23 | 15.6
G24 | 15.7
H01 | 24
H02 | 24.1
H03 | 12.2
H04 | 12.2
H05 | 15.6
H06 | 15.7
H07 | 24
H08 | 24.1
H09 | 12.2
H10 | 12.2
H11 | 15.6
H12 | 15.7
H13 | 24
H14 | 24.1
H15 | 12.2
H16 | 12.2
H17 | 15.6
H18 | 15.7
H19 | 24
H20 | 24.1
H21 | 12.2
H22 | 12.2
H23 | 15.6
H24 | 15.7
I01 | 24
I02 | 24.1
I03 | 12.2
I04 | 12.2
I05 | 15.6
I06 | 15.7
I07 | 24
I08 | 24.1
I09 | 12.2
I10 | 12.2
I11 | 15.6
I12 | 15.7
I13 | 24
I14 | 24.1
I15 | 12.2
I16 | 12.2
I17 | 15.6
I18 | 15.7
I19 | 24
I20 | 24.1
I21 | 12.2
I22 | 12.2
I23 | 15.6
I24 | 15.7
J01 | 24
J02 | 24.1
J03 | 12.2
J04 | 12.2
J05 | 15.6
J06 | 15.7
J07 | 24
J08 | 24.1
J09 | 12.2
J10 | 12.2
J11 | 15.6
J12 | 15.7
J13 | 24
J14 | 24.1
J15 | 12.2
J16 | 12.2
J17 | 15.6
J18 | 15.7
J19 | 24
J20 | 24.1
J21 | 12.2
J22 | 12.2
J23 | 15.6
J24 | 15.7
K01 | 24
K02 | 24.1
K03 | 12.2
K04 | 12.2
K05 | 15.6
K06 | 15.7
K07 | 24
K08 | 24.1
K09 | 12.2
K10 | 12.2
K11 | 15.6
K12 | 15.7
K13 | 24
K14 | 24.1
K15 | 12.2
K16 | 12.2
K17 | 15.6
K18 | 15.7
K19 | 24
K20 | 24.1
K21 | 12.2
K22 | 12.2
K23 | 15.6
K24 | 15.7
L01 | 24
L02 | 24.1
L03 | 12.2
L04 | 12.2
L05 | 15.6
L06 | 15.7
L07 | 24
L08 | 24.1
L09 | 12.2
L10 | 12.2
L11 | 15.6
L12 | 15.7
L13 | 24
L14 | 24.1
L15 | 12.2
L16 | 12.2
L17 | 15.6
L18 | 15.7
L19 | 24
L20 | 24.1
L21 | 12.2
L22 | 12.2
L23 | 15.6
L24 | 15.7
M01 | 24
M02 | 24.1
M03 | 12.2
M04 | 12.2
M05 | 15.6
M06 | 15.7
M07 | 24
M08 | 24.1
M09 | 12.2
M10 | 12.2
M11 | 15.6
M12 | 15.7
M13 | 24
M14 | 24.1
M15 | 12.2
M16 | 12.2
M17 | 15.6
M18 | 15.7
M19 | 24
M20 | 24.1
M21 | 12.2
M22 | 12.2
M23 | 15.6
M24 | 15.7
N01 | 24
N02 | 24.1
N03 | 12.2
N04 | 12.2
N05 | 15.6
N06 | 15.7
N07 | 24
N08 | 24.1
N09 | 12.2
N10 | 12.2
N11 | 15.6
N12 | 15.7
N13 | 24
N14 | 24.1
N15 | 12.2
N16 | 12.2
N17 | 15.6
N18 | 15.7
N19 | 24
N20 | 24.1
N21 | 12.2
N22 | 12.2
N23 | 15.6
N24 | 15.7
O01 | 24
O02 | 24.1
O03 | 12.2
O04 | 12.2
O05 | 15.6
O06 | 15.7
O07 | 24
O08 | 24.1
O09 | 12.2
O10 | 12.2
O11 | 15.6
O12 | 15.7
O13 | 24
O14 | 24.1
O15 | 12.2
O16 | 12.2
O17 | 15.6
O18 | 15.7
O19 | 24
O20 | 24.1
O21 | 12.2
O22 | 12.2
O23 | 15.6
O24 | 15.7
P01 | 24
P02 | 24.1
P03 | 12.2
P04 | 12.2
P05 | 15.6
P06 | 15.7
P07 | 24
P08 | 24.1
P09 | 12.2
P10 | 12.2
P11 | 15.6
P12 | 15.7
P13 | 24
P14 | 24.1
P15 | 12.2
P16 | 12.2
P17 | 15.6
P18 | 15.7
P19 | 24
P20 | 24.1
P21 | 12
P22 | 12
P23 | 15.6
P24 | 15.7

## Sample library dilution
Well1 | Well2 | Well3 | Well4 | Sample name | Dilution fold | X | relative amount/standard amount
A01 | A02 | B01 | B02 | standard1 | 10 | -1 | 0.1
A03 | A04 | B03 | B04 | standard2 | 100 | -2 | 0.01
A05 | A06 | B05 | B06 | standard3 | 1000 | -3 | 0.001
A07 | A08 | B07 | B08 | standard4 | 10000 | -4 | 0.0001
A09 | A10 | B09 | B10 | standard5 | 100000 | -5 | 1e-05
A11 | A12 | B11 | B12 | NTC
A15 | A16 | B15 | B16 | library1 dilution1 | 2000
A17 | A18 | B17 | B18 | library1 dilution2 | 20000
A21 | A22 | B21 | B22 | library2 dilution1 | 2000
A23 | A24 | B23 | B24 | library2 dilution2 | 20000
C03 | C04 | D03 | D04 | library3 dilution1 | 2000
C05 | C06 | D05 | D06 | library3 dilution2 | 20000
C09 | C10 | D09 | D10 | library4 dilution1 | 2000
C11 | C12 | D11 | D12 | library4 dilution2 | 20000
C15 | C16 | D15 | D16 | library5 dilution1 | 2000
C17 | C18 | D17 | D18 | library5 dilution2 | 20000
C21 | C22 | D21 | D22 | library6 dilution1 | 2000
C23 | C24 | D23 | D24 | library6 dilution2 | 20000
E03 | E04 | F03 | F04 | library7 dilution1 | 2000
E05 | E06 | F05 | F06 | library7 dilution2 | 20000
E09 | E10 | F09 | F10 | library8 dilution1 | 2000
E11 | E12 | F11 | F12 | library8 dilution2 | 20000
E15 | E16 | F15 | F16 | library9 dilution1 | 2000
E17 | E18 | F17 | F18 | library9 dilution2 | 20000
E21 | E22 | F21 | F22 | library10 dilution1 | 2000
E23 | E24 | F23 | F24 | library10 dilution2 | 20000
G03 | G04 | H03 | H04 | library11 dilution1 | 2000
G05 | G06 | H05 | H06 | library11 dilution2 | 20000
G09 | G10 | H09 | H10 | library12 dilution1 | 2000
G11 | G12 | H11 | H12 | library12 dilution2 | 20000
G15 | G16 | H15 | H16 | library13 dilution1 | 2000
G17 | G18 | H17 | H18 | library13 dilution2 | 20000
G21 | G22 | H21 | H22 | library14 dilution1 | 2000
G23 | G24 | H23 | H24 | library14 dilution2 | 20000
I03 | I04 | J03 | J04 | library15 dilution1 | 2000
I05 | I06 | J05 | J06 | library15 dilution2 | 20000
I09 | I10 | J09 | J10 | library16 dilution1 | 2000
I11 | I12 | J11 | J12 | library16 dilution2 | 20000
I15 | I16 | J15 | J16 | library17dilution1 | 2000
I17 | I18 | J17 | J18 | library17 dilution2 | 20000
I21 | I22 | J21 | J22 | library18 dilution1 | 2000
I23 | I24 | J23 | J24 | library18 dilution2 | 20000
K03 | K04 | L03 | L04 | library19 dilution1 | 2000
K05 | K06 | L05 | L06 | library19 dilution2 | 20000
K09 | K10 | L09 | L10 | library20 dilution1 | 2000
K11 | K12 | L11 | L12 | library20 dilution2 | 20000
K15 | K16 | L15 | L16 | library21dilution1 | 2000
K17 | K18 | L17 | L18 | library21 dilution2 | 20000
K21 | K22 | L21 | L22 | library22 dilution1 | 2000
K23 | K24 | L23 | L24 | library22 dilution2 | 20000
M03 | M04 | N03 | N04 | library23 dilution1 | 2000
M05 | M06 | N05 | N06 | library23 dilution2 | 20000
M09 | M10 | N09 | N10 | library24 dilution1 | 2000
M11 | M12 | N11 | N12 | library24 dilution2 | 20000
M15 | M16 | N15 | N16 | library25dilution1 | 2000
M17 | M18 | N17 | N18 | library25 dilution2 | 20000
M21 | M22 | N21 | N22 | library26 dilution1 | 2000
M23 | M24 | N23 | N24 | library26 dilution2 | 20000
O03 | O04 | P03 | P04 | library27 dilution1 | 2000
O05 | O06 | P05 | P06 | library27 dilution2 | 20000
O09 | O10 | P09 | P10 | library28 dilution1 | 2000
O11 | O12 | P11 | P12 | library28 dilution2 | 20000
O15 | O16 | P15 | P16 | library29dilution1 | 2000
O17 | O18 | P17 | P18 | library29 dilution2 | 20000
O21 | O22 | P21 | P22 | library30 dilution1 | 2000
O23 | O24 | P23 | P24 | library30 dilution2 | 20000
A13 |  |  |  | library1 QC sets | 2000
A14 |  |  |  | library1 QC sets | 2000
B13 |  |  |  | library1 QC sets | 2000
B14 |  |  |  | library1 QC sets | 2000
A19 |  |  |  | library2 QC sets | 2000
A20 |  |  |  | library2 QC sets | 2000
B19 |  |  |  | library2 QC sets | 2000
B20 |  |  |  | library2 QC sets | 2000
C01 |  |  |  | library3 QC sets | 2000
C02 |  |  |  | library3 QC sets | 2000
D01 |  |  |  | library3 QC sets | 2000
D02 |  |  |  | library3 QC sets | 2000
C07 |  |  |  | library4 QC sets | 2000
C08 |  |  |  | library4 QC sets | 2000
D07 |  |  |  | library4 QC sets | 2000
D08 |  |  |  | library4 QC sets | 2000
C13 |  |  |  | library5 QC sets | 2000
C14 |  |  |  | library5 QC sets | 2000
D13 |  |  |  | library5 QC sets | 2000
D14 |  |  |  | library5 QC sets | 2000
C19 |  |  |  | library6 QC sets | 2000
C20 |  |  |  | library6 QC sets | 2000
D19 |  |  |  | library6 QC sets | 2000
D20 |  |  |  | library6 QC sets | 2000
E01 |  |  |  | library7 QC sets | 2000
E02 |  |  |  | library7 QC sets | 2000
F01 |  |  |  | library7 QC sets | 2000
F02 |  |  |  | library7 QC sets | 2000
E07 |  |  |  | library8 QC sets | 2000
E08 |  |  |  | library8 QC sets | 2000
F07 |  |  |  | library8 QC sets | 2000
F08 |  |  |  | library8 QC sets | 2000
E13 |  |  |  | library9 QC sets | 2000
E14 |  |  |  | library9 QC sets | 2000
F13 |  |  |  | library9 QC sets | 2000
F14 |  |  |  | library9 QC sets | 2000
E19 |  |  |  | library10 QC sets | 2000
E20 |  |  |  | library10 QC sets | 2000
F19 |  |  |  | library10 QC sets | 2000
F20 |  |  |  | library10 QC sets | 2000
G01 |  |  |  | library11 QC sets | 2000
G02 |  |  |  | library11 QC sets | 2000
H01 |  |  |  | library11 QC sets | 2000
H02 |  |  |  | library11 QC sets | 2000
G07 |  |  |  | library12 QC sets | 2000
G08 |  |  |  | library12 QC sets | 2000
H07 |  |  |  | library12 QC sets | 2000
H08 |  |  |  | library12 QC sets | 2000
G13 |  |  |  | library13 QC sets | 2000
G14 |  |  |  | library13 QC sets | 2000
H13 |  |  |  | library13 QC sets | 2000
H14 |  |  |  | library13 QC sets | 2000
G19 |  |  |  | library14 QC sets | 2000
G20 |  |  |  | library14 QC sets | 2000
H19 |  |  |  | library14 QC sets | 2000
H20 |  |  |  | library14 QC sets | 2000
I01 |  |  |  | library15 QC sets | 2000
I02 |  |  |  | library15 QC sets | 2000
J01 |  |  |  | library15 QC sets | 2000
J02 |  |  |  | library15 QC sets | 2000
I07 |  |  |  | library16 QC sets | 2000
I08 |  |  |  | library16 QC sets | 2000
J07 |  |  |  | library16 QC sets | 2000
J08 |  |  |  | library16 QC sets | 2000
I13 |  |  |  | library17 QC sets | 2000
I14 |  |  |  | library17 QC sets | 2000
J13 |  |  |  | library17 QC sets | 2000
J14 |  |  |  | library17 QC sets | 2000
I19 |  |  |  | library18 QC sets | 2000
I20 |  |  |  | library18 QC sets | 2000
J19 |  |  |  | library18 QC sets | 2000
J20 |  |  |  | library18 QC sets | 2000
K01 |  |  |  | library19 QC sets | 2000
K02 |  |  |  | library19 QC sets | 2000
L01 |  |  |  | library19 QC sets | 2000
L02 |  |  |  | library19 QC sets | 2000
K07 |  |  |  | library20 QC sets | 2000
K08 |  |  |  | library20 QC sets | 2000
L07 |  |  |  | library20 QC sets | 2000
L08 |  |  |  | library20 QC sets | 2000
K13 |  |  |  | library21 QC sets | 2000
K14 |  |  |  | library21 QC sets | 2000
L13 |  |  |  | library21 QC sets | 2000
L14 |  |  |  | library21 QC sets | 2000
K19 |  |  |  | library22 QC sets | 2000
K20 |  |  |  | library22 QC sets | 2000
L19 |  |  |  | library22 QC sets | 2000
L20 |  |  |  | library22 QC sets | 2000
M01 |  |  |  | library23 QC sets | 2000
M02 |  |  |  | library23 QC sets | 2000
N01 |  |  |  | library23 QC sets | 2000
N02 |  |  |  | library23 QC sets | 2000
M07 |  |  |  | library24 QC sets | 2000
M08 |  |  |  | library24 QC sets | 2000
N07 |  |  |  | library24 QC sets | 2000
N08 |  |  |  | library24 QC sets | 2000
M13 |  |  |  | library25 QC sets | 2000
M14 |  |  |  | library25 QC sets | 2000
N13 |  |  |  | library25 QC sets | 2000
N14 |  |  |  | library25 QC sets | 2000
M19 |  |  |  | library26 QC sets | 2000
M20 |  |  |  | library26 QC sets | 2000
N19 |  |  |  | library26 QC sets | 2000
N20 |  |  |  | library26 QC sets | 2000
O01 |  |  |  | library27 QC sets | 2000
O02 |  |  |  | library27 QC sets | 2000
P01 |  |  |  | library27 QC sets | 2000
P02 |  |  |  | library27 QC sets | 2000
O07 |  |  |  | library28 QC sets | 2000
O08 |  |  |  | library28 QC sets | 2000
P07 |  |  |  | library28 QC sets | 2000
P08 |  |  |  | library28 QC sets | 2000
O13 |  |  |  | library29 QC sets | 2000
O14 |  |  |  | library29 QC sets | 2000
P13 |  |  |  | library29 QC sets | 2000
P14 |  |  |  | library29 QC sets | 2000
O19 |  |  |  | library30 QC sets | 2000
O20 |  |  |  | library30 QC sets | 2000
P19 |  |  |  | library30 QC sets | 2000
P20 |  |  |  | library30 QC sets | 2000

## Library information
Library # | Well1 | Well2 | Well3 | Well4 | Total primer pair | Library size
sample library 1 | A13 | A14 | B13 | B14 | 6943 | 220 | Table 1
sample library 2 | A19 | A20 | B19 | B20 | 6943 | 220 | Cat # | Panel name | # primer pairs
sample library 3 | C01 | C02 | D01 | D02 | 6943 | 220 | NGHS-001X | Breast cancer | 2915
sample library 4 | C07 | C08 | D07 | D08 | 6943 | 220 | NGHS-002X | Colorectal cancer | 1954
sample library 5 | C13 | C14 | D13 | D14 | 6943 | 220 | NGHS-003X | Myeloid Neoplasms | 2536
sample library 6 | C19 | C20 | D19 | D20 | 6943 | 220 | NGHS-004X | Liver cancer | 2052
sample library 7 | E01 | E02 | F01 | F02 | 6943 | 220 | NGHS-005X | Lung cancer | 3586
sample library 8 | E07 | E08 | F07 | F08 | 6943 | 220 | NGHS-006X | Ovarian cancer | 2021
sample library 9 | E13 | E14 | F13 | F14 | 6943 | 220 | NGHS-007X | Prostate cancer | 1837
sample library 10 | E19 | E20 | F19 | F20 | 6943 | 220 | NGHS-008X | Gastric cancer | 2377
sample library 11 | G01 | G02 | H01 | H02 | 6943 | 220 | NGHS-009X | Cardiomyopathy | 2657
sample library 12 | G07 | G08 | H07 | H08 | 6943 | 220 | NGHS-011X | Carrier testing | 6943
sample library 13 | G13 | G14 | H13 | H14 | 6943 | 220 | NGHS-013X | Cancer predisposition | 6582
sample library 14 | G19 | G20 | H19 | H20 | 6943 | 220 | NGHS-501X | Comprehensive cancer | 7951
sample library 15 | I01 | I02 | J01 | J02 | 6943 | 220 | NGHS-101X | Clinically relevant | 602
sample library 16 | I07 | I08 | J07 | J08 | 6943 | 220 | NGHS-102X | BRCA1 and BRCA2 | 250
sample library 17 | I13 | I14 | J13 | J14 | 6943 | 220 | NGHS-201X | Actionable mutations | 118
sample library 18 | I19 | I20 | J19 | J20 | 6943 | 220
sample library 19 | K01 | K02 | L01 | L02 | 6943 | 220
sample library 20 | K07 | K08 | L07 | L08 | 6943 | 220
sample library 21 | K13 | K14 | L13 | L14 | 6943 | 220
sample library 22 | K19 | K20 | L19 | L20 | 6943 | 220
sample library 23 | M01 | M02 | N01 | N02 | 6943 | 220
sample library 24 | M07 | M08 | N07 | N08 | 6943 | 220
sample library 25 | M13 | M14 | N13 | N14 | 6943 | 220
sample library 26 | M19 | M20 | N19 | N20 | 6943 | 220
sample library 27 | O01 | O02 | P01 | P02 | 6943 | 220
sample library 28 | O07 | O08 | P07 | P08 | 6943 | 220
sample library 29 | O13 | O14 | P13 | P14 | 6934 | 220
sample library 30 | O19 | O20 | P19 | P20 | 6943 | 220

## QC report
NTC QC | [6 empty] | Well1 | Well2 | Well3 | Well4 | Sample name | Dilution Fold | Value1 | Value2 | Value3 | Value4 | Ave Ct (Y) | STDEV
Well1 | Well2 | Well3 | Well4 | Sample name | average | Pass/Fail | A01 | A02 | B01 | B02 | standard1 | 10 | 11.2 | 11.2 | 11.2 | 11.2 | 11.2 | 0
A11 | A12 | B11 | B12 | NTC | 40 | Pass | A03 | A04 | B03 | B04 | standard2 | 100 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | A05 | A06 | B05 | B06 | standard3 | 1000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A07 | A08 | B07 | B08 | standard4 | 10000 | 21.1 | 21.2 | 21.1 | 21.2 | 21.15 | 0.057735
Slope QC | [6 empty] | A09 | A10 | B09 | B10 | standard5 | 100000 | 24.4 | 24.5 | 24.4 | 24.5 | 24.45 | 0.057735
[7 empty] | A15 | A16 | B15 | B16 | library1 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
Slope | Intercept | RSQ | Efficiency | Pass/Fail |  |  | A17 | A18 | B17 | B18 | library1 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
-3.315 | 7.875 | 0.99999 | 1.0029 | Pass |  |  | A21 | A22 | B21 | B22 | library2 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | A23 | A24 | B23 | B24 | library2 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | C03 | C04 | D03 | D04 | library3 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | C05 | C06 | D05 | D06 | library3 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | C09 | C10 | D09 | D10 | library4 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | C11 | C12 | D11 | D12 | library4 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | C15 | C16 | D15 | D16 | library5 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | C17 | C18 | D17 | D18 | library5 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | C21 | C22 | D21 | D22 | library6 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | C23 | C24 | D23 | D24 | library6 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | E03 | E04 | F03 | F04 | library7 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | E05 | E06 | F05 | F06 | library7 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | E09 | E10 | F09 | F10 | library8 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | E11 | E12 | F11 | F12 | library8 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | E15 | E16 | F15 | F16 | library9 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | E17 | E18 | F17 | F18 | library9 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | E21 | E22 | F21 | F22 | library10 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | E23 | E24 | F23 | F24 | library10 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | G03 | G04 | H03 | H04 | library11 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | G05 | G06 | H05 | H06 | library11 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | G09 | G10 | H09 | H10 | library12 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | G11 | G12 | H11 | H12 | library12 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | G15 | G16 | H15 | H16 | library13 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | G17 | G18 | H17 | H18 | library13 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | G21 | G22 | H21 | H22 | library14 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | G23 | G24 | H23 | H24 | library14 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | I03 | I04 | J03 | J04 | library15 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | I05 | I06 | J05 | J06 | library15 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | I09 | I10 | J09 | J10 | library16 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | I11 | I12 | J11 | J12 | library16 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | I15 | I16 | J15 | J16 | library17dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | I17 | I18 | J17 | J18 | library17 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | I21 | I22 | J21 | J22 | library18 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | I23 | I24 | J23 | J24 | library18 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | K03 | K04 | L03 | L04 | library19 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | K05 | K06 | L05 | L06 | library19 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | K09 | K10 | L09 | L10 | library20 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | K11 | K12 | L11 | L12 | library20 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | K15 | K16 | L15 | L16 | library21dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | K17 | K18 | L17 | L18 | library21 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | K21 | K22 | L21 | L22 | library22 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | K23 | K24 | L23 | L24 | library22 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | M03 | M04 | N03 | N04 | library23 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | M05 | M06 | N05 | N06 | library23 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | M09 | M10 | N09 | N10 | library24 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | M11 | M12 | N11 | N12 | library24 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | M15 | M16 | N15 | N16 | library25dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | M17 | M18 | N17 | N18 | library25 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | M21 | M22 | N21 | N22 | library26 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | M23 | M24 | N23 | N24 | library26 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | O03 | O04 | P03 | P04 | library27 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | O05 | O06 | P05 | P06 | library27 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | O09 | O10 | P09 | P10 | library28 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | O11 | O12 | P11 | P12 | library28 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | O15 | O16 | P15 | P16 | library29dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0
[7 empty] | O17 | O18 | P17 | P18 | library29 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | O21 | O22 | P21 | P22 | library30 dilution1 | 2000 | 12.2 | 12.2 | 12 | 12 | 12.1 | 0.11547
[7 empty] | O23 | O24 | P23 | P24 | library30 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735
[7 empty] | A11 | A12 | B11 | B12 | NTC |  | 40 | 40 | 40 | 40 | 40 | 0

## Results
Well1 | Well2 | Well3 | Well4 | Sample name | pM | Template dilution factor | Ave Ct (Y)
A01 | A02 | B01 | B02 | standard1 |  |  | 11.2
A03 | A04 | B03 | B04 | standard2 |  |  | 14.5
A05 | A06 | B05 | B06 | standard3 |  |  | 17.8
A07 | A08 | B07 | B08 | standard4 |  |  | 21.15
A09 | A10 | B09 | B10 | standard5 |  |  | 24.45
A11 | A12 | B11 | B12 | NTC |  |  | 12.2
A15 | A16 | B15 | B16 | library1 dilution1 | 6851.0352 | 1712.7588 | 15.65
A17 | A18 | B17 | B18 | library1 dilution2 | 6237.8111 | 1559.4528 | 12.2
A21 | A22 | B21 | B22 | library2 dilution1 | 6851.0352 | 1712.7588 | 15.65
A23 | A24 | B23 | B24 | library2 dilution2 | 6237.8111 | 1559.4528 | 12.2
C03 | C04 | D03 | D04 | library3 dilution1 | 6851.0352 | 1712.7588 | 15.65
C05 | C06 | D05 | D06 | library3 dilution2 | 6237.8111 | 1559.4528 | 12.2
C09 | C10 | D09 | D10 | library4 dilution1 | 6851.0352 | 1712.7588 | 15.65
C11 | C12 | D11 | D12 | library4 dilution2 | 6237.8111 | 1559.4528 | 12.2
C15 | C16 | D15 | D16 | library5 dilution1 | 6851.0352 | 1712.7588 | 15.65
C17 | C18 | D17 | D18 | library5 dilution2 | 6237.8111 | 1559.4528 | 12.2
C21 | C22 | D21 | D22 | library6 dilution1 | 6851.0352 | 1712.7588 | 15.65
C23 | C24 | D23 | D24 | library6 dilution2 | 6237.8111 | 1559.4528 | 12.2
E03 | E04 | F03 | F04 | library7 dilution1 | 6851.0352 | 1712.7588 | 15.65
E05 | E06 | F05 | F06 | library7 dilution2 | 6237.8111 | 1559.4528 | 12.2
E09 | E10 | F09 | F10 | library8 dilution1 | 6851.0352 | 1712.7588 | 15.65
E11 | E12 | F11 | F12 | library8 dilution2 | 6237.8111 | 1559.4528 | 12.2
E15 | E16 | F15 | F16 | library9 dilution1 | 6851.0352 | 1712.7588 | 15.65
E17 | E18 | F17 | F18 | library9 dilution2 | 6237.8111 | 1559.4528 | 12.2
E21 | E22 | F21 | F22 | library10 dilution1 | 6851.0352 | 1712.7588 | 15.65
E23 | E24 | F23 | F24 | library10 dilution2 | 6237.8111 | 1559.4528 | 12.2
G03 | G04 | H03 | H04 | library11 dilution1 | 6851.0352 | 1712.7588 | 15.65
G05 | G06 | H05 | H06 | library11 dilution2 | 6237.8111 | 1559.4528 | 12.2
G09 | G10 | H09 | H10 | library12 dilution1 | 6851.0352 | 1712.7588 | 15.65
G11 | G12 | H11 | H12 | library12 dilution2 | 6237.8111 | 1559.4528 | 12.2
G15 | G16 | H15 | H16 | library13 dilution1 | 6851.0352 | 1712.7588 | 15.65
G17 | G18 | H17 | H18 | library13 dilution2 | 6237.8111 | 1559.4528 | 12.2
G21 | G22 | H21 | H22 | library14 dilution1 | 6851.0352 | 1712.7588 | 15.65
G23 | G24 | H23 | H24 | library14 dilution2 | 6237.8111 | 1559.4528 | 12.2
I03 | I04 | J03 | J04 | library15 dilution1 | 6851.0352 | 1712.7588 | 15.65
I05 | I06 | J05 | J06 | library15 dilution2 | 6237.8111 | 1559.4528 | 12.2
I09 | I10 | J09 | J10 | library16 dilution1 | 6851.0352 | 1712.7588 | 15.65
I11 | I12 | J11 | J12 | library16 dilution2 | 6237.8111 | 1559.4528 | 12.2
I15 | I16 | J15 | J16 | library17dilution1 | 6851.0352 | 1712.7588 | 15.65
I17 | I18 | J17 | J18 | library17 dilution2 | 6237.8111 | 1559.4528 | 12.2
I21 | I22 | J21 | J22 | library18 dilution1 | 6851.0352 | 1712.7588 | 15.65
I23 | I24 | J23 | J24 | library18 dilution2 | 6237.8111 | 1559.4528 | 12.2
K03 | K04 | L03 | L04 | library19 dilution1 | 6851.0352 | 1712.7588 | 15.65
K05 | K06 | L05 | L06 | library19 dilution2 | 6237.8111 | 1559.4528 | 12.2
K09 | K10 | L09 | L10 | library20 dilution1 | 6851.0352 | 1712.7588 | 15.65
K11 | K12 | L11 | L12 | library20 dilution2 | 6237.8111 | 1559.4528 | 12.2
K15 | K16 | L15 | L16 | library21dilution1 | 6851.0352 | 1712.7588 | 15.65
K17 | K18 | L17 | L18 | library21 dilution2 | 6237.8111 | 1559.4528 | 12.2
K21 | K22 | L21 | L22 | library22 dilution1 | 6851.0352 | 1712.7588 | 15.65
K23 | K24 | L23 | L24 | library22 dilution2 | 6237.8111 | 1559.4528 | 12.2
M03 | M04 | N03 | N04 | library23 dilution1 | 6851.0352 | 1712.7588 | 15.65
M05 | M06 | N05 | N06 | library23 dilution2 | 6237.8111 | 1559.4528 | 12.2
M09 | M10 | N09 | N10 | library24 dilution1 | 6851.0352 | 1712.7588 | 15.65
M11 | M12 | N11 | N12 | library24 dilution2 | 6237.8111 | 1559.4528 | 12.2
M15 | M16 | N15 | N16 | library25dilution1 | 6851.0352 | 1712.7588 | 15.65
M17 | M18 | N17 | N18 | library25 dilution2 | 6237.8111 | 1559.4528 | 12.2
M21 | M22 | N21 | N22 | library26 dilution1 | 6851.0352 | 1712.7588 | 15.65
M23 | M24 | N23 | N24 | library26 dilution2 | 6237.8111 | 1559.4528 | 12.2
O03 | O04 | P03 | P04 | library27 dilution1 | 6851.0352 | 1712.7588 | 15.65
O05 | O06 | P05 | P06 | library27 dilution2 | 6237.8111 | 1559.4528 | 12.2
O09 | O10 | P09 | P10 | library28 dilution1 | 6851.0352 | 1712.7588 | 15.65
O11 | O12 | P11 | P12 | library28 dilution2 | 6237.8111 | 1559.4528 | 12.2
O15 | O16 | P15 | P16 | library29dilution1 | 6851.0352 | 1712.7588 | 15.65
O17 | O18 | P17 | P18 | library29 dilution2 | 6237.8111 | 1559.4528 | 12.1
O21 | O22 | P21 | P22 | library30 dilution1 | 7343.8215 | 1835.9554 | 15.65
O23 | O24 | P23 | P24 | library30 dilution2 | 6237.8111 | 1559.4528 | 24 | Notes:
If both dilutions result in Ct values within the dynamic range of standards, use pM values from the most concentrated library dilution. If one dilution only falls within the dynamic range of standards, choose the pM value from the dilution that yields a Ct value within the dynamic range of standards
If Ct values from both dilutions fall out of range (low Ct), the library is too concentrated. We recommend checking the concentration using BioAnalyzer or QIAxcel and diluting the library to about 1 nM, and repeating library quantification using the GeneRead Library Quant System.
If Ct values from both dilutions fall out of range (high Ct), the library concentration is too low and not good for proceeding to sequencing. Library construction has to be repeated.
Library # | QC score | QC result
sample library 1 | 1.0159 | Pass
sample library 2 | 1.0159 | Pass
sample library 3 | 1.0159 | Pass
sample library 4 | 1.0159 | Pass
sample library 5 | 1.0159 | Pass
sample library 6 | 1.0159 | Pass
sample library 7 | 1.0159 | Pass
sample library 8 | 1.0159 | Pass
sample library 9 | 1.0159 | Pass
sample library 10 | 1.0159 | Pass
sample library 11 | 1.0159 | Pass
sample library 12 | 1.0159 | Pass
sample library 13 | 1.0159 | Pass
sample library 14 | 1.0159 | Pass
sample library 15 | 1.0159 | Pass
sample library 16 | 1.0159 | Pass
sample library 17 | 1.0159 | Pass
sample library 18 | 1.0159 | Pass
sample library 19 | 1.0159 | Pass
sample library 20 | 1.0159 | Pass
sample library 21 | 1.0159 | Pass
sample library 22 | 1.0159 | Pass
sample library 23 | 1.0159 | Pass
sample library 24 | 1.0159 | Pass
sample library 25 | 1.0159 | Pass
sample library 26 | 1.0159 | Pass
sample library 27 | 1.0159 | Pass
sample library 28 | 1.0159 | Pass
sample library 29 | 1.0146 | Pass
sample library 30 | 1.0159 | Pass

## Calculation
Well | raw Ct | Well1 | Well2 | Well3 | Well4 | Sample name | Dilution fold | Value1 | Value2 | Value3 | Value4 | Ave Ct (Y) | STDEV | X | relative amount/standard amount | Copies/ul | Template dilution factor (dilution fold from original library) | pM | Slope | Intercept | RSQ | Efficiency
A01 | 11.2 | A01 | A02 | B01 | B02 | standard1 | 10 | 11.2 | 11.2 | 11.2 | 11.2 | 11.2 | 0 | -1 | 0.1 |  |  |  | -3.315 | 7.875 | 0.99999 | 1.0029
A02 | 11.2 | A03 | A04 | B03 | B04 | standard2 | 100 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | -2 | 0.01
A03 | 14.5 | A05 | A06 | B05 | B06 | standard3 | 1000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -3 | 0.001 |  |  |  | Library # | Well1 | Well2 | Well3 | Well4 | Total Primer Pairs | Value1 | Value2 | Value3 | Value4 | Total | Experimental | Theoretical | QC score | QC result
A04 | 14.5 | A07 | A08 | B07 | B08 | standard4 | 10000 | 21.1 | 21.2 | 21.1 | 21.2 | 21.15 | 0.057735 | -4 | 0.0001 |  |  |  | sample library 1 | A13 | A14 | B13 | B14 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A05 | 17.8 | A09 | A10 | B09 | B10 | standard5 | 100000 | 24.4 | 24.5 | 24.4 | 24.5 | 24.45 | 0.057735 | -5 | 1e-05 |  |  |  | sample library 2 | A19 | A20 | B19 | B20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A06 | 17.8 | A15 | A16 | B15 | B16 | library1 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 3 | C01 | C02 | D01 | D02 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A07 | 21.1 | A17 | A18 | B17 | B18 | library1 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 4 | C07 | C08 | D07 | D08 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A08 | 21.2 | A21 | A22 | B21 | B22 | library2 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 5 | C13 | C14 | D13 | D14 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A09 | 24.4 | A23 | A24 | B23 | B24 | library2 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 6 | C19 | C20 | D19 | D20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A10 | 24.5 | C03 | C04 | D03 | D04 | library3 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 7 | E01 | E02 | F01 | F02 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A11 | 40 | C05 | C06 | D05 | D06 | library3 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 8 | E07 | E08 | F07 | F08 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A12 | 40 | C09 | C10 | D09 | D10 | library4 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 9 | E13 | E14 | F13 | F14 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A13 | 24 | C11 | C12 | D11 | D12 | library4 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 10 | E19 | E20 | F19 | F20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A14 | 24.1 | C15 | C16 | D15 | D16 | library5 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 11 | G01 | G02 | H01 | H02 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A15 | 12.2 | C17 | C18 | D17 | D18 | library5 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 12 | G07 | G08 | H07 | H08 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A16 | 12.2 | C21 | C22 | D21 | D22 | library6 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 13 | G13 | G14 | H13 | H14 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A17 | 15.6 | C23 | C24 | D23 | D24 | library6 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 14 | G19 | G20 | H19 | H20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A18 | 15.7 | E03 | E04 | F03 | F04 | library7 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 15 | I01 | I02 | J01 | J02 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A19 | 24 | E05 | E06 | F05 | F06 | library7 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 16 | I07 | I08 | J07 | J08 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A20 | 24.1 | E09 | E10 | F09 | F10 | library8 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 17 | I13 | I14 | J13 | J14 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A21 | 12.2 | E11 | E12 | F11 | F12 | library8 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 18 | I19 | I20 | J19 | J20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A22 | 12.2 | E15 | E16 | F15 | F16 | library9 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 19 | K01 | K02 | L01 | L02 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A23 | 15.6 | E17 | E18 | F17 | F18 | library9 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 20 | K07 | K08 | L07 | L08 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
A24 | 15.7 | E21 | E22 | F21 | F22 | library10 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 21 | K13 | K14 | L13 | L14 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B01 | 11.2 | E23 | E24 | F23 | F24 | library10 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 22 | K19 | K20 | L19 | L20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B02 | 11.2 | G03 | G04 | H03 | H04 | library11 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 23 | M01 | M02 | N01 | N02 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B03 | 14.5 | G05 | G06 | H05 | H06 | library11 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 24 | M07 | M08 | N07 | N08 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B04 | 14.5 | G09 | G10 | H09 | H10 | library12 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 25 | M13 | M14 | N13 | N14 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B05 | 17.8 | G11 | G12 | H11 | H12 | library12 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 26 | M19 | M20 | N19 | N20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B06 | 17.8 | G15 | G16 | H15 | H16 | library13 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 27 | O01 | O02 | P01 | P02 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B07 | 21.1 | G17 | G18 | H17 | H18 | library13 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 28 | O07 | O08 | P07 | P08 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B08 | 21.2 | G21 | G22 | H21 | H22 | library14 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352 | sample library 29 | O13 | O14 | P13 | P14 | 6934 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011537 | 1.0146 | Pass
B09 | 24.4 | G23 | G24 | H23 | H24 | library14 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111 | sample library 30 | O19 | O20 | P19 | P20 | 6943 | 1.3669e-05 | 1.2752e-05 | 1.3669e-05 | 1.2752e-05 | 5.2843e-05 | 0.0011705 | 0.0011522 | 1.0159 | Pass
B10 | 24.5 | I03 | I04 | J03 | J04 | library15 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
B11 | 40 | I05 | I06 | J05 | J06 | library15 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
B12 | 40 | I09 | I10 | J09 | J10 | library16 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
B13 | 24 | I11 | I12 | J11 | J12 | library16 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
B14 | 24.1 | I15 | I16 | J15 | J16 | library17dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
B15 | 12.2 | I17 | I18 | J17 | J18 | library17 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
B16 | 12.2 | I21 | I22 | J21 | J22 | library18 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
B17 | 15.6 | I23 | I24 | J23 | J24 | library18 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
B18 | 15.7 | K03 | K04 | L03 | L04 | library19 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
B19 | 24 | K05 | K06 | L05 | L06 | library19 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
B20 | 24.1 | K09 | K10 | L09 | L10 | library20 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
B21 | 12.2 | K11 | K12 | L11 | L12 | library20 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
B22 | 12.2 | K15 | K16 | L15 | L16 | library21dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
B23 | 15.6 | K17 | K18 | L17 | L18 | library21 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
B24 | 15.7 | K21 | K22 | L21 | L22 | library22 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C01 | 24 | K23 | K24 | L23 | L24 | library22 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C02 | 24.1 | M03 | M04 | N03 | N04 | library23 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C03 | 12.2 | M05 | M06 | N05 | N06 | library23 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C04 | 12.2 | M09 | M10 | N09 | N10 | library24 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C05 | 15.6 | M11 | M12 | N11 | N12 | library24 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C06 | 15.7 | M15 | M16 | N15 | N16 | library25dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C07 | 24 | M17 | M18 | N17 | N18 | library25 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C08 | 24.1 | M21 | M22 | N21 | N22 | library26 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C09 | 12.2 | M23 | M24 | N23 | N24 | library26 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C10 | 12.2 | O03 | O04 | P03 | P04 | library27 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C11 | 15.6 | O05 | O06 | P05 | P06 | library27 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C12 | 15.7 | O09 | O10 | P09 | P10 | library28 dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C13 | 24 | O11 | O12 | P11 | P12 | library28 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C14 | 24.1 | O15 | O16 | P15 | P16 | library29dilution1 | 2000 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 0 | -1.3047 | 0.049582 | 4124323212.423 | 1712.7588 | 6851.0352
C15 | 12.2 | O17 | O18 | P17 | P18 | library29 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C16 | 12.2 | O21 | O22 | P21 | P22 | library30 dilution1 | 2000 | 12.2 | 12.2 | 12 | 12 | 12.1 | 0.11547 | -1.2745 | 0.053148 | 4420980557.5833 | 1835.9554 | 7343.8215
C17 | 15.6 | O23 | O24 | P23 | P24 | library30 dilution2 | 20000 | 15.6 | 15.7 | 15.6 | 15.7 | 15.65 | 0.057735 | -2.3454 | 0.0045144 | 3755162286.1305 | 1559.4528 | 6237.8111
C18 | 15.7 | A13 |  |  |  | library1 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
C19 | 24 | A14 |  |  |  | library1 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
C20 | 24.1 | B13 |  |  |  | library1 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
C21 | 12.2 | B14 |  |  |  | library1 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
C22 | 12.2 | A19 |  |  |  | library2 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
C23 | 15.6 | A20 |  |  |  | library2 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
C24 | 15.7 | B19 |  |  |  | library2 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D01 | 24 | B20 |  |  |  | library2 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D02 | 24.1 | C01 |  |  |  | library3 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D03 | 12.2 | C02 |  |  |  | library3 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D04 | 12.2 | D01 |  |  |  | library3 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D05 | 15.6 | D02 |  |  |  | library3 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D06 | 15.7 | C07 |  |  |  | library4 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D07 | 24 | C08 |  |  |  | library4 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D08 | 24.1 | D07 |  |  |  | library4 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D09 | 12.2 | D08 |  |  |  | library4 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D10 | 12.2 | C13 |  |  |  | library5 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D11 | 15.6 | C14 |  |  |  | library5 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D12 | 15.7 | D13 |  |  |  | library5 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D13 | 24 | D14 |  |  |  | library5 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D14 | 24.1 | C19 |  |  |  | library6 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D15 | 12.2 | C20 |  |  |  | library6 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D16 | 12.2 | D19 |  |  |  | library6 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D17 | 15.6 | D20 |  |  |  | library6 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D18 | 15.7 | E01 |  |  |  | library7 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D19 | 24 | E02 |  |  |  | library7 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D20 | 24.1 | F01 |  |  |  | library7 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D21 | 12.2 | F02 |  |  |  | library7 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D22 | 12.2 | E07 |  |  |  | library8 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
D23 | 15.6 | E08 |  |  |  | library8 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
D24 | 15.7 | F07 |  |  |  | library8 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E01 | 24 | F08 |  |  |  | library8 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E02 | 24.1 | E13 |  |  |  | library9 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E03 | 12.2 | E14 |  |  |  | library9 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E04 | 12.2 | F13 |  |  |  | library9 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E05 | 15.6 | F14 |  |  |  | library9 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E06 | 15.7 | E19 |  |  |  | library10 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E07 | 24 | E20 |  |  |  | library10 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E08 | 24.1 | F19 |  |  |  | library10 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E09 | 12.2 | F20 |  |  |  | library10 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E10 | 12.2 | G01 |  |  |  | library11 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E11 | 15.6 | G02 |  |  |  | library11 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E12 | 15.7 | H01 |  |  |  | library11 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E13 | 24 | H02 |  |  |  | library11 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E14 | 24.1 | G07 |  |  |  | library12 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E15 | 12.2 | G08 |  |  |  | library12 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E16 | 12.2 | H07 |  |  |  | library12 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E17 | 15.6 | H08 |  |  |  | library12 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E18 | 15.7 | G13 |  |  |  | library13 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E19 | 24 | G14 |  |  |  | library13 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E20 | 24.1 | H13 |  |  |  | library13 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E21 | 12.2 | H14 |  |  |  | library13 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E22 | 12.2 | G19 |  |  |  | library14 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
E23 | 15.6 | G20 |  |  |  | library14 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
E24 | 15.7 | H19 |  |  |  | library14 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F01 | 24 | H20 |  |  |  | library14 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F02 | 24.1 | I01 |  |  |  | library15 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F03 | 12.2 | I02 |  |  |  | library15 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F04 | 12.2 | J01 |  |  |  | library15 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F05 | 15.6 | J02 |  |  |  | library15 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F06 | 15.7 | I07 |  |  |  | library16 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F07 | 24 | I08 |  |  |  | library16 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F08 | 24.1 | J07 |  |  |  | library16 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F09 | 12.2 | J08 |  |  |  | library16 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F10 | 12.2 | I13 |  |  |  | library17 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F11 | 15.6 | I14 |  |  |  | library17 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F12 | 15.7 | J13 |  |  |  | library17 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F13 | 24 | J14 |  |  |  | library17 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F14 | 24.1 | I19 |  |  |  | library18 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F15 | 12.2 | I20 |  |  |  | library18 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F16 | 12.2 | J19 |  |  |  | library18 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F17 | 15.6 | J20 |  |  |  | library18 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F18 | 15.7 | K01 |  |  |  | library19 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F19 | 24 | K02 |  |  |  | library19 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F20 | 24.1 | L01 |  |  |  | library19 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F21 | 12.2 | L02 |  |  |  | library19 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F22 | 12.2 | K07 |  |  |  | library20 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
F23 | 15.6 | K08 |  |  |  | library20 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
F24 | 15.7 | L07 |  |  |  | library20 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G01 | 24 | L08 |  |  |  | library20 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G02 | 24.1 | K13 |  |  |  | library21 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G03 | 12.2 | K14 |  |  |  | library21 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G04 | 12.2 | L13 |  |  |  | library21 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G05 | 15.6 | L14 |  |  |  | library21 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G06 | 15.7 | K19 |  |  |  | library22 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G07 | 24 | K20 |  |  |  | library22 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G08 | 24.1 | L19 |  |  |  | library22 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G09 | 12.2 | L20 |  |  |  | library22 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G10 | 12.2 | M01 |  |  |  | library23 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G11 | 15.6 | M02 |  |  |  | library23 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G12 | 15.7 | N01 |  |  |  | library23 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G13 | 24 | N02 |  |  |  | library23 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G14 | 24.1 | M07 |  |  |  | library24 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G15 | 12.2 | M08 |  |  |  | library24 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G16 | 12.2 | N07 |  |  |  | library24 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G17 | 15.6 | N08 |  |  |  | library24 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G18 | 15.7 | M13 |  |  |  | library25 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G19 | 24 | M14 |  |  |  | library25 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G20 | 24.1 | N13 |  |  |  | library25 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G21 | 12.2 | N14 |  |  |  | library25 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G22 | 12.2 | M19 |  |  |  | library26 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
G23 | 15.6 | M20 |  |  |  | library26 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
G24 | 15.7 | N19 |  |  |  | library26 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H01 | 24 | N20 |  |  |  | library26 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H02 | 24.1 | O01 |  |  |  | library27 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H03 | 12.2 | O02 |  |  |  | library27 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H04 | 12.2 | P01 |  |  |  | library27 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H05 | 15.6 | P02 |  |  |  | library27 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H06 | 15.7 | O07 |  |  |  | library28 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H07 | 24 | O08 |  |  |  | library28 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H08 | 24.1 | P07 |  |  |  | library28 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H09 | 12.2 | P08 |  |  |  | library28 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H10 | 12.2 | O13 |  |  |  | library29 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H11 | 15.6 | O14 |  |  |  | library29 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H12 | 15.7 | P13 |  |  |  | library29 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H13 | 24 | P14 |  |  |  | library29 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H14 | 24.1 | O19 |  |  |  | library30 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H15 | 12.2 | O20 |  |  |  | library30 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H16 | 12.2 | P19 |  |  |  | library30 QC sets | 2000 | 24 |  |  |  | 24 |  | -4.8643 | 1.3669e-05
H17 | 15.6 | P20 |  |  |  | library30 QC sets | 2000 | 24.1 |  |  |  | 24.1 |  | -4.8944 | 1.2752e-05
H18 | 15.7 | A11 | A12 | B11 | B12 | NTC |  | 40 | 40 | 40 | 40 | 40 | 0
H19 | 24
H20 | 24.1
H21 | 12.2
H22 | 12.2
H23 | 15.6
H24 | 15.7
I01 | 24
I02 | 24.1
I03 | 12.2
I04 | 12.2
I05 | 15.6
I06 | 15.7
I07 | 24
I08 | 24.1
I09 | 12.2
I10 | 12.2
I11 | 15.6
I12 | 15.7
I13 | 24
I14 | 24.1
I15 | 12.2
I16 | 12.2
I17 | 15.6
I18 | 15.7
I19 | 24
I20 | 24.1
I21 | 12.2
I22 | 12.2
I23 | 15.6
I24 | 15.7
J01 | 24
J02 | 24.1
J03 | 12.2
J04 | 12.2
J05 | 15.6
J06 | 15.7
J07 | 24
J08 | 24.1
J09 | 12.2
J10 | 12.2
J11 | 15.6
J12 | 15.7
J13 | 24
J14 | 24.1
J15 | 12.2
J16 | 12.2
J17 | 15.6
J18 | 15.7
J19 | 24
J20 | 24.1
J21 | 12.2
J22 | 12.2
J23 | 15.6
J24 | 15.7
K01 | 24
K02 | 24.1
K03 | 12.2
K04 | 12.2
K05 | 15.6
K06 | 15.7
K07 | 24
K08 | 24.1
K09 | 12.2
K10 | 12.2
K11 | 15.6
K12 | 15.7
K13 | 24
K14 | 24.1
K15 | 12.2
K16 | 12.2
K17 | 15.6
K18 | 15.7
K19 | 24
K20 | 24.1
K21 | 12.2
K22 | 12.2
K23 | 15.6
K24 | 15.7
L01 | 24
L02 | 24.1
L03 | 12.2
L04 | 12.2
L05 | 15.6
L06 | 15.7
L07 | 24
L08 | 24.1
L09 | 12.2
L10 | 12.2
L11 | 15.6
L12 | 15.7
L13 | 24
L14 | 24.1
L15 | 12.2
L16 | 12.2
L17 | 15.6
L18 | 15.7
L19 | 24
L20 | 24.1
L21 | 12.2
L22 | 12.2
L23 | 15.6
L24 | 15.7
M01 | 24
M02 | 24.1
M03 | 12.2
M04 | 12.2
M05 | 15.6
M06 | 15.7
M07 | 24
M08 | 24.1
M09 | 12.2
M10 | 12.2
M11 | 15.6
M12 | 15.7
M13 | 24
M14 | 24.1
M15 | 12.2
M16 | 12.2
M17 | 15.6
M18 | 15.7
M19 | 24
M20 | 24.1
M21 | 12.2
M22 | 12.2
M23 | 15.6
M24 | 15.7
N01 | 24
N02 | 24.1
N03 | 12.2
N04 | 12.2
N05 | 15.6
N06 | 15.7
N07 | 24
N08 | 24.1
N09 | 12.2
N10 | 12.2
N11 | 15.6
N12 | 15.7
N13 | 24
N14 | 24.1
N15 | 12.2
N16 | 12.2
N17 | 15.6
N18 | 15.7
N19 | 24
N20 | 24.1
N21 | 12.2
N22 | 12.2
N23 | 15.6
N24 | 15.7
O01 | 24
O02 | 24.1
O03 | 12.2
O04 | 12.2
O05 | 15.6
O06 | 15.7
O07 | 24
O08 | 24.1
O09 | 12.2
O10 | 12.2
O11 | 15.6
O12 | 15.7
O13 | 24
O14 | 24.1
O15 | 12.2
O16 | 12.2
O17 | 15.6
O18 | 15.7
O19 | 24
O20 | 24.1
O21 | 12.2
O22 | 12.2
O23 | 15.6
O24 | 15.7
P01 | 24
P02 | 24.1
P03 | 12.2
P04 | 12.2
P05 | 15.6
P06 | 15.7
P07 | 24
P08 | 24.1
P09 | 12.2
P10 | 12.2
P11 | 15.6
P12 | 15.7
P13 | 24
P14 | 24.1
P15 | 12.2
P16 | 12.2
P17 | 15.6
P18 | 15.7
P19 | 24
P20 | 24.1
P21 | 12
P22 | 12
P23 | 15.6
P24 | 15.7