## Instructions
Instructions for Analyzing RT2 qPCR Assay Results with this Template:
Generally, only change data in yellow cells. Gray and white cells contain formulas for calculation or results. Please do not change them.
1. Gene Table: Select the Species supported by the RT2 qPCR Assays to be analyzed. Copy and Paste Special Values the gene list for the RT2 qPCR Assays used into the yellow cells of Column B.
| A | B
1 | Species | Human
2 | Gene # | Symbol
3 | 1 | RAB5A
4 | 2 | RAB5B
5 | 3 | RAB5C
… | …
98 | 12 | PPC
2. Test Sample Data: Copy each Test Sample's list of raw CT values exported from your real-time PCR instrument into the yellow cells of the appropriate column using the "Paste Special" "Values" Excel function.
| A | B | C | D | E | F | G | H | I | J | K | L
1 | A: Symbol; B: Well; C: Test Group
2 |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10
3 | A: RAB5A; B: 1; C: 29.89; D: 29.56; E: 29.6
4 | A: RAB5B; B: 2; C: 31.15; D: 31.27; E: 30.75
….. | bar: A to L
98 | A: PPC; B: 12; C: 18.65; D: 18.15; E: 18.24
3. Control Sample Data: Likewise, copy each Control Sample's list of raw CT values exported from your real-time PCR instrument into the yellow cells of the appropriate column using the "Paste Special" "Values" Excel function.
Both "Test Sample Data" and "Control Sample Data" worksheets automatically display the average and standard deviation of each assay's replicate CT values in Columns M and N.
4. Choose Reference Genes: Type the complete Symbol, as seen in the "Gene Table" worksheet, of the desired reference genes to be used for data normalization into the yellow cells of column A. By default, our pre-defined species-specific reference genes based on the species selected in the "Gene Table" worksheet are displayed.
| A |  | B | C | D | E ... | ... N |  | O | P | Q | R
1 | A: Reference Gene Symbols; C: Well; D: Test Sample; G: Reference Gene Symbols; I: Well; J: Control Sample
2 | D: Sample 1; E: Sample 2; F: Sample 3; J: Sample 1; K: Sample 2; L: Sample 3
3 | ACTB |  | H01 | 14.21 | 14.67 | 14.65 | ACTB |  | H01 | 14.08 | 14.02 | 14.13
4
5
6
7
…
22
This worksheet automatically displays the raw CT values for each chosen reference gene in all samples in the gray cells to the left, and it automatically displays the average ("AVG") of the chosen reference genes' CT values in each Sample, which will be that Sample's normalization factor. This Excel file accommodates up to a maximum number of 20 reference genes.
5. QC Report: "Choose Your cDNA Synthesis Kit" and "Choose Your Plate Format" from the dropdown menu selections in Cells C6 and C9, respectively. The selections affect the QC Pass criteria. For more details on how to interpret the QC results, see the text in this worksheet.
6. Results: The Excel file automatically displays the fold difference in the expression of each gene between the Test and Control Groups of Samples. Statistical p-values calculated by the Student's t-test are also displayed, if the raw data includes at least three replicate Samples in both Groups. For more details the results returned, see the text in this worksheet.
If you wish to change the Group names, enter the new names into the yellow cells E2 and F2. The Group names automatically change in all other worksheets.
7. Scatter Plot: This plot graphs the log10 of the expression level of each gene in the Test Group versus the corresponding value in the Control Group. The black diagonal line indicates fold changes of 1, or no change. The purple diagonal lines indicate the desired fold-change threshold, defined by the typing that value into the yellow cell A1.
8. Volcano Plot: This plot graphs the log2 of the fold change in each gene's expression between the Groups on the x-axis versus the -log10 of each gene expression changes' p-value on the y-axis. The vertical black line indicates fold changes of 1, or no change. The purple vertical lines indicate the desired fold-change threshold, defined by typing that value into the yellow cell D1. The black horizontal line indicates the desired p-value threshold, defined by typing that value into the yellow cell I1.
9. Calculations: This worksheet displays the formulas and intermediate numbers used to convert the entered raw CT data into the displayed results. Again, as this information is displayed in gray cells, please do not change them.
NOTE: Example data is included in this template for demonstration purposes only. Simply delete the existing data and replace with your own through the Copy and Paste operations described above.
Version 5.0, 8/2018

## Gene Table
Species | Human
Gene # | Symbol
1 | RAB5A
2 | RAB5B
3 | RAB5C
4 | RABGGTA
5 | RABGGTB
6 | ICMT
7 | ACTB
8 | GDI1
9 | GDI2
10 | HGDC
11 | RTC
12 | PPC

## Array Content (hidden)
Species | Letter | Reference 1 | Reference 2 | Reference 3 | Reference 4 | Reference 5
Cow | B | ACTB | GAPDH | HPRT1 | TBP | YWHAZ
Fruit Fly | D | Act42A | Gapdh1 | RpL32 | SdhA | Tbp
Horse | E | ACTB | B2M | GAPDH | HPRT1 | LOC100056766
Dog | F | ACTB | B2M | GAPDH | HPRT1 | RPLP1
Chicken | G | ACTB | H6PD | HMBS | RPL4 | UBC
Human | H | ACTB | B2M | GAPDH | HPRT1 | RPLP0
CHO Cells | J | Actb | Actr5 | B2m | Gapdh | Hprt1
Mouse | M | Actb | B2m | Gapdh | Gusb | Hsp90ab1
Rabbit | N | ACTA2 | ACTB | GAPDH | LDHA | LOC100346936
Rhesus macaque | Q | ACTB | B2M | GAPDH | LOC709186 | RPL13A
Rat | R | Actb | B2m | Hprt1 | Ldha | Rplp1
Pig | S | ACTG1 | B2M | GAPDH | HPRT1 | RPL13A
Zebrafish | Z | acta1b | b2m | hprt1 | nono | rpl13a

## Test Sample Data
Symbol | Gene # | Test Group
|  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | AVG | SD
RAB5A | 1 | 20.58 | 20.75 | 20.72 | [9 empty] | 20.6833 | 0.090738
RAB5B | 2 | 21.33 | 21.13 | 21.56 | [9 empty] | 21.34 | 0.21517
RAB5C | 3 | 23.4 | 23.79 | 23.95 | [9 empty] | 23.7133 | 0.2829
RABGGTA | 4 | 24.99 | 24.35 | 24.74 | [9 empty] | 24.6933 | 0.32254
RABGGTB | 5 | 24.14 | 24.46 | 24.55 | [9 empty] | 24.3833 | 0.21548
ICMT | 6 | 21.88 | 22.19 | 21.26 | [9 empty] | 21.7767 | 0.47353
ACTB | 7 | 25.89 | 25.66 | 25.85 | [9 empty] | 25.8 | 0.12288
GDI1 | 8 | 29.54 | 29.45 | 29.08 | [9 empty] | 29.3567 | 0.24379
GDI2 | 9 | 21.26 | 21.29 | 21.26 | [9 empty] | 21.27 | 0.017321
HGDC | 10 | 35.41 | 36.22 | 35.94 | [9 empty] | 35 | 0
RTC | 11 | 19.23 | 19.45 | 19.66 | [9 empty] | 19.4467 | 0.21502
PPC | 12 | 20.01 | 20.94 | 20.77 | [9 empty] | 20.5733 | 0.49521
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Control Sample Data
Symbol | Gene # | Control Group
|  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | AVG | SD
RAB5A | 1 | 22.39 | 22.8 | 22.77 | [9 empty] | 22.6533 | 0.22855
RAB5B | 2 | 23.21 | 23.42 | 23.06 | [9 empty] | 23.23 | 0.18083
RAB5C | 3 | 23.73 | 23.24 | 23.49 | [9 empty] | 23.4867 | 0.24502
RABGGTA | 4 | 24.54 | 24.72 | 24.94 | [9 empty] | 24.7333 | 0.20033
RABGGTB | 5 | 24.55 | 24.17 | 24.93 | [9 empty] | 24.55 | 0.38
ICMT | 6 | 21.46 | 21.66 | 21.34 | [9 empty] | 21.4867 | 0.16166
ACTB | 7 | 25.08 | 25.53 | 25.57 | [9 empty] | 25.3933 | 0.27209
GDI1 | 8 | 27.33 | 27.11 | 27.31 | [9 empty] | 27.25 | 0.12166
GDI2 | 9 | 25.52 | 25.6 | 25.81 | [9 empty] | 25.6433 | 0.14978
HGDC | 10 | 35.55 | 36.21 | 37.66 | [9 empty] | 35 | 0
RTC | 11 | 19.84 | 19.12 | 19.54 | [9 empty] | 19.5 | 0.36166
PPC | 12 | 20.77 | 20.45 | 20.45 | [9 empty] | 20.5567 | 0.18475
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Choose Reference Genes
Reference Gene Symbols | Gene # | Test Group | [11 empty] | Reference Gene Symbols | Gene # | Control Group
|  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12
ACTB | 7 | 25.89 | 25.66 | 25.85 | [9 empty] | ACTB | 7 | 25.08 | 25.53 | 25.57
| AVG | 25.89 | 25.66 | 25.85 | [10 empty] | AVG | 25.08 | 25.53 | 25.57

## QC Report
Overview of the PCR Array Performance and Quality Control | [7 empty] | Test Group
PCR Array Catalog Number: |  | Human | [5 empty] | Control Group
This data analysis template accommodates all of the following cDNA Synthesis Kits: |  | RT2 First Strand Kit
RT2 HT First Strand Kit
RT2 PreAMP cDNA Synthesis Kit
Choose Your cDNA Synthesis Kit: |  | RT2 First Strand Kit
This data analysis template accommodates two array plate formats: |  | 96-Well Format (A, C, D, F)
100-Well Ring (R)
Choose Your Plate Format: |  | 96-Well Format (A, C, D, F)
1. PCR Array Reproducibility:
Test Group
Well | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | AVG exp(1-10) | ST DEV exp(1-10)
Average Ct (PPC) | 20.01 | 20.94 | 20.77 | [9 empty] | 20.5733 | 0.49521
Average Ct (RTC) | 19.23 | 19.45 | 19.66 | [9 empty] | 19.4467 | 0.21502
Control Group
Well | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | AVG exp(1-10) | ST DEV exp(1-10)
Average Ct (PPC) | 20.77 | 20.45 | 20.45 | [9 empty] | 20.5567 | 0.18475
Average Ct (RTC) | 19.84 | 19.12 | 19.54 | [9 empty] | 19.5 | 0.36166
2. Reverse Transcription Control (RTC):
Test Group
Well | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12
ΔCt (AVG RTC - AVG PPC) | -0.78 | -1.49 | -1.11
RT Efficiency | Pass | Pass | Pass
Control Group
Well | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12
ΔCt (AVG RTC - AVG PPC) | -0.93 | -1.33 | -0.91
RT Efficiency | Pass | Pass | Pass
3. Genomic DNA Contamination (GDC):
Test Group
Well | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12
Ct (GDC) | 35 | 35 | 35
Genomic DNA: | Pass | Pass | Pass
Control Group
Well | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12
Ct (GDC) | 35 | 35 | 35
Genomic DNA: | Pass | Pass | Pass
Criteria:
Reverse Transcription Control: For the RT² First Strand Synthesis Kit, if Delta CT (AVG RTC - AVG PPC) ≤ 5, RT Efficiency reports "Pass"; otherwise, RT Efficiency reports "Inquiry". For the RT2 PreAMP cDNA Synthsis Kit, f Delta CT (AVG RTC - AVG PPC) ≤ 7, RT Efficiency reports "Pass"; otherwise, RT Efficiency reports "Inquiry". If "Inquiry" is reported, see the Troubleshooting Guide of the PCR Array Handbook or contact Technical Support.
Genomic DNA Contamination Control: For the RT² First Strand Synthesis Kit, if CT(GDC) ≥ 35 for 96-well array plate formats or if CT(GDC) ≥ 33 for the 100-well ring format, then the GDC QC reports "Pass"; otherwise, "Inquiry" will be reported. For the RT² PreAMP cDNA Synthesis Kit regardless of array plate format, if Ct(GDC) ≥ 30, then the GDC QC reports "Pass"; if 28≤Ct(GDC)<30, then the GDC QC reports "Validate"; or if Ct(GDC)<28, then "Inquiry" will be reported. If "Inquiry" is reported, refer to the Troubleshooting Guide of the PCR Array Handbook or contact Technical Support. Validate the results of your gene(s) of interest with a no reverse transcription control, if necessary.
Tips:
Possible Reasons for RTC Failure:
1. One the listed cDNA Synthesis Kits must to be used for reverse transcription, because only these kits provide the correct external RNA control assayed by the RTC.
2. Other vendors" reverse transcription kit components sometimes affect QIAGEN qRT-PCR assays due to different salt concentrations.
3. There may be impurities in your RNA samples that affect reverse transcription. Re-purification of the RNA is recommended if the RTC reports "Inquiry".
Possible Reasons for PPC Failure:
1. The 10-minute step at 95 ºC is necessary to activate the hot-start PCR.
2. The PCR program might not be set up correctly. Visit the following link to download the instructions and the PCR protocol files for various models of real-time PCR instrument:
Possible Reasons for GDC Failure:
1. Have your RNA samples been treated with DNase?

## Results
|  | AVG ΔCt (Ct(GOI) - Ave Ct (HKG)) |  | 2^-ΔCt |  | Fold Change | T-TEST | Fold Up- or Down-Regulation | Comments
Symbol | Gene # | Test Group | Control Group | Test Group | Control Group | Test Group /Control Group | p value | Test Group /Control Group
RAB5A | 1 | -5.1167 | -2.74 | 34.6953 | 6.6807 | 5.1934 | 0.00052744 | 5.1934 | OKAY
RAB5B | 2 | -4.46 | -2.1633 | 22.0087 | 4.4795 | 4.9132 | 0.00023681 | 4.9132 | OKAY
RAB5C | 3 | -2.0867 | -1.9067 | 4.2477 | 3.7494 | 1.1329 | 0.66242 | 1.1329 | OKAY
RABGGTA | 4 | -1.1067 | -0.66 | 2.1535 | 1.5801 | 1.3629 | 0.042156 | 1.3629 | OKAY
RABGGTB | 5 | -1.4167 | -0.84333 | 2.6697 | 1.7942 | 1.488 | 0.15528 | 1.488 | OKAY
ICMT | 6 | -4.0233 | -3.9067 | 16.2609 | 14.9977 | 1.0842 | 0.68225 | 1.0842 | OKAY
ACTB | 7 | 0 | 0 | 1 | 1 | 1 | N/A | -1 | OKAY
GDI1 | 8 | 3.5567 | 1.8567 | 0.084984 | 0.27611 | 0.30779 | 0.0070819 | -3.249 | OKAY
GDI2 | 9 | -4.53 | 0.25 | 23.1029 | 0.8409 | 27.4741 | 6.0514e-05 | 27.4741 | OKAY
HGDC | 10 | 9.2 | 9.6067 | 0.0017003 | 0.0012826 | 1.3256 | 0.059735 | 1.3256 | C
RTC | 11 | -6.3533 | -5.8933 | 81.7606 | 59.4388 | 1.3755 | 0.29242 | 1.3755 | OKAY
PPC | 12 | -5.2267 | -4.8367 | 37.4441 | 28.5747 | 1.3104 | 0.40425 | 1.3104 | OKAY
Legend:
Fold-Change (2^(- Delta Delta Ct)) is the normalized gene expression (2^(- Delta Ct)) in the Test Sample divided the normalized gene expression (2^(- Delta Ct)) in the Control Sample.
Fold-Regulation represents fold-change results in a biologically meaningful way. Fold-change values greater than one indicate a positive- or an up-regulation, and the fold-regulation is equal to the fold-change
Fold-change values less than one indicate a negative or down-regulation, and the fold-regulation is the negative inverse of the fold-change.
Fold-change and fold-regulation values greater than 2 are indicated in red; fold-change values less than 0.5 and fold-regulation values less than -2 are indicated in blue.
p-values: The p values are calculated based on a Student’s t-test of the replicate 2^(- Delta Ct) values for each gene in the control group and treatment groups, and p values less than 0.05 are indicated in red.
Comments:
A: This gene’s average threshold cycle is relatively high (> 30) in either the control or the test sample, and is reasonably low in the other sample (< 30).
These data mean that the gene’s expression is relatively low in one sample and reasonably detected in the other sample suggesting that the actual fold-change value is at least as large as the calculated and reported fold-change result.
This fold-change result may also have greater variations if p value > 0.05; therefore, it is important to have a sufficient number of biological replicates to validate the result for this gene.
B: This gene’s average threshold cycle is relatively high (> 30), meaning that its relative expression level is low, in both control and test samples, and the p-value for the fold-change is either unavailable or relatively high (p > 0.05).
This fold-change result may also have greater variations; therefore, it is important to have a sufficient number of biological replicates to validate the result for this gene.
C: This gene’s average threshold cycle is either not determined or greater than the defined cut-off (deault 35), in both samples meaning that its expression was undetected, making this fold-change result erroneous and un-interpretable.

## Scatter Plot
3 | Threshold for Fold Difference
The black line indicates fold changes ((2 ^ (-DCt)) of 1. The pink lines indicate the desired fold-change in gene expression threshold, defined by the user with the entry in cell A1.
The scale of the X and Y axes can be adjusted by double clicking on them and then re-formating using the standard functions of Microsoft Excel.
[6 empty] | Scatter Plot |  |  |  | Scatter Plot
[6 empty] | Gene # | Symbol | 2-ΔCt |  | Well | Symbol | 2-ΔCt
[8 empty] | Test Group | Control Group |  |  | Test Group | Control Group
[6 empty] | 1 | RAB5A | 34.6953 | 6.6807 | 1 | RAB5A | 34.6953 | 6.6807
[6 empty] | 2 | RAB5B | 22.0087 | 4.4795 | 2 | RAB5B | 22.0087 | 4.4795
[6 empty] | 3 | RAB5C | 4.2477 | 3.7494 | 3 | RAB5C | 4.2477 | 3.7494
[6 empty] | 4 | RABGGTA | 2.1535 | 1.5801 | 4 | RABGGTA | 2.1535 | 1.5801
[6 empty] | 5 | RABGGTB | 2.6697 | 1.7942 | 5 | RABGGTB | 2.6697 | 1.7942
| 0.001 | 0.003 | 0.003 | 0.001 | 0.001 | 6 | ICMT | 16.2609 | 14.9977 | 6 | ICMT | 16.2609 | 14.9977
| 1000 | 3000 | 3000 | 1000 | 1000 | 7 | ACTB | 1 | 1 | 7 | ACTB | 1 | 1
[6 empty] | 8 | GDI1 | 0.084984 | 0.27611 | 8 | GDI1 | 0.084984 | 0.27611
[6 empty] | 9 | GDI2 | 23.1029 | 0.8409 | 9 | GDI2 | 23.1029 | 0.8409
[6 empty] | 10 | HGDC | 0.0017003 | 0.0012826 | 10 | HGDC | 0.0017003 | 0.0012826
[6 empty] | 11 | RTC | 81.7606 | 59.4388 | 11 | RTC | 81.7606 | 59.4388
[6 empty] | 12 | PPC | 37.4441 | 28.5747 | 12 | PPC | 37.4441 | 28.5747
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!

## Volcano Plot
Threshold for Fold Difference |  |  | 3 |  | Threshold for p Value of t-test | 0.05
The black line indicates a fold-change in gene expression of 1. The pink lines indicate the desired fold-change in gene expression threshold, as defined by the user in the yellow D1 cell.
The blue line indicates the desired threshold for the p value of the t-test, as defined by user in the yellow I1 cell.
The scale of the X and Y axes can be adjusted by double clicking on them and then re-formating using the standard functions of Microsoft Excel.
[9 empty] | Volcano Plot |  |  |  |  | Volcano Plot
[7 empty] | Gene # | Symbol | Log2(FC) | p Value | Comments | Well | Symbol | Log2(FC) | p Value
[7 empty] | 1 | RAB5A | 2.3767 | 0.00052744 | OKAY | 1 | RAB5A | 2.3767 | 0.00052744
[7 empty] | 2 | RAB5B | 2.2967 | 0.00023681 | OKAY | 2 | RAB5B | 2.2967 | 0.00023681
| -12 | 0.05 |  |  |  |  | 3 | RAB5C | 0.18 | 0.66242 | OKAY | 3 | RAB5C | 0.18 | 0.66242
| 15 | 0.05 |  |  |  |  | 4 | RABGGTA | 0.44667 | 0.042156 | OKAY | 4 | RABGGTA | 0.44667 | 0.042156
[7 empty] | 5 | RABGGTB | 0.57333 | 0.15528 | OKAY | 5 | RABGGTB | 0.57333 | 0.15528
| 1 | 1.585 | -1.585 | 0 |  |  | 6 | ICMT | 0.11667 | 0.68225 | OKAY | 6 | ICMT | 0.11667 | 0.68225
| 1e-05 | 1.585 | -1.585 | 0 |  |  | 7 | ACTB | 0 | #N/A | OKAY | 7 | ACTB | 0
[7 empty] | 8 | GDI1 | -1.7 | 0.0070819 | OKAY | 8 | GDI1 | -1.7 | 0.0070819
[7 empty] | 9 | GDI2 | 4.78 | 6.0514e-05 | OKAY | 9 | GDI2 | 4.78 | 6.0514e-05
[7 empty] | 10 | HGDC | 0.40667 | 0.059735 | C | 10 | HGDC | 0.40667 | 0.059735
[7 empty] | 11 | RTC | 0.46 | 0.29242 | OKAY | 11 | RTC | 0.46 | 0.29242
[7 empty] | 12 | PPC | 0.39 | 0.40425 | OKAY | 12 | PPC | 0.39 | 0.40425
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!

## Calculations
|  | >35 and (N/A or blank) to 35 | [13 empty] | >35 and (N/A or blank) to 35 | [11 empty] | Housekeeping Genes | [25 empty] | Normalized ΔCt (Ct(GOI) - Ave Ct (HKG)) | [23 empty] | AVG Normalized Ct |  |  |  | 2^ -ΔCt (Ct(GOI) - Ave Ct (HKG))
Symbol | Gene # | Test Group | [11 empty] | Symbol | Gene # | Control Group | [11 empty] | Test Group | [11 empty] | Control Group | [11 empty] | Symbol | Gene # | Test Group | [11 empty] | Control Group | [11 empty] | Test Group | Control Group | Symbol | Gene # | Test Group | [11 empty] | Control Group
|  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 |  |  |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12 | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10 | Sample 11 | Sample 12
RAB5A | 1 | 20.58 | 20.75 | 20.72 | [9 empty] | RAB5A | 1 | 22.39 | 22.8 | 22.77 | [9 empty] | 25.89 | 25.66 | 25.85 | [9 empty] | 25.08 | 25.53 | 25.57 | [9 empty] | RAB5A | 1 | -5.31 | -4.91 | -5.13 | [9 empty] | -2.69 | -2.73 | -2.8 | [9 empty] | -5.1167 | -2.74 | RAB5A | 1 | 39.6706 | 30.0647 | 35.0174 | [9 empty] | 6.4531 | 6.6346 | 6.9644
RAB5B | 2 | 21.33 | 21.13 | 21.56 | [9 empty] | RAB5B | 2 | 23.21 | 23.42 | 23.06 | [33 empty] | RAB5B | 2 | -4.56 | -4.53 | -4.29 | [9 empty] | -1.87 | -2.11 | -2.51 | [9 empty] | -4.46 | -2.1633 | RAB5B | 2 | 23.5883 | 23.1029 | 19.5622 | [9 empty] | 3.6553 | 4.3169 | 5.6962
RAB5C | 3 | 23.4 | 23.79 | 23.95 | [9 empty] | RAB5C | 3 | 23.73 | 23.24 | 23.49 | [33 empty] | RAB5C | 3 | -2.49 | -1.87 | -1.9 | [9 empty] | -1.35 | -2.29 | -2.08 | [9 empty] | -2.0867 | -1.9067 | RAB5C | 3 | 5.6178 | 3.6553 | 3.7321 | [9 empty] | 2.5491 | 4.8906 | 4.2281
RABGGTA | 4 | 24.99 | 24.35 | 24.74 | [9 empty] | RABGGTA | 4 | 24.54 | 24.72 | 24.94 | [33 empty] | RABGGTA | 4 | -0.9 | -1.31 | -1.11 | [9 empty] | -0.54 | -0.81 | -0.63 | [9 empty] | -1.1067 | -0.66 | RABGGTA | 4 | 1.8661 | 2.4794 | 2.1585 | [9 empty] | 1.454 | 1.7532 | 1.5476
RABGGTB | 5 | 24.14 | 24.46 | 24.55 | [9 empty] | RABGGTB | 5 | 24.55 | 24.17 | 24.93 | [33 empty] | RABGGTB | 5 | -1.75 | -1.2 | -1.3 | [9 empty] | -0.53 | -1.36 | -0.64 | [9 empty] | -1.4167 | -0.84333 | RABGGTB | 5 | 3.3636 | 2.2974 | 2.4623 | [9 empty] | 1.4439 | 2.5669 | 1.5583
ICMT | 6 | 21.88 | 22.19 | 21.26 | [9 empty] | ICMT | 6 | 21.46 | 21.66 | 21.34 | [33 empty] | ICMT | 6 | -4.01 | -3.47 | -4.59 | [9 empty] | -3.62 | -3.87 | -4.23 | [9 empty] | -4.0233 | -3.9067 | ICMT | 6 | 16.1113 | 11.0809 | 24.0839 | [9 empty] | 12.295 | 14.6213 | 18.7654
ACTB | 7 | 25.89 | 25.66 | 25.85 | [9 empty] | ACTB | 7 | 25.08 | 25.53 | 25.57 | [33 empty] | ACTB | 7 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | [9 empty] | 0 | 0 | ACTB | 7 | 1 | 1 | 1 | [9 empty] | 1 | 1 | 1
GDI1 | 8 | 29.54 | 29.45 | 29.08 | [9 empty] | GDI1 | 8 | 27.33 | 27.11 | 27.31 | [33 empty] | GDI1 | 8 | 3.65 | 3.79 | 3.23 | [9 empty] | 2.25 | 1.58 | 1.74 | [9 empty] | 3.5567 | 1.8567 | GDI1 | 8 | 0.07966 | 0.072293 | 0.10658 | [9 empty] | 0.21022 | 0.33448 | 0.29937
GDI2 | 9 | 21.26 | 21.29 | 21.26 | [9 empty] | GDI2 | 9 | 25.52 | 25.6 | 25.81 | [33 empty] | GDI2 | 9 | -4.63 | -4.37 | -4.59 | [9 empty] | 0.44 | 0.07 | 0.24 | [9 empty] | -4.53 | 0.25 | GDI2 | 9 | 24.761 | 20.6776 | 24.0839 | [9 empty] | 0.73713 | 0.95264 | 0.84675
HGDC | 10 | 35 | 35 | 35 | [9 empty] | HGDC | 10 | 35 | 35 | 35 | [33 empty] | HGDC | 10 | 9.11 | 9.34 | 9.15 | [9 empty] | 9.92 | 9.47 | 9.43 | [9 empty] | 9.2 | 9.6067 | HGDC | 10 | 0.0018097 | 0.001543 | 0.0017603 | [9 empty] | 0.0010322 | 0.0014101 | 0.0014497
RTC | 11 | 19.23 | 19.45 | 19.66 | [9 empty] | RTC | 11 | 19.84 | 19.12 | 19.54 | [33 empty] | RTC | 11 | -6.66 | -6.21 | -6.19 | [9 empty] | -5.24 | -6.41 | -6.03 | [9 empty] | -6.3533 | -5.8933 | RTC | 11 | 101.1253 | 74.028 | 73.0089 | [9 empty] | 37.7918 | 85.0359 | 65.3448
PPC | 12 | 20.01 | 20.94 | 20.77 | [9 empty] | PPC | 12 | 20.77 | 20.45 | 20.45 | [33 empty] | PPC | 12 | -5.88 | -4.72 | -5.08 | [9 empty] | -4.31 | -5.08 | -5.12 | [9 empty] | -5.2267 | -4.8367 | PPC | 12 | 58.892 | 26.3549 | 33.8246 | [9 empty] | 19.8353 | 33.8246 | 34.7755
HGDC |  | 35 | 35 | 35 | [9 empty] | HGDC |  | 35 | 35 | 35
RTC |  | 19.23 | 19.45 | 19.66 | [9 empty] | RTC |  | 19.84 | 19.12 | 19.54
PPC |  | 20.01 | 20.94 | 20.77 | [9 empty] | PPC |  | 20.77 | 20.45 | 20.45
CT Cutoff |  | 35
If no housekeeping gene is chosen, the normalization factor is zero (0).
[28 empty] | Average | [11 empty] | Average
[28 empty] | 25.89 | 25.66 | 25.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.08 | 25.53 | 25.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0