## Instructions
Instructions for Analyzing QIAseq DNA QuantiMIZE 96-Well Array/Assay Kit Results for the QIAseq Targeted DNA Panels with this file:
Generally, only change data in yellow cells. Gray and white cells contain formulas for calculation or results. Please do not change them.
1. Assay Quick Start Guide: QuantiMIZE Assay Kit Guide - Input your number of Samples into the yellow "enter number" Cell D7, and then follow the protocol step-by-step to set up assays with your Samples' gDNA and the Control gDNA.
2. Array Quick Start Guide: QuantiMIZE Array Kit Guide - Follow the protocol step-by-step to set up the array with your Samples' gDNA and the Control gDNA.
3. Raw Data & Analysis Setup Worksheet: a. Copy and Paste Special Values the raw CT values from the real-time PCR instrument run of your Samples' gDNA and the Control gDNA into the yellow section under the "Raw Data" column, Cells B2 to B97. When a "Delete the Outlier" message appears in the "Message" column F, identify the obvious outlier CT value in Column B and manually delete it to insure the "Message" disappears. b. Input the Samples' names into the yellow Cells I2 through I16. Each Sample must have a unique name. c. Input the Samples' concentrations (as measured by NanoDrop or other methods) into the yellow Cells J2 through J16. d. Delete any "Raw Data", "Sample ID", and "Sample Conc" information provided as an example that is not yours.
4. Results: a. Quality Control Results: Assay QC: If the "Assay QC" for all the Samples' gDNA and the Control gDNA reports “Pass”, then the assays performed optimally. If the Control gDNA "Assay QC" reports “Fail”, double check the assay setup and real-time PCR program. If any Sample’s "Assay QC" reports "Fail", the Sample may contain PCR inhibitor contaminants. b. Quality Control Results: QC Score & QC Call: The "QC Score" provides an indication of DNA Sample damage or fragmentation. Samples with a "QC Score" <= 0.04 are given a "High" "QC Call", meaning high quality DNA and a low degree of damage or fragmentation. Samples with a "QC Score" > 0.04 are given a "Low" "QC Call", meaning low quality DNA and a high degree damage or fragmentation. Samples with a "Low" "QC Call" may only be suitable for detection of high-frequency variants. c. Sample Volume and Amount Recommended: Columns F and G list the "Sample Volume" and "Sample Amount” ranges that are recommended for each Sample. If possible, the highest amount of Samples should be used. d. Comments: Even if a Sample is noted with the "Comment" "We do not recommend proceeding with this Sample.", up to 500 ng of Sample gDNA may still be used if a Sample must be processed.
Version 1.0, February 2017

## Assay Quick Start Guide
Quick Start Guide for QIAseq DNA QuantiMIZE Assay Kit
Always include QuantiMIZE Control gDNA in every run as described below, regardless of the number of gDNA Samples processed.
Each gDNA Sample is interrogated by 6 reactions: 3 (triplicate) reactions using Assay100 and 3 (triplicate) reactions using Assay200.
1. Prepare 2 PCR Components Mixes, Mix 1 using Primer Assay100 and Mix 2 for Primer Assay200. For a complete recipe, input number of Samples to be analyzed into the yellow "enter number" Cell D7.
Component | Volume (µL) | Sample number (n)
RNase-/DNase-free water | enter number in yellow box | enter number
QIAseq qPCR SYBR Green Mastermix | enter number in yellow box
Primer Assay100 or Assay200 | enter number in yellow box
Total volume | enter number in yellow box
2. Dispense 20 μL of PCR Components Mix 1 (Assay100) or Mix 2 (Assay200) into the appropriate Sample-specific (up to the number of Samples being processed) and Control white or gray wells, respectively, according to layout below:
3. Dilute each Sample gDNA or Control gDNA separately with RNase-/DNase-free water according to the Table below.
Component | Volume
Genomic DNA (Control or Sample) | 4 μL
RNase-/DNase-free water | 28 μL
Total volume | 32 μL
4. Dispense 5 μL of each diluted Sample gDNA or Control gDNA into the appropriate wells according to the Layout described in step 2 above. Sample 1 (S1) occupies wells A01 through A03 for Assay100 (white cells) and A07 through A09 for Assay200 (shaded cells). Sample 2 (S2) occupies wells B01 through B03 and B07 through B09, and so on up to the number of Samples being processed. The diluted Control gDNA MUST BE ADDED to Wells H04 through H06 for Assay100 and H10 through H12 for Assay200.
5. Seal the plate, vortex and spin it down.
6. Run the following real-time PCR cycling program:

## Array Quick Start Guide
Quick Start Guide for QIAseq DNA QuantiMIZE Array Kit
Always include QuantiMIZE Control gDNA in every run as described below, regardless of the number of gDNA Samples processed.
Each gDNA Sample is interrogated by 6 reactions: 3 (triplicate) reactions using Assay100 and 3 using (triplicate) reactions Assay200.
1. Prepare a PCR Components Mix for each Sample gDNA and Control gDNA using the following recipe:
Component | For each Sample (6 wells)
RNase-/DNase-free water | 78.5 µl
QIAseq qPCR SYBR Green Mastermix | 82.5 µl
Genomic DNA (Control or Sample) | 4 µl
Final volume | 165 µl
2. Dispense 25 μL of each Sample-specific (up to the number of Samples being processed) and Control PCR Components Mix into the appropriate wells indicated by the Array Layout below.
Add the Sample 1 (S1) PCR Components Mix to wells A01 through A03 for Assay100 (white cells) and A07 through A09 for Assay200 (shaded cells). Add the Sample 2 (S2) PCR Components Mix to wells B01 through B03 and B07 through B09, and so on up to the number of Samples being processed. The Control gDNA PCR Components Mix MUST BE ADDED to Wells H04 through H06 for Assay100 and H10 through H12 for Assay200.
3. Seal the plate, vortex and spin it down.
4. Run the following real-time PCR cycling program:

## Raw Data & Analysis Setup
Well | Raw Data | Average CT | Standard Deviation | Message | Sample | Sample ID | Sample Conc. (ng/µL)
A01 | 23.328 | 23.351 | 0.039837 |  | S1: | Thyroid Tumor | 36 | Please input sample concentrations for calculations! Use NanoDrop or other methods.
A02 | 23.397 |  |  |  | S2: | Normal Thyroid | 23
A03 | 23.328 |  |  |  | S3: | Melanoma 1 | 27
A04 | 19.644 | 19.6443 | 0.013503 |  | S4: | Paired Breast Tumor | 13
A05 | 19.631 |  |  |  | S5: | Paired Normal Breast | 9
A06 | 19.658 |  |  |  | S6: | Melanoma 2 | 31
A07 | 30.212 | 29.9747 | 0.20566 |  | S7: | NTS (all-prep) | 22
A08 | 29.863 |  |  |  | S8: | N30 (all-prep) | 52
A09 | 29.849 |  |  |  | S9: | PLT | 14
A10 | 22.575 | 22.569 | 0.0060005 |  | S10: | PLN | 5
A11 | 22.563 |  |  |  | S11: | FFPE Melanoma | 11
A12 | 22.569 |  |  |  | S12: | FFPE Colon | 50
B01 | 19.319 | 19.3193 | 0.012504 |  | S13: | N19 | 14
B02 | 19.332 |  |  |  | S14: | N10 | 20
B03 | 19.307 |  |  |  | S15: | NA12878 | 20
B04 | 21.098 | 21.032 | 0.057472 |  | Control: | Control | Control
B05 | 20.993
B06 | 21.005
B07 | 22.251 | 22.2453 | 0.0055074
B08 | 22.24
B09 | 22.245
B10 | 23.975 | 24.0017 | 0.074662
B11 | 23.944
B12 | 24.086
C01 | 18.198 | 18.1893 | 0.029956
C02 | 18.156
C03 | 18.214
C04 | 21.302 | 21.276 | 0.027056
C05 | 21.278
C06 | 21.248
C07 | 20.559 | 20.585 | 0.032187
C08 | 20.575
C09 | 20.621
C10 | 25.154 | 25.2237 | 0.06853
C11 | 25.291
C12 | 25.226
D01 | 25.905 | 25.8487 | 0.058621
D02 | 25.788
D03 | 25.853
D04 | 17.584 | 17.5397 | 0.039323
D05 | 17.526
D06 | 17.509
D07 |  | 31.4855 | 0.16758
D08 | 31.604
D09 | 31.367
D10 | 20.004 | 20.086 | 0.071359
D11 | 20.134
D12 | 20.12
E01 | 24.839 | 24.8837 | 0.040808
E02 | 24.919
E03 | 24.893
E04 | 18.892 | 18.8573 | 0.043155
E05 | 18.871
E06 | 18.809
E07 | 29.804 | 29.7497 | 0.28146
E08 | 29.445
E09 | 30
E10 | 21.336 | 21.3533 | 0.025813
E11 | 21.383
E12 | 21.341
F01 | 18.062 | 18.0493 | 0.035725
F02 | 18.077
F03 | 18.009
F04 | 18.864 | 18.845 | 0.016822
F05 | 18.832
F06 | 18.839
F07 | 20.367 | 20.3807 | 0.031786
F08 | 20.417
F09 | 20.358
F10 | 21.26 | 21.293 | 0.029816
F11 | 21.301
F12 | 21.318
G01 | 17.841 | 17.7783 | 0.055374
G02 | 17.736
G03 | 17.758
G04 | 16.68 | 16.6683 | 0.012583
G05 | 16.67
G06 | 16.655
G07 | 19.567 | 19.5553 | 0.015308
G08 | 19.561
G09 | 19.538
G10 | 17.135 | 17.1427 | 0.018717
G11 | 17.129
G12 | 17.164
H01 | 16.369 | 16.3487 | 0.01877
H02 | 16.345
H03 | 16.332
H04 | 18.626 | 18.6033 | 0.019857
H05 | 18.589
H06 | 18.595
H07 | 17.655 | 17.64 | 0.014526
H08 | 17.626
H09 | 17.639
H10 | 19.169 | 19.196 | 0.02488
H11 | 19.201
H12 | 19.218

## Results
Sample ID | Quality Control Results |  |  | Sample Concentration (ng/µL) | Sample Volume (µL) Recommended | Sample Amount (ng) Recommended | Comments
| Assay QC | QC Score | QC Call
Thyroid Tumor | Pass | 0.06031 | Low | 36 | 3.3 - 6.9 µL | 120-250ng
Normal Thyroid | Pass | 0.023333 | High | 23 | 1.7 - 4.3 µL | 40-100ng
Melanoma 1 | Pass | 0.01803 | High | 27 | 1.5 - 3.7 µL | 40-100ng
Paired Breast Tumor | Pass | 0.050442 | Low | 13 |  |  | We do not recommend proceeding with this sample.
Paired Normal Breast | Pass | 0.042733 | Low | 9 | 13.3 - 27.8 µL | 120-250ng
Melanoma 2 | Pass | 0.017387 | High | 31 | 1.3 - 3.2 µL | 40-100ng
NTS (all-prep) | Pass | 0.011843 | High | 22 | 1.8 - 4.5 µL | 40-100ng
N30 (all-prep) | Pass | 0.0069867 | High | 52 | 0.8 - 1.9 µL | 40-100ng
PLT | Pass | 0.02332 | High | 14 | 2.9 - 7.1 µL | 40-100ng
PLN | Pass | 0.02377 | High | 5 | 8.0 - 20.0 µL | 40-100ng
FFPE Melanoma | Pass | 0.03355 | High | 11 | 3.6 - 9.1 µL | 40-100ng
FFPE Colon | Pass | 0.019537 | High | 50 | 0.8 - 2.0 µL | 40-100ng
N19 | Pass | 0.019033 | High | 14 | 2.9 - 7.1 µL | 40-100ng
N10 | Pass | 0.018553 | High | 20 | 2.0 - 5.0 µL | 40-100ng
NA12878 | Pass | -0.0011833 | High | 20 | 2.0 - 5.0 µL | 40-100ng
Control | Pass

## Calculation
Well | Raw Data | Layout | Control Position | Assays | Assay Group (bp) | Sample Position | Average CT | Standard Deviation | Control CT | ΔCT (Sample-Control) |  | 100 | 200 | Slope | X | Y
A01 | 23.328 | S1 | H04 | Assay100 | 100 | S1_100 | 23.351 | 0.039837 | 18.6033 | 4.7477 | Sample | ∆CT100 | ∆CT200 |  | ΔCT150 | ng/ml-amplifiable | Added Cycles | Lower Vol. | Upper Vol. | Sample | 100 | 200 | ∆CT | Assay QC
A02 | 23.397 | S1 | H05 | Assay100 | [6 empty] | S1 | 4.7477 | 10.7787 | 0.06031 | 7.7632 | 0.023016 | 6 | 3.3333 | 6.9444 | S1 | 23.351 | 29.9747 | 6.6237 | Pass
A03 | 23.328 | S1 | H06 | Assay100 | [6 empty] | S2 | 0.716 | 3.0493 | 0.023333 | 1.8827 | 1.3559 | 6 | 1.7391 | 4.3478 | S2 | 19.3193 | 22.2453 | 2.926 | Pass
A04 | 19.644 | S9 | H04 | Assay100 | 100 | S9_100 | 19.6443 | 0.013503 | 18.6033 | 1.041 | S3 | -0.414 | 1.389 | 0.01803 | 0.4875 | 3.5663 | 6 | 1.4815 | 3.7037 | S3 | 18.1893 | 20.585 | 2.3957 | Pass
A05 | 19.631 | S9 | H05 | Assay100 | [6 empty] | S4 | 7.2453 | 12.2895 | 0.050442 | 9.7674 | 0.005737 |  |  |  | S4 | 25.8487 | 31.4855 | 5.6368 | Pass
A06 | 19.658 | S9 | H06 | Assay100 | [6 empty] | S5 | 6.2803 | 10.5537 | 0.042733 | 8.417 | 0.014629 | 6 | 13.3333 | 27.7778 | S5 | 24.8837 | 29.7497 | 4.866 | Pass
A07 | 30.212 | S1 | H10 | Assay200 | 200 | S1_200 | 29.9747 | 0.20566 | 19.196 | 10.7787 | S6 | -0.554 | 1.1847 | 0.017387 | 0.31533 | 4.0183 | 6 | 1.2903 | 3.2258 | S6 | 18.0493 | 20.3807 | 2.3313 | Pass
A08 | 29.863 | S1 | H11 | Assay200 | [6 empty] | S7 | -0.825 | 0.35933 | 0.011843 | -0.23283 | 5.8757 | 6 | 1.8182 | 4.5455 | S7 | 17.7783 | 19.5553 | 1.777 | Pass
A09 | 29.849 | S1 | H12 | Assay200 | [6 empty] | S8 | -2.2547 | -1.556 | 0.0069867 | -1.9053 | 18.7298 | 6 | 0.76923 | 1.9231 | S8 | 16.3487 | 17.64 | 1.2913 | Pass
A10 | 22.575 | S9 | H10 | Assay200 | 200 | S9_200 | 22.569 | 0.0060005 | 19.196 | 3.373 | S9 | 1.041 | 3.373 | 0.02332 | 2.207 | 1.0829 | 6 | 2.8571 | 7.1429 | S9 | 19.6443 | 22.569 | 2.9247 | Pass
A11 | 22.563 | S9 | H11 | Assay200 | [6 empty] | S10 | 2.4287 | 4.8057 | 0.02377 | 3.6172 | 0.40747 | 6 | 8 | 20 | S10 | 21.032 | 24.0017 | 2.9697 | Pass
A12 | 22.569 | S9 | H12 | Assay200 | [6 empty] | S11 | 2.6727 | 6.0277 | 0.03355 | 4.3502 | 0.24515 | 6 | 3.6364 | 9.0909 | S11 | 21.276 | 25.2237 | 3.9477 | Pass
B01 | 19.319 | S2 | H04 | Assay100 | 100 | S2_100 | 19.3193 | 0.012504 | 18.6033 | 0.716 | S12 | -1.0637 | 0.89 | 0.019537 | -0.086833 | 5.3102 | 6 | 0.8 | 2 | S12 | 17.5397 | 20.086 | 2.5463 | Pass
B02 | 19.332 | S2 | H05 | Assay100 | [6 empty] | S13 | 0.254 | 2.1573 | 0.019033 | 1.2057 | 2.1678 | 6 | 2.8571 | 7.1429 | S13 | 18.8573 | 21.3533 | 2.496 | Pass
B03 | 19.307 | S2 | H06 | Assay100 | [6 empty] | S14 | 0.24167 | 2.097 | 0.018553 | 1.1693 | 2.2231 | 6 | 2 | 5 | S14 | 18.845 | 21.293 | 2.448 | Pass
B04 | 21.098 | S10 | H04 | Assay100 | 100 | S10_100 | 21.032 | 0.057472 | 18.6033 | 2.4287 | S15 | -1.935 | -2.0533 | -0.0011833 | -1.9942 | 19.9193 | 0 | 2 | 5 | S15 | 16.6683 | 17.1427 | 0.47433 | Pass
B05 | 20.993 | S10 | H05 | Assay100 | [6 empty] | Control | 0 | 0 | 0 | 0 | 5 | 0 |  |  | Control | 18.6033 | 19.196 | 0.59267 | Pass
B06 | 21.005 | S10 | H06 | Assay100
B07 | 22.251 | S2 | H10 | Assay200 | 200 | S2_200 | 22.2453 | 0.0055074 | 19.196 | 3.0493 |  |  |  |  | If QC score<=0.04, use 40 - 100ng of the sample
B08 | 22.24 | S2 | H11 | Assay200 | [10 empty] | If QC score>0.04 and X<=9, use 120 - 250ng of the sample
B09 | 22.245 | S2 | H12 | Assay200 | [10 empty] | If X>9, do not proceed with sequencing sample
B10 | 23.975 | S10 | H10 | Assay200 | 200 | S10_200 | 24.0017 | 0.074662 | 19.196 | 4.8057
B11 | 23.944 | S10 | H11 | Assay200
B12 | 24.086 | S10 | H12 | Assay200
C01 | 18.198 | S3 | H04 | Assay100 | 100 | S3_100 | 18.1893 | 0.029956 | 18.6033 | -0.414
C02 | 18.156 | S3 | H05 | Assay100
C03 | 18.214 | S3 | H06 | Assay100
C04 | 21.302 | S11 | H04 | Assay100 | 100 | S11_100 | 21.276 | 0.027056 | 18.6033 | 2.6727
C05 | 21.278 | S11 | H05 | Assay100
C06 | 21.248 | S11 | H06 | Assay100
C07 | 20.559 | S3 | H10 | Assay200 | 200 | S3_200 | 20.585 | 0.032187 | 19.196 | 1.389
C08 | 20.575 | S3 | H11 | Assay200
C09 | 20.621 | S3 | H12 | Assay200
C10 | 25.154 | S11 | H10 | Assay200 | 200 | S11_200 | 25.2237 | 0.06853 | 19.196 | 6.0277
C11 | 25.291 | S11 | H11 | Assay200
C12 | 25.226 | S11 | H12 | Assay200
D01 | 25.905 | S4 | H04 | Assay100 | 100 | S4_100 | 25.8487 | 0.058621 | 18.6033 | 7.2453
D02 | 25.788 | S4 | H05 | Assay100
D03 | 25.853 | S4 | H06 | Assay100
D04 | 17.584 | S12 | H04 | Assay100 | 100 | S12_100 | 17.5397 | 0.039323 | 18.6033 | -1.0637
D05 | 17.526 | S12 | H05 | Assay100
D06 | 17.509 | S12 | H06 | Assay100
D07 |  | S4 | H10 | Assay200 | 200 | S4_200 | 31.4855 | 0.16758 | 19.196 | 12.2895
D08 | 31.604 | S4 | H11 | Assay200
D09 | 31.367 | S4 | H12 | Assay200
D10 | 20.004 | S12 | H10 | Assay200 | 200 | S12_200 | 20.086 | 0.071359 | 19.196 | 0.89
D11 | 20.134 | S12 | H11 | Assay200
D12 | 20.12 | S12 | H12 | Assay200
E01 | 24.839 | S5 | H04 | Assay100 | 100 | S5_100 | 24.8837 | 0.040808 | 18.6033 | 6.2803
E02 | 24.919 | S5 | H05 | Assay100
E03 | 24.893 | S5 | H06 | Assay100
E04 | 18.892 | S13 | H04 | Assay100 | 100 | S13_100 | 18.8573 | 0.043155 | 18.6033 | 0.254
E05 | 18.871 | S13 | H05 | Assay100
E06 | 18.809 | S13 | H06 | Assay100
E07 | 29.804 | S5 | H10 | Assay200 | 200 | S5_200 | 29.7497 | 0.28146 | 19.196 | 10.5537
E08 | 29.445 | S5 | H11 | Assay200
E09 | 30 | S5 | H12 | Assay200
E10 | 21.336 | S13 | H10 | Assay200 | 200 | S13_200 | 21.3533 | 0.025813 | 19.196 | 2.1573
E11 | 21.383 | S13 | H11 | Assay200
E12 | 21.341 | S13 | H12 | Assay200
F01 | 18.062 | S6 | H04 | Assay100 | 100 | S6_100 | 18.0493 | 0.035725 | 18.6033 | -0.554
F02 | 18.077 | S6 | H05 | Assay100
F03 | 18.009 | S6 | H06 | Assay100
F04 | 18.864 | S14 | H04 | Assay100 | 100 | S14_100 | 18.845 | 0.016822 | 18.6033 | 0.24167
F05 | 18.832 | S14 | H05 | Assay100
F06 | 18.839 | S14 | H06 | Assay100
F07 | 20.367 | S6 | H10 | Assay200 | 200 | S6_200 | 20.3807 | 0.031786 | 19.196 | 1.1847
F08 | 20.417 | S6 | H11 | Assay200
F09 | 20.358 | S6 | H12 | Assay200
F10 | 21.26 | S14 | H10 | Assay200 | 200 | S14_200 | 21.293 | 0.029816 | 19.196 | 2.097
F11 | 21.301 | S14 | H11 | Assay200
F12 | 21.318 | S14 | H12 | Assay200
G01 | 17.841 | S7 | H04 | Assay100 | 100 | S7_100 | 17.7783 | 0.055374 | 18.6033 | -0.825
G02 | 17.736 | S7 | H05 | Assay100
G03 | 17.758 | S7 | H06 | Assay100
G04 | 16.68 | S15 | H04 | Assay100 | 100 | S15_100 | 16.6683 | 0.012583 | 18.6033 | -1.935
G05 | 16.67 | S15 | H05 | Assay100
G06 | 16.655 | S15 | H06 | Assay100
G07 | 19.567 | S7 | H10 | Assay200 | 200 | S7_200 | 19.5553 | 0.015308 | 19.196 | 0.35933
G08 | 19.561 | S7 | H11 | Assay200
G09 | 19.538 | S7 | H12 | Assay200
G10 | 17.135 | S15 | H10 | Assay200 | 200 | S15_200 | 17.1427 | 0.018717 | 19.196 | -2.0533
G11 | 17.129 | S15 | H11 | Assay200
G12 | 17.164 | S15 | H12 | Assay200
H01 | 16.369 | S8 | H04 | Assay100 | 100 | S8_100 | 16.3487 | 0.01877 | 18.6033 | -2.2547
H02 | 16.345 | S8 | H05 | Assay100
H03 | 16.332 | S8 | H06 | Assay100
H04 | 18.626 | Control | H04 | Assay100 | 100 | Control_100 | 18.6033 | 0.019857 | 18.6033 | 0
H05 | 18.589 | Control | H05 | Assay100
H06 | 18.595 | Control | H06 | Assay100
H07 | 17.655 | S8 | H10 | Assay200 | 200 | S8_200 | 17.64 | 0.014526 | 19.196 | -1.556
H08 | 17.626 | S8 | H11 | Assay200
H09 | 17.639 | S8 | H12 | Assay200
H10 | 19.169 | Control | H10 | Assay200 | 200 | Control_200 | 19.196 | 0.02488 | 19.196 | 0
H11 | 19.201 | Control | H11 | Assay200
H12 | 19.218 | Control | H12 | Assay200