## Instructions
Instructions for analyzing Microbial DNA qPCR Array results with this template:
Data analysis calculates the presence or absence of an microbial species or microbial genes for all inputted samples. A microbial species/gene profile will be displayed under identification call tab.
To analyze data, proceed with the following simple procedure:
1. If using a 384-well format (E or G) plate, download the “384-Well Format E Data Analysis Patch” to reformat a 384-well dataset into the correct four sets of 96 assays for each of the four samples.
Generally, only change data in yellow cells. Gray and white cells contain formulas for calculation or results. Please do not change them.
2. Copy the Ct values of your test sample from your real-time PCR results; use the Paste Special function and select "Values" to paste the Ct values to the yellow part of the "Input Ct" worksheet. This template accommodates 2 samples from 1 PCR plate run.
| A | B | C | D | E | F | G | H | I | J | K | L
1 | A: Gene; B: Well; C: Test Samples
2 |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 | Sample 7 | Sample 8 | Sample 9 | Sample 10
3 | A: Actinomyces gerencseriae; B: A01; C: 25.4
4 | A: Actinomyces israelii; B: A02; C: 34.6
….. | bar: A to L
98 | A: PPC; B: H12; C: 20.2
3. If NTC and Test sample were run on the same plate, export Rows A, B, C and D to "NTC Data" tab (sample 1) and Rows E, F,G and H to "Test Sample Data" tab (sample 1). If plate only contains test samples, then export all data to "Test Sample Data".
4. Obtain presence/absence/questionable call results for microbial species/gene in each sample in the "identification call" worksheet.

## Array Table
Well | Species/Gene | Antibiotic classification/Virulence Factor Gene Description | Also detects (Antibiotic Resistance Genes)/Virulence Factor Associated Species | May detect (microbial identification) | Sensitivity | Catalog number
A1, E1 | Actinomyces gerencseriae |  |  |  | 50 | BPID00009A
A2, E2 | Actinomyces israelii |  |  |  | 20 | BPID00011A
A3, E3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media |  |  |  | 100 | BPID00022A
A4, E4 | Akkermansia muciniphila |  |  |  | 100 | BPID00026A
A5, E5 | Arcobacter butzleri |  |  |  | 20 | BPID00035A
A6, E6 | Arcobacter skirrowii |  |  | Arcobacter cryaerophilus | 30 | BPID00036A
A7, E7 | Bacteroides thetaiotaomicron |  |  | Bacteroides acidifaciens,Bacteroides finegoldii,Bacteroides fragilis,Bacteroides ovatus,Bacteroides salyersiae | 40 | BPID00060A
A8, E8 | Bacteroides vulgatus |  |  | Bacteroides acidofaciens,Bacteroides coprocola | 50 | BPID00062A
A9, E9 | Bifidobacterium adolescentis |  |  |  | 50 | BPID00063A
A10, E10 | Bifidobacterium dentium |  |  |  | 40 | BPID00066A
A11, E11 | Bifidobacterium longum |  |  |  | 20 | BPID00067A
A12, E12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni |  |  |  | 400 | BPID00087A
B1, F1 | Campylobacter upsaliensis |  |  | Campylobacter cuniculorum,Campylobacter helveticus,Helicobacter bilis | 50 | BPID00091A
B2, F2 | Catellicoccus marimammalium |  |  |  | 20 | BPID00102A
B3, F3 | Citrobacter freundii |  |  | Dickeya dadantii,Klebsiella oxytoca,Serratia marcescens,Enterobacter amnigenus,Pantoea dispersa,Raoultella terrigena | 100 | BPID00108A
B4, F4 | Clostridium difficile |  |  |  | 30 | BPID00110A
B5, F5 | Clostridium perfringens |  |  |  | 100 | BPID00112A
B6, F6 | Clostridium septicum |  |  |  | 40 | BPID00113A
B7, F7 | Desulfovibrio desulfuricans |  |  |  | 300 | BPID00127A
B8, F8 | Desulfovibrio vulgaris |  |  |  | 40 | BPID00129A
B9, F9 | Enterococcus gallinarum,Enterococcus casseliflavus |  |  |  | 20 | BPID00141A
B10, F10 | Enterococcus faecalis |  |  |  | 30 | BPID00142A
B11, F11 | Enterococcus faecium |  |  | Enterococcus avium,Enterococcus durans,Enterococcus hirae,Enterococcus lactis | 40 | BPID00143A
B12, F12 | eae | intimin adherence protein | Escherichia coli |  | 30 | BPVF00472A
C1, G1 | stx2A | shiga-like toxin II A subunit encoded by bacteriophage BP-933W | Escherichia coli |  | 20 | BPVF00473A
C2, G2 | stxA | Shiga toxin subunit A; RNA-N-glycosidase; catalyticsubunit | Escherichia coli,Shigella dysenteriae |  | 20 | BPVF00506A
C3, G3 | Helicobacter pylori |  |  | Helicobacter suis | 50 | BPID00176A
C4, G4 | Lactobacillus gasseri |  |  |  | 50 | BPID00189A
C5, G5 | Legionella pneumophila |  |  |  | 100 | BPID00201A
C6, G6 | Listeria monocytogenes |  |  | Listeria welshimeri | 200 | BPID00208A
C7, G7 | Morganella morganii |  |  | Escherichia albertii,Providencia alcalifaciens,Providencia heimbachae,Providencia rustigianii | 100 | BPID00224A
C8, G8 | Mycobacterium avium |  |  | Mycobacterium arosiense | 40 | BPID00226A
C9, G9 | Mycobacterium intracellulare |  |  | Mycobacterium avium,Mycobacterium arosiense | 100 | BPID00228A
C10, G10 | Ruminococcus bromii |  |  |  | 30 | BPID00298A
C11, G11 | Ruminococcus obeum |  |  |  | 30 | BPID00300A
C12, G12 | Salmonella enterica |  |  | Citrobacter amalonaticus | 100 | BPID00302A
D1, H1 | Shigella dysenteriae |  |  | Salmonella bongori | 100 | BPID00307A
D2, H2 | Staphylococcus aureus |  |  | Staphylococcus epidermidis | 100 | BPID00314A
D3, H3 | Streptococcus agalactiae |  |  |  | 30 | BPID00320A
D4, H4 | Streptococcus suis |  |  |  | 20 | BPID00336A
D5, H5 | Vibrio cholerae |  |  |  | 30 | BPID00353A
D6, H6 | Vibrio parahaemolyticus |  |  | Vibrio harveyi,Vibrio orientalis,Vibrio shilonii | 40 | BPID00354A
D7, H7 | Vibrio vulnificus |  |  | Vibrio aestuarianus | 40 | BPID00355A
D8, H8 | Yersinia enterocolitica |  |  |  | 100 | BPID00357A
D9, H9 | Yersinia pestis,Yersinia pseudotuberculosis |  |  |  | 100 | BPID00358A
D10, H10 | Pan Bacteria 1 |  |  |  |  | BPCL00360A
D11, H11 | Pan Bacteria 3 |  |  |  |  | BPCL00362A
D12, H12 | PPC |  |  |  |  | BPCL00365A

## NTC Data
Well | Sample | Species/Gene | NTC plate
A1 | NTC 1 | Actinomyces gerencseriae | 40
A2 |  | Actinomyces israelii | 40
A3 |  | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media | 40
A4 |  | Akkermansia muciniphila | 40
A5 |  | Arcobacter butzleri | 40
A6 |  | Arcobacter skirrowii | 40
A7 |  | Bacteroides thetaiotaomicron | 40
A8 |  | Bacteroides vulgatus | 40
A9 |  | Bifidobacterium adolescentis | 40
A10 |  | Bifidobacterium dentium | 40
A11 |  | Bifidobacterium longum | 40
A12 |  | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni | 40
B1 |  | Campylobacter upsaliensis | 40
B2 |  | Catellicoccus marimammalium | 40
B3 |  | Citrobacter freundii | 40
B4 |  | Clostridium difficile | 40
B5 |  | Clostridium perfringens | 40
B6 |  | Clostridium septicum | 40
B7 |  | Desulfovibrio desulfuricans | 40
B8 |  | Desulfovibrio vulgaris | 40
B9 |  | Enterococcus gallinarum,Enterococcus casseliflavus | 40
B10 |  | Enterococcus faecalis | 40
B11 |  | Enterococcus faecium | 40
B12 |  | eae | 40
C1 |  | stx2A | 40
C2 |  | stxA | 40
C3 |  | Helicobacter pylori | 40
C4 |  | Lactobacillus gasseri | 40
C5 |  | Legionella pneumophila | 40
C6 |  | Listeria monocytogenes | 40
C7 |  | Morganella morganii | 40
C8 |  | Mycobacterium avium | 40
C9 |  | Mycobacterium intracellulare | 40
C10 |  | Ruminococcus bromii | 40
C11 |  | Ruminococcus obeum | 40
C12 |  | Salmonella enterica | 40
D1 |  | Shigella dysenteriae | 40
D2 |  | Staphylococcus aureus | 40
D3 |  | Streptococcus agalactiae | 40
D4 |  | Streptococcus suis | 40
D5 |  | Vibrio cholerae | 40
D6 |  | Vibrio parahaemolyticus | 40
D7 |  | Vibrio vulnificus | 40
D8 |  | Yersinia enterocolitica | 40
D9 |  | Yersinia pestis,Yersinia pseudotuberculosis | 40
D10 |  | Pan Bacteria 1 | 40
D11 |  | Pan Bacteria 3 | 40
D12 |  | PPC | 40
E1 | NTC 2 (optional) | Actinomyces gerencseriae
E2 |  | Actinomyces israelii
E3 |  | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media
E4 |  | Akkermansia muciniphila
E5 |  | Arcobacter butzleri
E6 |  | Arcobacter skirrowii
E7 |  | Bacteroides thetaiotaomicron
E8 |  | Bacteroides vulgatus
E9 |  | Bifidobacterium adolescentis
E10 |  | Bifidobacterium dentium
E11 |  | Bifidobacterium longum
E12 |  | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni
F1 |  | Campylobacter upsaliensis
F2 |  | Catellicoccus marimammalium
F3 |  | Citrobacter freundii
F4 |  | Clostridium difficile
F5 |  | Clostridium perfringens
F6 |  | Clostridium septicum
F7 |  | Desulfovibrio desulfuricans
F8 |  | Desulfovibrio vulgaris
F9 |  | Enterococcus gallinarum,Enterococcus casseliflavus
F10 |  | Enterococcus faecalis
F11 |  | Enterococcus faecium
F12 |  | eae
G1 |  | stx2A
G2 |  | stxA
G3 |  | Helicobacter pylori
G4 |  | Lactobacillus gasseri
G5 |  | Legionella pneumophila
G6 |  | Listeria monocytogenes
G7 |  | Morganella morganii
G8 |  | Mycobacterium avium
G9 |  | Mycobacterium intracellulare
G10 |  | Ruminococcus bromii
G11 |  | Ruminococcus obeum
G12 |  | Salmonella enterica
H1 |  | Shigella dysenteriae
H2 |  | Staphylococcus aureus
H3 |  | Streptococcus agalactiae
H4 |  | Streptococcus suis
H5 |  | Vibrio cholerae
H6 |  | Vibrio parahaemolyticus
H7 |  | Vibrio vulnificus
H8 |  | Yersinia enterocolitica
H9 |  | Yersinia pestis,Yersinia pseudotuberculosis
H10 |  | Pan Bacteria 1
H11 |  | Pan Bacteria 3
H12 |  | PPC

## Test Sample Data
Well | Sample | Species/Gene | Sample plate
A1 | Sample 1 | Actinomyces gerencseriae | 40
A2 |  | Actinomyces israelii | 40
A3 |  | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media | 40
A4 |  | Akkermansia muciniphila | 40
A5 |  | Arcobacter butzleri | 40
A6 |  | Arcobacter skirrowii | 40
A7 |  | Bacteroides thetaiotaomicron | 40
A8 |  | Bacteroides vulgatus | 40
A9 |  | Bifidobacterium adolescentis | 40
A10 |  | Bifidobacterium dentium | 40
A11 |  | Bifidobacterium longum | 40
A12 |  | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni | 40
B1 |  | Campylobacter upsaliensis | 40
B2 |  | Catellicoccus marimammalium | 40
B3 |  | Citrobacter freundii | 40
B4 |  | Clostridium difficile | 40
B5 |  | Clostridium perfringens | 40
B6 |  | Clostridium septicum | 40
B7 |  | Desulfovibrio desulfuricans | 30
B8 |  | Desulfovibrio vulgaris | 30
B9 |  | Enterococcus gallinarum,Enterococcus casseliflavus | 31
B10 |  | Enterococcus faecalis | 30
B11 |  | Enterococcus faecium | 36
B12 |  | eae | 40
C1 |  | stx2A | 40
C2 |  | stxA | 40
C3 |  | Helicobacter pylori | 40
C4 |  | Lactobacillus gasseri | 40
C5 |  | Legionella pneumophila | 40
C6 |  | Listeria monocytogenes | 40
C7 |  | Morganella morganii | 40
C8 |  | Mycobacterium avium | 40
C9 |  | Mycobacterium intracellulare | 40
C10 |  | Ruminococcus bromii | 40
C11 |  | Ruminococcus obeum | 40
C12 |  | Salmonella enterica | 40
D1 |  | Shigella dysenteriae | 40
D2 |  | Staphylococcus aureus | 40
D3 |  | Streptococcus agalactiae | 40
D4 |  | Streptococcus suis | 40
D5 |  | Vibrio cholerae | 40
D6 |  | Vibrio parahaemolyticus | 40
D7 |  | Vibrio vulnificus | 40
D8 |  | Yersinia enterocolitica | 40
D9 |  | Yersinia pestis,Yersinia pseudotuberculosis | 40
D10 |  | Pan Bacteria 1 | 40
D11 |  | Pan Bacteria 3 | 40
D12 |  | PPC | 40
E1 | Sample 2 (optional) | Actinomyces gerencseriae
E2 |  | Actinomyces israelii
E3 |  | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media
E4 |  | Akkermansia muciniphila
E5 |  | Arcobacter butzleri
E6 |  | Arcobacter skirrowii
E7 |  | Bacteroides thetaiotaomicron
E8 |  | Bacteroides vulgatus
E9 |  | Bifidobacterium adolescentis
E10 |  | Bifidobacterium dentium
E11 |  | Bifidobacterium longum
E12 |  | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni
F1 |  | Campylobacter upsaliensis
F2 |  | Catellicoccus marimammalium
F3 |  | Citrobacter freundii
F4 |  | Clostridium difficile
F5 |  | Clostridium perfringens
F6 |  | Clostridium septicum
F7 |  | Desulfovibrio desulfuricans
F8 |  | Desulfovibrio vulgaris
F9 |  | Enterococcus gallinarum,Enterococcus casseliflavus
F10 |  | Enterococcus faecalis
F11 |  | Enterococcus faecium
F12 |  | eae
G1 |  | stx2A
G2 |  | stxA
G3 |  | Helicobacter pylori
G4 |  | Lactobacillus gasseri
G5 |  | Legionella pneumophila
G6 |  | Listeria monocytogenes
G7 |  | Morganella morganii
G8 |  | Mycobacterium avium
G9 |  | Mycobacterium intracellulare
G10 |  | Ruminococcus bromii
G11 |  | Ruminococcus obeum
G12 |  | Salmonella enterica
H1 |  | Shigella dysenteriae
H2 |  | Staphylococcus aureus
H3 |  | Streptococcus agalactiae
H4 |  | Streptococcus suis
H5 |  | Vibrio cholerae
H6 |  | Vibrio parahaemolyticus
H7 |  | Vibrio vulnificus
H8 |  | Yersinia enterocolitica
H9 |  | Yersinia pestis,Yersinia pseudotuberculosis
H10 |  | Pan Bacteria 1
H11 |  | Pan Bacteria 3
H12 |  | PPC

## QC report
1. PPC (NTC)
Well | Assay | Sample 1 | Sample 2 | AVG | SD
D12, H12 | PPC | 40 |  | 40
PPC = 22(+/-2)? |  | No
2. Universal Assays (Test Sample)
Well | Assay | Sample 1 | Sample 2 | AVG | SD
D10, H10 | Pan Bacteria 1 | 40 |  | 40
D11, H11 | Pan Bacteria 3 | 40 |  | 40
QC call
D10, H10 | Pan Bacteria 1 | Warning
D11, H11 | Pan Bacteria 3 | Warning
2. PPC (Test Sample)
Well | Assay | Sample 1 | Sample 2 | AVG | SD
D12, H12 | PPC | 40 |  | 40
PPC = 22(+/-2)? |  | No

## Identification call
Well | Species/Gene | Antibiotic classification/Virulence Factor Gene Description | Also detects (Antibiotic Resistance Genes)/Virulence Factor Associated Species | May detect (microbial identification) | Sensitivity | NTC QC check | Sample 1 | Sample 2
A1, E1 | Actinomyces gerencseriae |  |  |  | 50 | OK
A2, E2 | Actinomyces israelii |  |  |  | 20 | OK
A3, E3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media |  |  |  | 100 | OK
A4, E4 | Akkermansia muciniphila |  |  |  | 100 | OK
A5, E5 | Arcobacter butzleri |  |  |  | 20 | OK
A6, E6 | Arcobacter skirrowii |  |  | Arcobacter cryaerophilus | 30 | OK
A7, E7 | Bacteroides thetaiotaomicron |  |  | Bacteroides acidifaciens,Bacteroides finegoldii,Bacteroides fragilis,Bacteroides ovatus,Bacteroides salyersiae | 40 | OK
A8, E8 | Bacteroides vulgatus |  |  | Bacteroides acidofaciens,Bacteroides coprocola | 50 | OK
A9, E9 | Bifidobacterium adolescentis |  |  |  | 50 | OK
A10, E10 | Bifidobacterium dentium |  |  |  | 40 | OK
A11, E11 | Bifidobacterium longum |  |  |  | 20 | OK
A12, E12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni |  |  |  | 400 | OK
B1, F1 | Campylobacter upsaliensis |  |  | Campylobacter cuniculorum,Campylobacter helveticus,Helicobacter bilis | 50 | OK
B2, F2 | Catellicoccus marimammalium |  |  |  | 20 | OK
B3, F3 | Citrobacter freundii |  |  | Dickeya dadantii,Klebsiella oxytoca,Serratia marcescens,Enterobacter amnigenus,Pantoea dispersa,Raoultella terrigena | 100 | OK
B4, F4 | Clostridium difficile |  |  |  | 30 | OK
B5, F5 | Clostridium perfringens |  |  |  | 100 | OK
B6, F6 | Clostridium septicum |  |  |  | 40 | OK
B7, F7 | Desulfovibrio desulfuricans |  |  |  | 300 | OK | +
B8, F8 | Desulfovibrio vulgaris |  |  |  | 40 | OK | +
B9, F9 | Enterococcus gallinarum,Enterococcus casseliflavus |  |  |  | 20 | OK | +
B10, F10 | Enterococcus faecalis |  |  |  | 30 | OK | +
B11, F11 | Enterococcus faecium |  |  | Enterococcus avium,Enterococcus durans,Enterococcus hirae,Enterococcus lactis | 40 | OK | +/-
B12, F12 | eae | intimin adherence protein | Escherichia coli |  | 30 | OK
C1, G1 | stx2A | shiga-like toxin II A subunit encoded by bacteriophage BP-933W | Escherichia coli |  | 20 | OK
C2, G2 | stxA | Shiga toxin subunit A; RNA-N-glycosidase; catalyticsubunit | Escherichia coli,Shigella dysenteriae |  | 20 | OK
C3, G3 | Helicobacter pylori |  |  | Helicobacter suis | 50 | OK
C4, G4 | Lactobacillus gasseri |  |  |  | 50 | OK
C5, G5 | Legionella pneumophila |  |  |  | 100 | OK
C6, G6 | Listeria monocytogenes |  |  | Listeria welshimeri | 200 | OK
C7, G7 | Morganella morganii |  |  | Escherichia albertii,Providencia alcalifaciens,Providencia heimbachae,Providencia rustigianii | 100 | OK
C8, G8 | Mycobacterium avium |  |  | Mycobacterium arosiense | 40 | OK
C9, G9 | Mycobacterium intracellulare |  |  | Mycobacterium avium,Mycobacterium arosiense | 100 | OK
C10, G10 | Ruminococcus bromii |  |  |  | 30 | OK
C11, G11 | Ruminococcus obeum |  |  |  | 30 | OK
C12, G12 | Salmonella enterica |  |  | Citrobacter amalonaticus | 100 | OK
D1, H1 | Shigella dysenteriae |  |  | Salmonella bongori | 100 | OK
D2, H2 | Staphylococcus aureus |  |  | Staphylococcus epidermidis | 100 | OK
D3, H3 | Streptococcus agalactiae |  |  |  | 30 | OK
D4, H4 | Streptococcus suis |  |  |  | 20 | OK
D5, H5 | Vibrio cholerae |  |  |  | 30 | OK
D6, H6 | Vibrio parahaemolyticus |  |  | Vibrio harveyi,Vibrio orientalis,Vibrio shilonii | 40 | OK
D7, H7 | Vibrio vulnificus |  |  | Vibrio aestuarianus | 40 | OK
D8, H8 | Yersinia enterocolitica |  |  |  | 100 | OK
D9, H9 | Yersinia pestis,Yersinia pseudotuberculosis |  |  |  | 100 | OK
Methicillin Resistant Staphylococcus aureus

## Calculations
NTC Data |  |  |  |  | Test Samples |  |  |  |  | dCt |  |  | Identification Call
Well | Species/Gene | NTC 1 | Ave | SD | Well | Species/Gene | Sample 1 | Ave | SD | Well | Species/Gene | Sample 1 | Well | Species/Gene | Sample 1
A1 | Actinomyces gerencseriae | 40 | 40 |  | A1 | Actinomyces gerencseriae | 40 | 40 |  | A1 | Actinomyces gerencseriae | 0 | A1 | Actinomyces gerencseriae
A2 | Actinomyces israelii | 40 | 40 |  | A2 | Actinomyces israelii | 40 | 40 |  | A2 | Actinomyces israelii | 0 | A2 | Actinomyces israelii
A3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media | 40 | 40 |  | A3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media | 40 | 40 |  | A3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media | 0 | A3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media
A4 | Akkermansia muciniphila | 40 | 40 |  | A4 | Akkermansia muciniphila | 40 | 40 |  | A4 | Akkermansia muciniphila | 0 | A4 | Akkermansia muciniphila
A5 | Arcobacter butzleri | 40 | 40 |  | A5 | Arcobacter butzleri | 40 | 40 |  | A5 | Arcobacter butzleri | 0 | A5 | Arcobacter butzleri
A6 | Arcobacter skirrowii | 40 | 40 |  | A6 | Arcobacter skirrowii | 40 | 40 |  | A6 | Arcobacter skirrowii | 0 | A6 | Arcobacter skirrowii
A7 | Bacteroides thetaiotaomicron | 40 | 40 |  | A7 | Bacteroides thetaiotaomicron | 40 | 40 |  | A7 | Bacteroides thetaiotaomicron | 0 | A7 | Bacteroides thetaiotaomicron
A8 | Bacteroides vulgatus | 40 | 40 |  | A8 | Bacteroides vulgatus | 40 | 40 |  | A8 | Bacteroides vulgatus | 0 | A8 | Bacteroides vulgatus
A9 | Bifidobacterium adolescentis | 40 | 40 |  | A9 | Bifidobacterium adolescentis | 40 | 40 |  | A9 | Bifidobacterium adolescentis | 0 | A9 | Bifidobacterium adolescentis
A10 | Bifidobacterium dentium | 40 | 40 |  | A10 | Bifidobacterium dentium | 40 | 40 |  | A10 | Bifidobacterium dentium | 0 | A10 | Bifidobacterium dentium
A11 | Bifidobacterium longum | 40 | 40 |  | A11 | Bifidobacterium longum | 40 | 40 |  | A11 | Bifidobacterium longum | 0 | A11 | Bifidobacterium longum
A12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni | 40 | 40 |  | A12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni | 40 | 40 |  | A12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni | 0 | A12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni
B1 | Campylobacter upsaliensis | 40 | 40 |  | B1 | Campylobacter upsaliensis | 40 | 40 |  | B1 | Campylobacter upsaliensis | 0 | B1 | Campylobacter upsaliensis
B2 | Catellicoccus marimammalium | 40 | 40 |  | B2 | Catellicoccus marimammalium | 40 | 40 |  | B2 | Catellicoccus marimammalium | 0 | B2 | Catellicoccus marimammalium
B3 | Citrobacter freundii | 40 | 40 |  | B3 | Citrobacter freundii | 40 | 40 |  | B3 | Citrobacter freundii | 0 | B3 | Citrobacter freundii
B4 | Clostridium difficile | 40 | 40 |  | B4 | Clostridium difficile | 40 | 40 |  | B4 | Clostridium difficile | 0 | B4 | Clostridium difficile
B5 | Clostridium perfringens | 40 | 40 |  | B5 | Clostridium perfringens | 40 | 40 |  | B5 | Clostridium perfringens | 0 | B5 | Clostridium perfringens
B6 | Clostridium septicum | 40 | 40 |  | B6 | Clostridium septicum | 40 | 40 |  | B6 | Clostridium septicum | 0 | B6 | Clostridium septicum
B7 | Desulfovibrio desulfuricans | 40 | 40 |  | B7 | Desulfovibrio desulfuricans | 30 | 30 |  | B7 | Desulfovibrio desulfuricans | 10 | B7 | Desulfovibrio desulfuricans | +
B8 | Desulfovibrio vulgaris | 40 | 40 |  | B8 | Desulfovibrio vulgaris | 30 | 30 |  | B8 | Desulfovibrio vulgaris | 10 | B8 | Desulfovibrio vulgaris | +
B9 | Enterococcus gallinarum,Enterococcus casseliflavus | 40 | 40 |  | B9 | Enterococcus gallinarum,Enterococcus casseliflavus | 31 | 31 |  | B9 | Enterococcus gallinarum,Enterococcus casseliflavus | 9 | B9 | Enterococcus gallinarum,Enterococcus casseliflavus | +
B10 | Enterococcus faecalis | 40 | 40 |  | B10 | Enterococcus faecalis | 30 | 30 |  | B10 | Enterococcus faecalis | 10 | B10 | Enterococcus faecalis | +
B11 | Enterococcus faecium | 40 | 40 |  | B11 | Enterococcus faecium | 36 | 36 |  | B11 | Enterococcus faecium | 4 | B11 | Enterococcus faecium | +/-
B12 | eae | 40 | 40 |  | B12 | eae | 40 | 40 |  | B12 | eae | 0 | B12 | eae
C1 | stx2A | 40 | 40 |  | C1 | stx2A | 40 | 40 |  | C1 | stx2A | 0 | C1 | stx2A
C2 | stxA | 40 | 40 |  | C2 | stxA | 40 | 40 |  | C2 | stxA | 0 | C2 | stxA
C3 | Helicobacter pylori | 40 | 40 |  | C3 | Helicobacter pylori | 40 | 40 |  | C3 | Helicobacter pylori | 0 | C3 | Helicobacter pylori
C4 | Lactobacillus gasseri | 40 | 40 |  | C4 | Lactobacillus gasseri | 40 | 40 |  | C4 | Lactobacillus gasseri | 0 | C4 | Lactobacillus gasseri
C5 | Legionella pneumophila | 40 | 40 |  | C5 | Legionella pneumophila | 40 | 40 |  | C5 | Legionella pneumophila | 0 | C5 | Legionella pneumophila
C6 | Listeria monocytogenes | 40 | 40 |  | C6 | Listeria monocytogenes | 40 | 40 |  | C6 | Listeria monocytogenes | 0 | C6 | Listeria monocytogenes
C7 | Morganella morganii | 40 | 40 |  | C7 | Morganella morganii | 40 | 40 |  | C7 | Morganella morganii | 0 | C7 | Morganella morganii
C8 | Mycobacterium avium | 40 | 40 |  | C8 | Mycobacterium avium | 40 | 40 |  | C8 | Mycobacterium avium | 0 | C8 | Mycobacterium avium
C9 | Mycobacterium intracellulare | 40 | 40 |  | C9 | Mycobacterium intracellulare | 40 | 40 |  | C9 | Mycobacterium intracellulare | 0 | C9 | Mycobacterium intracellulare
C10 | Ruminococcus bromii | 40 | 40 |  | C10 | Ruminococcus bromii | 40 | 40 |  | C10 | Ruminococcus bromii | 0 | C10 | Ruminococcus bromii
C11 | Ruminococcus obeum | 40 | 40 |  | C11 | Ruminococcus obeum | 40 | 40 |  | C11 | Ruminococcus obeum | 0 | C11 | Ruminococcus obeum
C12 | Salmonella enterica | 40 | 40 |  | C12 | Salmonella enterica | 40 | 40 |  | C12 | Salmonella enterica | 0 | C12 | Salmonella enterica
D1 | Shigella dysenteriae | 40 | 40 |  | D1 | Shigella dysenteriae | 40 | 40 |  | D1 | Shigella dysenteriae | 0 | D1 | Shigella dysenteriae
D2 | Staphylococcus aureus | 40 | 40 |  | D2 | Staphylococcus aureus | 40 | 40 |  | D2 | Staphylococcus aureus | 0 | D2 | Staphylococcus aureus
D3 | Streptococcus agalactiae | 40 | 40 |  | D3 | Streptococcus agalactiae | 40 | 40 |  | D3 | Streptococcus agalactiae | 0 | D3 | Streptococcus agalactiae
D4 | Streptococcus suis | 40 | 40 |  | D4 | Streptococcus suis | 40 | 40 |  | D4 | Streptococcus suis | 0 | D4 | Streptococcus suis
D5 | Vibrio cholerae | 40 | 40 |  | D5 | Vibrio cholerae | 40 | 40 |  | D5 | Vibrio cholerae | 0 | D5 | Vibrio cholerae
D6 | Vibrio parahaemolyticus | 40 | 40 |  | D6 | Vibrio parahaemolyticus | 40 | 40 |  | D6 | Vibrio parahaemolyticus | 0 | D6 | Vibrio parahaemolyticus
D7 | Vibrio vulnificus | 40 | 40 |  | D7 | Vibrio vulnificus | 40 | 40 |  | D7 | Vibrio vulnificus | 0 | D7 | Vibrio vulnificus
D8 | Yersinia enterocolitica | 40 | 40 |  | D8 | Yersinia enterocolitica | 40 | 40 |  | D8 | Yersinia enterocolitica | 0 | D8 | Yersinia enterocolitica
D9 | Yersinia pestis,Yersinia pseudotuberculosis | 40 | 40 |  | D9 | Yersinia pestis,Yersinia pseudotuberculosis | 40 | 40 |  | D9 | Yersinia pestis,Yersinia pseudotuberculosis | 0 | D9 | Yersinia pestis,Yersinia pseudotuberculosis
D10 | Pan Bacteria 1 | 40 | 40 |  | D10 | Pan Bacteria 1 | 40 | 40 |  | D10 | Pan Bacteria 1 | 0 | D10 | Pan Bacteria 1
D11 | Pan Bacteria 3 | 40 | 40 |  | D11 | Pan Bacteria 3 | 40 | 40 |  | D11 | Pan Bacteria 3 | 0 | D11 | Pan Bacteria 3
D12 | PPC | 40 | 40 |  | D12 | PPC | 40 | 40 |  | D12 | PPC | 0 | D12 | PPC
E1 | Actinomyces gerencseriae |  |  |  | E1 | Actinomyces gerencseriae |  |  |  | E1 | Actinomyces gerencseriae |  | E1 | Actinomyces gerencseriae
E2 | Actinomyces israelii |  |  |  | E2 | Actinomyces israelii |  |  |  | E2 | Actinomyces israelii |  | E2 | Actinomyces israelii
E3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media |  |  |  | E3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media |  |  |  | E3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media |  | E3 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media
E4 | Akkermansia muciniphila |  |  |  | E4 | Akkermansia muciniphila |  |  |  | E4 | Akkermansia muciniphila |  | E4 | Akkermansia muciniphila
E5 | Arcobacter butzleri |  |  |  | E5 | Arcobacter butzleri |  |  |  | E5 | Arcobacter butzleri |  | E5 | Arcobacter butzleri
E6 | Arcobacter skirrowii |  |  |  | E6 | Arcobacter skirrowii |  |  |  | E6 | Arcobacter skirrowii |  | E6 | Arcobacter skirrowii
E7 | Bacteroides thetaiotaomicron |  |  |  | E7 | Bacteroides thetaiotaomicron |  |  |  | E7 | Bacteroides thetaiotaomicron |  | E7 | Bacteroides thetaiotaomicron
E8 | Bacteroides vulgatus |  |  |  | E8 | Bacteroides vulgatus |  |  |  | E8 | Bacteroides vulgatus |  | E8 | Bacteroides vulgatus
E9 | Bifidobacterium adolescentis |  |  |  | E9 | Bifidobacterium adolescentis |  |  |  | E9 | Bifidobacterium adolescentis |  | E9 | Bifidobacterium adolescentis
E10 | Bifidobacterium dentium |  |  |  | E10 | Bifidobacterium dentium |  |  |  | E10 | Bifidobacterium dentium |  | E10 | Bifidobacterium dentium
E11 | Bifidobacterium longum |  |  |  | E11 | Bifidobacterium longum |  |  |  | E11 | Bifidobacterium longum |  | E11 | Bifidobacterium longum
E12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni |  |  |  | E12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni |  |  |  | E12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni |  | E12 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni
F1 | Campylobacter upsaliensis |  |  |  | F1 | Campylobacter upsaliensis |  |  |  | F1 | Campylobacter upsaliensis |  | F1 | Campylobacter upsaliensis
F2 | Catellicoccus marimammalium |  |  |  | F2 | Catellicoccus marimammalium |  |  |  | F2 | Catellicoccus marimammalium |  | F2 | Catellicoccus marimammalium
F3 | Citrobacter freundii |  |  |  | F3 | Citrobacter freundii |  |  |  | F3 | Citrobacter freundii |  | F3 | Citrobacter freundii
F4 | Clostridium difficile |  |  |  | F4 | Clostridium difficile |  |  |  | F4 | Clostridium difficile |  | F4 | Clostridium difficile
F5 | Clostridium perfringens |  |  |  | F5 | Clostridium perfringens |  |  |  | F5 | Clostridium perfringens |  | F5 | Clostridium perfringens
F6 | Clostridium septicum |  |  |  | F6 | Clostridium septicum |  |  |  | F6 | Clostridium septicum |  | F6 | Clostridium septicum
F7 | Desulfovibrio desulfuricans |  |  |  | F7 | Desulfovibrio desulfuricans |  |  |  | F7 | Desulfovibrio desulfuricans |  | F7 | Desulfovibrio desulfuricans
F8 | Desulfovibrio vulgaris |  |  |  | F8 | Desulfovibrio vulgaris |  |  |  | F8 | Desulfovibrio vulgaris |  | F8 | Desulfovibrio vulgaris
F9 | Enterococcus gallinarum,Enterococcus casseliflavus |  |  |  | F9 | Enterococcus gallinarum,Enterococcus casseliflavus |  |  |  | F9 | Enterococcus gallinarum,Enterococcus casseliflavus |  | F9 | Enterococcus gallinarum,Enterococcus casseliflavus
F10 | Enterococcus faecalis |  |  |  | F10 | Enterococcus faecalis |  |  |  | F10 | Enterococcus faecalis |  | F10 | Enterococcus faecalis
F11 | Enterococcus faecium |  |  |  | F11 | Enterococcus faecium |  |  |  | F11 | Enterococcus faecium |  | F11 | Enterococcus faecium
F12 | eae |  |  |  | F12 | eae |  |  |  | F12 | eae |  | F12 | eae
G1 | stx2A |  |  |  | G1 | stx2A |  |  |  | G1 | stx2A |  | G1 | stx2A
G2 | stxA |  |  |  | G2 | stxA |  |  |  | G2 | stxA |  | G2 | stxA
G3 | Helicobacter pylori |  |  |  | G3 | Helicobacter pylori |  |  |  | G3 | Helicobacter pylori |  | G3 | Helicobacter pylori
G4 | Lactobacillus gasseri |  |  |  | G4 | Lactobacillus gasseri |  |  |  | G4 | Lactobacillus gasseri |  | G4 | Lactobacillus gasseri
G5 | Legionella pneumophila |  |  |  | G5 | Legionella pneumophila |  |  |  | G5 | Legionella pneumophila |  | G5 | Legionella pneumophila
G6 | Listeria monocytogenes |  |  |  | G6 | Listeria monocytogenes |  |  |  | G6 | Listeria monocytogenes |  | G6 | Listeria monocytogenes
G7 | Morganella morganii |  |  |  | G7 | Morganella morganii |  |  |  | G7 | Morganella morganii |  | G7 | Morganella morganii
G8 | Mycobacterium avium |  |  |  | G8 | Mycobacterium avium |  |  |  | G8 | Mycobacterium avium |  | G8 | Mycobacterium avium
G9 | Mycobacterium intracellulare |  |  |  | G9 | Mycobacterium intracellulare |  |  |  | G9 | Mycobacterium intracellulare |  | G9 | Mycobacterium intracellulare
G10 | Ruminococcus bromii |  |  |  | G10 | Ruminococcus bromii |  |  |  | G10 | Ruminococcus bromii |  | G10 | Ruminococcus bromii
G11 | Ruminococcus obeum |  |  |  | G11 | Ruminococcus obeum |  |  |  | G11 | Ruminococcus obeum |  | G11 | Ruminococcus obeum
G12 | Salmonella enterica |  |  |  | G12 | Salmonella enterica |  |  |  | G12 | Salmonella enterica |  | G12 | Salmonella enterica
H1 | Shigella dysenteriae |  |  |  | H1 | Shigella dysenteriae |  |  |  | H1 | Shigella dysenteriae |  | H1 | Shigella dysenteriae
H2 | Staphylococcus aureus |  |  |  | H2 | Staphylococcus aureus |  |  |  | H2 | Staphylococcus aureus |  | H2 | Staphylococcus aureus
H3 | Streptococcus agalactiae |  |  |  | H3 | Streptococcus agalactiae |  |  |  | H3 | Streptococcus agalactiae |  | H3 | Streptococcus agalactiae
H4 | Streptococcus suis |  |  |  | H4 | Streptococcus suis |  |  |  | H4 | Streptococcus suis |  | H4 | Streptococcus suis
H5 | Vibrio cholerae |  |  |  | H5 | Vibrio cholerae |  |  |  | H5 | Vibrio cholerae |  | H5 | Vibrio cholerae
H6 | Vibrio parahaemolyticus |  |  |  | H6 | Vibrio parahaemolyticus |  |  |  | H6 | Vibrio parahaemolyticus |  | H6 | Vibrio parahaemolyticus
H7 | Vibrio vulnificus |  |  |  | H7 | Vibrio vulnificus |  |  |  | H7 | Vibrio vulnificus |  | H7 | Vibrio vulnificus
H8 | Yersinia enterocolitica |  |  |  | H8 | Yersinia enterocolitica |  |  |  | H8 | Yersinia enterocolitica |  | H8 | Yersinia enterocolitica
H9 | Yersinia pestis,Yersinia pseudotuberculosis |  |  |  | H9 | Yersinia pestis,Yersinia pseudotuberculosis |  |  |  | H9 | Yersinia pestis,Yersinia pseudotuberculosis |  | H9 | Yersinia pestis,Yersinia pseudotuberculosis
H10 | Pan Bacteria 1 |  |  |  | H10 | Pan Bacteria 1 |  |  |  | H10 | Pan Bacteria 1 |  | H10 | Pan Bacteria 1
H11 | Pan Bacteria 3 |  |  |  | H11 | Pan Bacteria 3 |  |  |  | H11 | Pan Bacteria 3 |  | H11 | Pan Bacteria 3
H12 | PPC |  |  |  | H12 | PPC |  |  |  | H12 | PPC |  | H12 | PPC
[6 empty] | SHV Ct | Sample 1 | Sample 2
SHV
SHV(156D)
SHV(156G)
SHV(238G240E)
SHV(238G240K)
SHV(238S240E)
SHV(238S240K)
[6 empty] | SHV dCt | Sample 1 | Sample 2
SHV(156D)
SHV(156G)
SHV(238G240E)
SHV(238G240K)
SHV(238S240E)
SHV(238S240K)
[6 empty] | MRSA NTC | NTC
[6 empty] | Staphylococcus aureus | 40
mecA
lukF
spa
[6 empty] | MRSA dCt | Sample 1 | Sample 2
[6 empty] | Staphylococcus aureus | 0
mecA
lukF
spa
[6 empty] | SHV call | Sample 1 | Sample 2
SHV(156D)
SHV(156G)
SHV(238G240E)
SHV(238G240K)
SHV(238S240E)
SHV(238S240K)
[6 empty] | MRSA | Sample 1 | Sample 2
Staphylococcus aureus
mecA
lukF
spa
MRSA call

## AssayDescription (hidden)
bacinfo name | product name | bacinfo descr. exact match | May detect | Assay Category | Sensitivity | Cat #
Abiotrophia defectiva | Abiotrophia defectiva |  |  | Microbial Identification | 20 | BPID00001A
Achromobacter xylosoxidans | Achromobacter xylosoxidans |  | Bordetella hinzii | Microbial Identification | 100 | BPID00002A
Acidaminococcus fermentans | Acidaminococcus fermentans |  |  | Microbial Identification | 100 | BPID00003A
Acinetobacter baumannii | Acinetobacter baumannii |  |  | Microbial Identification | 100 | BPID00004A
Acinetobacter calcoaceticus | Acinetobacter spp | Acinetobacter calcoaceticus,Acinetobacter rhizosphaerae | Acinetobacter guillouiae,Acinetobacter septicus,Acinetobacter ursingii | Microbial Identification | 50 | BPID00005A
Acinetobacter haemolyticus | Acinetobacter haemolyticus |  | Acinetobacter baylyi,Acinetobacter ursingii | Microbial Identification | 200 | BPID00006A
Actinobacillus hominis | Actinobacillus hominis |  | Actinobacillus suis | Microbial Identification | 100 | BPID00007A
Actinomyces europaeus | Actinomyces europaeus |  |  | Microbial Identification | 30 | BPID00008A
Actinomyces gerencseriae | Actinomyces gerencseriae |  |  | Microbial Identification | 50 | BPID00009A
Actinomyces graevenitzii | Actinomyces graevenitzii |  |  | Microbial Identification | 40 | BPID00010A
Actinomyces israelii | Actinomyces israelii |  |  | Microbial Identification | 20 | BPID00011A
Actinomyces lingnae | Actinomyces lingnae |  |  | Microbial Identification | 30 | BPID00012A
Actinomyces naeslundii | Actinomyces naeslundii |  |  | Microbial Identification | 20 | BPID00013A
Actinomyces odontolyticus | Actinomyces odontolyticus |  | Actinomyces lingnae | Microbial Identification | 100 | BPID00014A
Actinomyces radingae | Actinomyces radingae |  |  | Microbial Identification | 50 | BPID00015A
Actinomyces suimastitidis | Actinomyces suimastitidis |  |  | Microbial Identification | 30 | BPID00016A
Actinomyces urogenitalis | Actinomyces urogenitalis |  |  | Microbial Identification | 30 | BPID00017A
Actinomyces viscosus | Actinomyces viscosus |  |  | Microbial Identification | 40 | BPID00018A
Aerococcus christensenii | Aerococcus christensenii |  |  | Microbial Identification | 50 | BPID00019A
Aerococcus urinae | Aerococcus urinae |  |  | Microbial Identification | 100 | BPID00020A
Aerococcus viridans | Aerococcus viridans |  |  | Microbial Identification | 20 | BPID00021A
Aeromonas hydrophila | Aeromonas spp 1 | Aeromonas enteropelogenes,Aeromonas hydrophila,Aeromonas punctata,Aeromonas media | Shewanella benthica | Microbial Identification | 100 | BPID00022A
Aeromonas sobria | Aeromonas spp 2 | Aeromonas veronii,Aeromonas sobria |  | Microbial Identification | 40 | BPID00023A
Aggregatibacter actinomycetemcomitans | Aggregatibacter actinomycetemcomitans |  | Bibersteinia trehalosi | Microbial Identification | 100 | BPID00024A
Aggregatibacter segnis | Aggregatibacter segnis |  |  | Microbial Identification | 200 | BPID00025A
Akkermansia muciniphila | Akkermansia muciniphila |  |  | Microbial Identification | 100 | BPID00026A
Alcaligenes faecalis | Alcaligenes faecalis |  |  | Microbial Identification | 30 | BPID00027A
Alistipes putredinis | Alistipes putredinis |  |  | Microbial Identification | 200 | BPID00028A
Anaerococcus hydrogenalis | Anaerococcus hydrogenalis |  |  | Microbial Identification | 20 | BPID00029A
Anaerococcus lactolyticus | Anaerococcus lactolyticus |  |  | Microbial Identification | 40 | BPID00030A
Anaerococcus prevotii | Anaerococcus prevotii |  |  | Microbial Identification | 30 | BPID00031A
Anaeroglobus geminatus | Anaeroglobus geminatus |  |  | Microbial Identification | 30 | BPID00032A
Anaerostipes caccae | Anaerostipes caccae |  |  | Microbial Identification | 20 | BPID00033A
Anaerotruncus colihominis | Anaerotruncus colihominis |  |  | Microbial Identification | 100 | BPID00034A
Arcobacter butzleri | Arcobacter butzleri |  |  | Microbial Identification | 20 | BPID00035A
Arcobacter skirrowii | Arcobacter skirrowii |  | Arcobacter cryaerophilus | Microbial Identification | 30 | BPID00036A
Aspergillus flavus | Aspergillus flavus |  |  | Microbial Identification | 50 | BPID00037A
Aspergillus fumigatus | Aspergillus fumigatus |  |  | Microbial Identification | 20 | BPID00038A
Atopobium parvulum | Atopobium parvulum |  |  | Microbial Identification | 100 | BPID00039A
Atopobium rimae | Atopobium rimae |  |  | Microbial Identification | 100 | BPID00040A
Atopobium vaginae | Atopobium vaginae |  |  | Microbial Identification | 100 | BPID00041A
Bacillus anthracis | Bacillus anthracis |  | Bacillus weihenstephanensis,Bacillus cereus | Microbial Identification | 40 | BPID00042A
Bacillus cereus | Bacillus spp 1 | Bacillus anthracis,Bacillus cereus | Bacillus cytotoxicus,Bacillus weihenstephanensis,Bacillus amyloliquefaciens | Microbial Identification | 40 | BPID00043A
Bacillus licheniformis | Bacillus spp 2 | Bacillus sonorensis,Bacillus licheniformis |  | Microbial Identification | 30 | BPID00044A
Bacillus subtilis | Bacillus spp 3 | Bacillus malacitensis,Bacillus subtilis | Bacillus amyloliquefaciens | Microbial Identification | 20 | BPID00045A
Bacteroides caccae | Bacteroides caccae |  |  | Microbial Identification | 20 | BPID00046A
Bacteroides coprocola | Bacteroides coprocola |  |  | Microbial Identification | 40 | BPID00047A
Bacteroides coprophilus | Bacteroides coprophilus |  |  | Microbial Identification | 20 | BPID00048A
Bacteroides dorei | Bacteroides dorei |  |  | Microbial Identification | 20 | BPID00049A
Bacteroides eggerthii | Bacteroides eggerthii |  |  | Microbial Identification | 30 | BPID00050A
Bacteroides fragilis | Bacteroides fragilis |  |  | Microbial Identification | 20 | BPID00051A
Bacteroides intestinalis | Bacteroides intestinalis |  |  | Microbial Identification | 40 | BPID00052A
Bacteroides ovatus | Bacteroides ovatus |  |  | Microbial Identification | 20 | BPID00053A
Bacteroides pectinophilus | Bacteroides pectinophilus |  |  | Microbial Identification | 20 | BPID00054A
Bacteroides plebeius | Bacteroides plebeius |  |  | Microbial Identification | 40 | BPID00055A
Bacteroides sp. 1_1_6 | Bacteroides sp. 1_1_6 |  | Bacteroides thetaiotaomicron | Microbial Identification | 20 | BPID00056A
Bacteroides sp. 2_2_4 | Bacteroides sp. 2_2_4 |  |  | Microbial Identification | 30 | BPID00057A
Bacteroides sp. 4_3_47FAA | Bacteroides sp. 4_3_47FAA |  | Bacteroides vulgatus | Microbial Identification | 50 | BPID00058A
Bacteroides stercoris | Bacteroides stercoris |  |  | Microbial Identification | 50 | BPID00059A
Bacteroides thetaiotaomicron | Bacteroides thetaiotaomicron |  | Bacteroides acidifaciens,Bacteroides finegoldii,Bacteroides fragilis,Bacteroides ovatus,Bacteroides salyersiae | Microbial Identification | 40 | BPID00060A
Bacteroides ureolyticus | Bacteroides ureolyticus |  |  | Microbial Identification | 100 | BPID00061A
Bacteroides vulgatus | Bacteroides vulgatus |  | Bacteroides acidofaciens,Bacteroides coprocola | Microbial Identification | 50 | BPID00062A
Bifidobacterium adolescentis | Bifidobacterium adolescentis |  |  | Microbial Identification | 50 | BPID00063A
Bifidobacterium bifidum | Bifidobacterium bifidum |  |  | Microbial Identification | 30 | BPID00064A
Bifidobacterium breve | Bifidobacterium breve |  |  | Microbial Identification | 50 | BPID00065A
Bifidobacterium dentium | Bifidobacterium dentium |  |  | Microbial Identification | 40 | BPID00066A
Bifidobacterium longum | Bifidobacterium longum |  |  | Microbial Identification | 20 | BPID00067A
Bifidobacterium pseudocatenulatum | Bifidobacterium pseudocatenulatum |  |  | Microbial Identification | 30 | BPID00068A
Bifidobacterium scardovii | Bifidobacterium scardovii |  |  | Microbial Identification | 50 | BPID00069A
Blautia hydrogenotrophica | Blautia hydrogenotrophica |  |  | Microbial Identification | 30 | BPID00070A
Bordetella parapertussis | Bordetella spp | Bordetella bronchiseptica,Bordetella parapertussis,Bordetella pertussis |  | Microbial Identification | 30 | BPID00071A
Brevibacillus agri | Brevibacillus agri |  |  | Microbial Identification | 20 | BPID00072A
Brevibacillus brevis | Brevibacillus brevis |  | Brevibacillus reuszeri | Microbial Identification | 50 | BPID00073A
Brevibacterium casei | Brevibacterium casei |  |  | Microbial Identification | 40 | BPID00074A
Brevundimonas diminuta | Brevundimonas diminuta |  |  | Microbial Identification | 200 | BPID00075A
Brevundimonas vesicularis | Brevundimonas vesicularis |  | Brevundimonas diminuta | Microbial Identification | 20 | BPID00076A
Burkholderia cepacia | Burkholderia spp 1 | Burkholderia vietnamiensis,Burkholderia pyrrocinia,Burkholderia cenocepacia,Burkholderia cepacia | Burkholderia gladioli | Microbial Identification | 100 | BPID00077A
Burkholderia gladioli | Burkholderia gladioli |  |  | Microbial Identification | 20 | BPID00078A
Burkholderia mallei | Burkholderia spp 2 | Burkholderia pseudomallei,Burkholderia mallei |  | Microbial Identification | 20 | BPID00079A
Butyricicoccus pullicaecorum | Butyricicoccus pullicaecorum |  | Clostridium thermocellum | Microbial Identification | 20 | BPID00080A
Butyrivibrio crossotus | Butyrivibrio crossotus |  |  | Microbial Identification | 20 | BPID00081A
Butyrivibrio fibrisolvens | Butyrivibrio fibrisolvens |  |  | Microbial Identification | 30 | BPID00082A
Campylobacter coli | Campylobacter spp 1 | Campylobacter jejuni,Campylobacter coli | Campylobacter fetus | Microbial Identification | 30 | BPID00083A
Campylobacter concisus | Campylobacter concisus |  | Campylobacter hyointestinalis,Campylobacter lanienae | Microbial Identification | 20 | BPID00084A
Campylobacter fetus | Campylobacter fetus |  |  | Microbial Identification | 20 | BPID00085A
Campylobacter gracilis | Campylobacter gracilis |  | Campylobacter rectus | Microbial Identification | 30 | BPID00086A
Campylobacter jejuni | Campylobacter spp 2 | Campylobacter coli,Campylobacter subantarcticus,Campylobacter lari,Campylobacter jejuni |  | Microbial Identification | 400 | BPID00087A
Campylobacter rectus | Campylobacter rectus |  | Campylobacter fetus | Microbial Identification | 20 | BPID00088A
Campylobacter showae | Campylobacter showae |  |  | Microbial Identification | 100 | BPID00089A
Campylobacter sputorum | Campylobacter sputorum |  |  | Microbial Identification | 40 | BPID00090A
Campylobacter upsaliensis | Campylobacter upsaliensis |  | Campylobacter cuniculorum,Campylobacter helveticus,Helicobacter bilis | Microbial Identification | 50 | BPID00091A
Candida albicans | Candida albicans |  |  | Microbial Identification | 20 | BPID00092A
Candida glabrata | Candida glabrata |  |  | Microbial Identification | 20 | BPID00093A
Candida krusei | Candida krusei |  |  | Microbial Identification | 50 | BPID00094A
Candida parapsilosis | Candida parapsilosis |  | Candida orthopsilosis,Candida metapsilosis | Microbial Identification | 50 | BPID00095A
Candida tropicalis | Candida tropicalis |  |  | Microbial Identification | 20 | BPID00096A
Capnocytophaga gingivalis | Capnocytophaga gingivalis |  |  | Microbial Identification | 20 | BPID00097A
Capnocytophaga granulosa | Capnocytophaga granulosa |  |  | Microbial Identification | 20 | BPID00098A
Capnocytophaga ochracea | Capnocytophaga ochracea |  |  | Microbial Identification | 20 | BPID00099A
Capnocytophaga sputigena | Capnocytophaga sputigena |  |  | Microbial Identification | 20 | BPID00100A
Cardiobacterium hominis | Cardiobacterium hominis |  |  | Microbial Identification | 20 | BPID00101A
Catellicoccus marimammalium | Catellicoccus marimammalium |  |  | Microbial Identification | 20 | BPID00102A
Catenibacterium mitsuokai | Catenibacterium mitsuokai |  |  | Microbial Identification | 20 | BPID00103A
Catonella morbi | Catonella morbi |  |  | Microbial Identification | 20 | BPID00104A
Chlamydia trachomatis | Chlamydia trachomatis |  |  | Microbial Identification | 40 | BPID00105A
Chlamydophila pneumoniae | Chlamydophila pneumoniae |  |  | Microbial Identification | 30 | BPID00106A
Chlamydophila psittaci | Chlamydophila psittaci |  | Chlamydophila abortus | Microbial Identification | 30 | BPID00107A
Citrobacter freundii | Citrobacter freundii |  | Dickeya dadantii,Klebsiella oxytoca,Serratia marcescens,Enterobacter amnigenus,Pantoea dispersa,Raoultella terrigena | Microbial Identification | 100 | BPID00108A
Citrobacter youngae | Citrobacter youngae |  | Citrobacter rodentium | Microbial Identification | 40 | BPID00109A
Clostridium difficile | Clostridium difficile |  |  | Microbial Identification | 30 | BPID00110A
Clostridium nexile | Clostridium nexile |  | Clostridium hylemonae,Dorea formicigenerans,Roseburia faecis,Ruminococcus gnavus,Ruminococcus obeum,Ruminococcus torques,Blautia producta | Microbial Identification | 100 | BPID00111A
Clostridium perfringens | Clostridium perfringens |  |  | Microbial Identification | 100 | BPID00112A
Clostridium septicum | Clostridium septicum |  |  | Microbial Identification | 40 | BPID00113A
Clostridium sordellii | Clostridium sordellii |  |  | Microbial Identification | 20 | BPID00114A
Clostridium sp. M62/1 | Clostridium sp. M62/1 |  |  | Microbial Identification | 50 | BPID00115A
Clostridium sp. SS2/1 | Clostridium sp. SS2/1 |  |  | Microbial Identification | 20 | BPID00116A
Clostridium tetani | Clostridium tetani |  |  | Microbial Identification | 100 | BPID00117A
Collinsella aerofaciens | Collinsella aerofaciens |  |  | Microbial Identification | 30 | BPID00118A
Coprococcus comes | Coprococcus comes |  |  | Microbial Identification | 30 | BPID00119A
Coprococcus eutactus | Coprococcus eutactus |  |  | Microbial Identification | 30 | BPID00120A
Corynebacterium aurimucosum | Corynebacterium aurimucosum |  |  | Microbial Identification | 20 | BPID00121A
Corynebacterium diphtheriae | Corynebacterium diphtheriae |  | Corynebacterium simulans,Corynebacterium freneyi | Microbial Identification | 30 | BPID00122A
Corynebacterium durum | Corynebacterium durum |  |  | Microbial Identification | 200 | BPID00123A
Corynebacterium matruchotii | Corynebacterium matruchotii |  |  | Microbial Identification | 40 | BPID00124A
Corynebacterium pseudodiphtheriticum | Corynebacterium pseudodiphtheriticum |  |  | Microbial Identification | 40 | BPID00125A
Coxiella burnetii | Coxiella burnetii |  |  | Microbial Identification | 20 | BPID00126A
Desulfovibrio desulfuricans | Desulfovibrio desulfuricans |  |  | Microbial Identification | 300 | BPID00127A
Desulfovibrio piger | Desulfovibrio piger |  |  | Microbial Identification | 20 | BPID00128A
Desulfovibrio vulgaris | Desulfovibrio vulgaris |  |  | Microbial Identification | 40 | BPID00129A
Dialister invisus | Dialister invisus |  |  | Microbial Identification | 30 | BPID00130A
Dialister pneumosintes | Dialister pneumosintes |  |  | Microbial Identification | 20 | BPID00131A
Dorea formicigenerans | Dorea formicigenerans |  |  | Microbial Identification | 100 | BPID00132A
Dorea longicatena | Dorea longicatena |  |  | Microbial Identification | 20 | BPID00133A
Eggerthella sinensis | Eggerthella sinensis |  |  | Microbial Identification | 30 | BPID00134A
Ehrlichia canis | Ehrlichia canis |  |  | Microbial Identification | 20 | BPID00135A
Eikenella corrodens | Eikenella corrodens |  |  | Microbial Identification | 100 | BPID00136A
Elizabethkingia meningoseptica | Elizabethkingia meningoseptica |  |  | Microbial Identification | 30 | BPID00137A
Enterobacter cloacae | Entero./Kleb. spp | Klebsiella oxytoca,Enterobacter cloacae | Buttiauxella warmboldiae,Citrobacter farmeri,Citrobacter freundii,Cronobacter dublinensis,Cronobacter sakazakii,Enterobacter aerogenes,Enterobacter hormaechei,Enterobacter sp. 638,Klebsiella granulomatis,Klebsiella pneumoniae,Klebsiella variicola,Leclercia adecarboxylata,Raoultella ornithinolytica,Raoultella planticola,Raoultella terrigena,Salmonella serovar,Serratia liquefaciens,Serratia marcescens | Microbial Identification | 100 | BPID00139A
Enterococcus casseliflavus | Enterococcus spp | Enterococcus gallinarum,Enterococcus casseliflavus |  | Microbial Identification | 20 | BPID00141A
Enterococcus faecalis | Enterococcus faecalis |  |  | Microbial Identification | 30 | BPID00142A
Enterococcus faecium | Enterococcus faecium |  | Enterococcus avium,Enterococcus durans,Enterococcus hirae,Enterococcus lactis | Microbial Identification | 40 | BPID00143A
Enterococcus italicus | Enterococcus italicus |  | Enterococcus sulfureus | Microbial Identification | 30 | BPID00144A
Erysipelothrix rhusiopathiae | Erysipelothrix rhusiopathiae |  |  | Microbial Identification | 20 | BPID00145A
Escherichia coli | Escheric./Shig. spp | Escherichia coli,Escherichia fergusonii,Shigella boydii,Shigella sonnei,Shigella dysenteriae,Shigella flexneri | Escherichia albertii,Enterobacter aerogenes,Enterobacter cloacae,Serratia marcescens | Microbial Identification | 30 | BPID00146A
Eubacterium hallii | Eubacterium hallii |  |  | Microbial Identification | 30 | BPID00147A
Eubacterium infirmum | Eubacterium infirmum |  |  | Microbial Identification | 20 | BPID00148A
Eubacterium rectale | Eubacterium rectale |  |  | Microbial Identification | 20 | BPID00149A
Eubacterium saburreum | Eubacterium saburreum |  |  | Microbial Identification | 40 | BPID00150A
Eubacterium siraeum | Eubacterium siraeum |  |  | Microbial Identification | 100 | BPID00151A
Eubacterium ventriosum | Eubacterium ventriosum |  |  | Microbial Identification | 20 | BPID00152A
Exiguobacterium aurantiacum | Exiguobacterium aurantiacum |  |  | Microbial Identification | 20 | BPID00153A
Faecalibacterium prausnitzii | Faecalibacterium prausnitzii |  |  | Microbial Identification | 20 | BPID00154A
Filifactor alocis | Filifactor alocis |  |  | Microbial Identification | 30 | BPID00155A
Finegoldia magna | Finegoldia magna |  |  | Microbial Identification | 20 | BPID00156A
Francisella tularensis | Francisella tularensis | Francisella novicida,Francisella tularensis |  | Microbial Identification | 40 | BPID00157A
Fusobacterium mortiferum | Fusobacterium mortiferum |  |  | Microbial Identification | 100 | BPID00158A
Fusobacterium necrophorum | Fusobacterium necrophorum |  |  | Microbial Identification | 100 | BPID00159A
Fusobacterium nucleatum | Fusobacterium nucleatum |  | Fusobacterium canifelinum | Microbial Identification | 30 | BPID00160A
Fusobacterium periodonticum | Fusobacterium periodonticum |  |  | Microbial Identification | 40 | BPID00161A
Fusobacterium varium | Fusobacterium varium |  |  | Microbial Identification | 40 | BPID00162A
Gardnerella vaginalis | Gardnerella vaginalis |  |  | Microbial Identification | 40 | BPID00163A
Gemella bergeri | Gemella bergeri |  |  | Microbial Identification | 20 | BPID00164A
Gemella haemolysans | Gemella haemolysans |  |  | Microbial Identification | 20 | BPID00165A
Gemella morbillorum | Gemella morbillorum |  |  | Microbial Identification | 20 | BPID00166A
Geobacillus stearothermophilus | Geobacillus stearothermophilus |  |  | Microbial Identification | 300 | BPID00167A
Granulicatella adiacens | Granulicatella adiacens |  |  | Microbial Identification | 100 | BPID00168A
Granulicatella elegans | Granulicatella elegans |  |  | Microbial Identification | 40 | BPID00169A
Haemophilus ducreyi | Haemophilus ducreyi |  | Pasteurella aerogenes,Photorhabdus temperata,Rickettsiella popilliae | Microbial Identification | 300 | BPID00170A
Haemophilus influenzae | Haemophilus influenzae |  | Haemophilus haemolyticus | Microbial Identification | 20 | BPID00171A
Haemophilus parainfluenzae | Haemophilus parainfluenzae |  |  | Microbial Identification | 30 | BPID00172A
Hafnia alvei | Hafnia alvei |  | Pectobacterium atrosepticum,Pectobacterium wasabiae,Serratia proteamaculans,Serratia liquefaciens,Serratia quinivorans | Microbial Identification | 20 | BPID00173A
Helicobacter cinaedi | Helicobacter cinaedi |  |  | Microbial Identification | 200 | BPID00174A
Helicobacter fennelliae | Helicobacter fennelliae |  |  | Microbial Identification | 40 | BPID00175A
Helicobacter pylori | Helicobacter pylori |  | Helicobacter suis | Microbial Identification | 50 | BPID00176A
Inquilinus limosus | Inquilinus limosus |  |  | Microbial Identification | 20 | BPID00177A
Kingella denitrificans | Kingella denitrificans |  |  | Microbial Identification | 40 | BPID00178A
Kingella kingae | Kingella kingae |  |  | Microbial Identification | 50 | BPID00179A
Klebsiella granulomatis | Klebsiella granulomatis |  |  | Microbial Identification | 20 | BPID00180A
Kocuria kristinae | Kocuria kristinae |  |  | Microbial Identification | 20 | BPID00182A
Lachnobacterium bovis | Lachnobacterium bovis |  |  | Microbial Identification | 20 | BPID00183A
Lactobacillus acidophilus | Lactobacillus acidophilus |  | Lactobacillus helveticus,Lactobacillus intestinalis | Microbial Identification | 200 | BPID00184A
Lactobacillus casei | Lactobacillus spp 1 | Lactobacillus paracasei,Lactobacillus zeae,Lactobacillus casei |  | Microbial Identification | 20 | BPID00185A
Lactobacillus crispatus | Lactobacillus crispatus |  |  | Microbial Identification | 200 | BPID00186A
Lactobacillus delbrueckii | Lactobacillus delbrueckii |  |  | Microbial Identification | 20 | BPID00187A
Lactobacillus fermentum | Lactobacillus fermentum |  |  | Microbial Identification | 30 | BPID00188A
Lactobacillus gasseri | Lactobacillus gasseri |  |  | Microbial Identification | 50 | BPID00189A
Lactobacillus iners | Lactobacillus iners |  |  | Microbial Identification | 50 | BPID00190A
Lactobacillus jensenii | Lactobacillus jensenii |  |  | Microbial Identification | 30 | BPID00191A
Lactobacillus paracasei | Lactobacillus spp 3 | Lactobacillus casei,Lactobacillus zeae,Lactobacillus paracasei |  | Microbial Identification | 20 | BPID00192A
Lactobacillus plantarum | Lactobacillus spp 2 | Lactobacillus pentosus,Lactobacillus plantarum | Lactobacillus paraplantarum | Microbial Identification | 20 | BPID00193A
Lactobacillus reuteri | Lactobacillus reuteri |  | Lactobacillus hilgardii,Lactobacillus mali,Lactobacillus panis,Streptococcus pseudopneumoniae,Lactobacillus farraginis | Microbial Identification | 1470 | BPID00194A
Lactobacillus rhamnosus | Lactobacillus rhamnosus |  | Lactobacillus zeae | Microbial Identification | 20 | BPID00195A
Lactobacillus salivarius | Lactobacillus salivarius |  |  | Microbial Identification | 20 | BPID00196A
Lactobacillus vaginalis | Lactobacillus vaginalis |  | Lactobacillus coleohominis,Lactobacillus reuteri | Microbial Identification | 100 | BPID00197A
Lactococcus garvieae | Lactococcus garvieae |  |  | Microbial Identification | 40 | BPID00198A
Lactococcus lactis | Lactococcus lactis |  |  | Microbial Identification | 20 | BPID00199A
Lautropia mirabilis | Lautropia mirabilis |  |  | Microbial Identification | 20 | BPID00200A
Legionella pneumophila | Legionella pneumophila |  |  | Microbial Identification | 100 | BPID00201A
Leifsonia aquatica | Leifsonia aquatica |  |  | Microbial Identification | 40 | BPID00202A
Leptospira interrogans | Leptospira spp | Leptospira kirschneri,Leptospira borgpetersenii,Leptospira interrogans | Leptospira noguchii,Leptospira santarosai,Leptospira weilii | Microbial Identification | 100 | BPID00203A
Leptotrichia amnionii | Leptotrichia amnionii |  |  | Microbial Identification | 20 | BPID00204A
Leptotrichia buccalis | Leptotrichia buccalis |  |  | Microbial Identification | 30 | BPID00205A
Leptotrichia goodfellowii | Leptotrichia goodfellowii |  |  | Microbial Identification | 200 | BPID00206A
Leptotrichia wadei | Leptotrichia wadei |  |  | Microbial Identification | 100 | BPID00207A
Listeria monocytogenes | Listeria monocytogenes |  | Listeria welshimeri | Microbial Identification | 200 | BPID00208A
Lysinibacillus fusiformis | Lysinibacillus spp | Lysinibacillus sphaericus,Lysinibacillus fusiformis |  | Microbial Identification | 300 | BPID00209A
Massilia timonae | Janthin./Massi. spp | Janthinobacterium lividum,Massilia timonae | Herminiimonas arsenicoxydans,Janthinobacterium sp. Marseille | Microbial Identification | 100 | BPID00210A
Megasphaera micronuciformis | Megasphaera micronuciformis |  |  | Microbial Identification | 20 | BPID00211A
Megasphaera sp. DJF_B143 | Megasphaera sp. DJF_B143 |  |  | Microbial Identification | 20 | BPID00212A
Methylobacterium fujisawaense | Methylobacterium fujisawaense |  | Methylobacterium adhaesivum | Microbial Identification | 20 | BPID00213A
Methylobacterium mesophilicum | Methylobacterium mesophilicum |  |  | Microbial Identification | 100 | BPID00214A
Methylobacterium zatmanii | Methylobacterium zatmanii |  | Methylobacterium adhaesivum,Methylobacterium komagatae | Microbial Identification | 40 | BPID00215A
Microbacterium binotii | Microbacterium binotii |  |  | Microbial Identification | 40 | BPID00216A
Micrococcus luteus | Micrococcus luteus |  | Micrococcus antarcticus,Micrococcus lylae | Microbial Identification | 50 | BPID00217A
Mitsuokella multacida | Mitsuokella multacida |  |  | Microbial Identification | 20 | BPID00218A
Mobiluncus curtisii | Mobiluncus curtisii |  |  | Microbial Identification | 40 | BPID00219A
Mobiluncus mulieris | Mobiluncus mulieris |  |  | Microbial Identification | 100 | BPID00220A
Mogibacterium timidum | Mogibacterium timidum |  |  | Microbial Identification | 30 | BPID00221A
Moraxella catarrhalis | Moraxella catarrhalis |  |  | Microbial Identification | 40 | BPID00222A
Moraxella lacunata | Moraxella lacunata |  |  | Microbial Identification | 40 | BPID00223A
Morganella morganii | Morganella morganii |  | Escherichia albertii,Providencia alcalifaciens,Providencia heimbachae,Providencia rustigianii | Microbial Identification | 100 | BPID00224A
Mycobacterium africanum | Mycobacterium spp 1 | Mycobacterium tuberculosis,Mycobacterium bovis,Mycobacterium africanum |  | Microbial Identification | 20 | BPID00225A
Mycobacterium avium | Mycobacterium avium |  | Mycobacterium arosiense | Microbial Identification | 40 | BPID00226A
Mycobacterium chelonae | Mycobacterium spp 2 | Mycobacterium abscessus,Mycobacterium chelonae | Mycobacterium abscessus | Microbial Identification | 30 | BPID00227A
Mycobacterium intracellulare | Mycobacterium intracellulare |  | Mycobacterium avium,Mycobacterium arosiense | Microbial Identification | 100 | BPID00228A
Mycobacterium kansasii | Mycobacterium kansasii |  | Mycobacterium nebraskense | Microbial Identification | 100 | BPID00229A
Mycobacterium tuberculosis | Mycobacterium tuberculosis |  |  | Microbial Identification | 100 | BPID00230A
Mycoplasma genitalium | Mycoplasma genitalium |  |  | Microbial Identification | 30 | BPID00231A
Mycoplasma hominis | Mycoplasma hominis |  |  | Microbial Identification | 20 | BPID00232A
Mycoplasma orale | Mycoplasma orale |  | Mycoplasma subdolum | Microbial Identification | 40 | BPID00233A
Mycoplasma pneumoniae | Mycoplasma pneumoniae |  | Mycoplasma genitalium | Microbial Identification | 100 | BPID00234A
Neisseria bacilliformis | Neisseria bacilliformis |  |  | Microbial Identification | 100 | BPID00235A
Neisseria cinerea | Neisseria cinerea |  | Neisseria gonorrhoeae,Neisseria meningitidis | Microbial Identification | 20 | BPID00236A
Neisseria elongata | Neisseria elongata |  |  | Microbial Identification | 100 | BPID00237A
Neisseria flavescens | Neisseria flavescens |  | Neisseria subflava,Neisseria flava | Microbial Identification | 50 | BPID00238A
Neisseria gonorrhoeae | Neisseria gonorrhoeae |  | Neisseria cinerea,Neisseria meningitidis,Neisseria polysaccharea | Microbial Identification | 100 | BPID00239A
Neisseria lactamica | Neisseria lactamica |  |  | Microbial Identification | 30 | BPID00240A
Neisseria meningitidis | Neisseria meningitidis |  | Neisseria cinerea,Neisseria gonorrhoeae | Microbial Identification | 300 | BPID00241A
Neisseria mucosa | Neisseria mucosa |  |  | Microbial Identification | 50 | BPID00242A
Neisseria sicca | Neisseria sicca |  | Neisseria mucosa | Microbial Identification | 50 | BPID00243A
Neisseria subflava | Neisseria subflava |  | Neisseria flava | Microbial Identification | 50 | BPID00244A
Neorickettsia risticii | Neorickettsia risticii |  | Neorickettsia sennetsu | Microbial Identification | 30 | BPID00245A
Nocardia asteroides | Nocardia spp | Nocardia cyriacigeorgica,Nocardia abscessus,Nocardia cummidelens,Nocardia flavorosea,Nocardia pseudobrasiliensis,Nocardia fluminea,Nocardia asteroides | Nocardia exalbida,Nocardia neocaledoniensis,Nocardia paucivorans,Nocardia vinacea,Rhodococcus erythropolis,Williamsia muralis | Microbial Identification | 20 | BPID00246A
Nocardia farcinica | Nocardia farcinica |  |  | Microbial Identification | 20 | BPID00247A
Nocardioides sp. NS/27 | Nocardioides sp. NS/27 |  |  | Microbial Identification | 30 | BPID00248A
Novosphingobium sp. K39 | Novosphingobium sp. K39 |  |  | Microbial Identification | 100 | BPID00249A
Ochrobactrum anthropi | Ochrobactrum spp | Ochrobactrum tritici,Ochrobactrum anthropi |  | Microbial Identification | 100 | BPID00250A
Oribacterium sinus | Oribacterium sinus |  |  | Microbial Identification | 100 | BPID00251A
Paenibacillus larvae | Paenibacillus larvae |  |  | Microbial Identification | 20 | BPID00252A
Paenibacillus macerans | Paenibacillus macerans |  |  | Microbial Identification | 50 | BPID00253A
Paenibacillus thiaminolyticus | Paenibacillus thiaminolyticus |  | Paenibacillus popilliae | Microbial Identification | 20 | BPID00254A
Pantoea agglomerans | Pantoea spp | Pantoea ananatis,Pantoea agglomerans | Erwinia tasmaniensis,Kluyvera ascorbata,Sodalis glossinidius | Microbial Identification | 30 | BPID00255A
Papillibacter cinnamivorans | Papillibacter cinnamivorans |  |  | Microbial Identification | 100 | BPID00256A
Parabacteroides distasonis | Parabacteroides distasonis |  |  | Microbial Identification | 100 | BPID00257A
Parabacteroides merdae | Parabacteroides merdae |  |  | Microbial Identification | 30 | BPID00258A
Paracoccus marcusii | Paracoccus marcusii |  |  | Microbial Identification | 20 | BPID00259A
Parvimonas micra | Parvimonas micra |  |  | Microbial Identification | 100 | BPID00260A
Pasteurella multocida | Pasteurella multocida |  |  | Microbial Identification | 100 | BPID00261A
Pediococcus acidilactici | Pediococcus acidilactici |  | Pediococcus stilesii | Microbial Identification | 40 | BPID00262A
Pediococcus pentosaceus | Pediococcus pentosaceus |  | Pediococcus acidilactici | Microbial Identification | 20 | BPID00263A
Peptoniphilus asaccharolyticus | Peptoniphilus asaccharolyticus |  |  | Microbial Identification | 20 | BPID00264A
Peptostreptococcus anaerobius | Peptostreptococcus anaerobius |  |  | Microbial Identification | 30 | BPID00265A
Peptostreptococcus stomatis | Peptostreptococcus stomatis |  | Peptostreptococcus anaerobius | Microbial Identification | 50 | BPID00266A
Plesiomonas shigelloides | Plesiomonas shigelloides |  |  | Microbial Identification | 30 | BPID00267A
Pneumocystis jirovecii | Pneumocystis jirovecii |  |  | Microbial Identification | 100 | BPID00268A
Porphyromonas asaccharolytica | Porphyromonas asaccharolytica |  |  | Microbial Identification | 100 | BPID00269A
Porphyromonas endodontalis | Porphyromonas endodontalis |  |  | Microbial Identification | 100 | BPID00270A
Porphyromonas gingivalis | Porphyromonas gingivalis |  |  | Microbial Identification | 30 | BPID00271A
Prevotella bivia | Prevotella bivia |  |  | Microbial Identification | 20 | BPID00272A
Prevotella buccalis | Prevotella buccalis |  |  | Microbial Identification | 30 | BPID00273A
Prevotella copri | Prevotella copri |  |  | Microbial Identification | 40 | BPID00274A
Prevotella denticola | Prevotella denticola |  |  | Microbial Identification | 20 | BPID00275A
Prevotella disiens | Prevotella disiens |  |  | Microbial Identification | 30 | BPID00276A
Prevotella intermedia | Prevotella intermedia |  |  | Microbial Identification | 30 | BPID00277A
Prevotella loescheii | Prevotella loescheii |  |  | Microbial Identification | 20 | BPID00278A
Prevotella melaninogenica | Prevotella melaninogenica |  |  | Microbial Identification | 20 | BPID00279A
Prevotella nigrescens | Prevotella nigrescens |  |  | Microbial Identification | 20 | BPID00280A
Prevotella oralis | Prevotella oralis |  |  | Microbial Identification | 20 | BPID00281A
Prevotella oris | Prevotella oris |  |  | Microbial Identification | 20 | BPID00282A
Prevotella tannerae | Prevotella tannerae |  |  | Microbial Identification | 20 | BPID00283A
Prevotella veroralis | Prevotella veroralis |  |  | Microbial Identification | 20 | BPID00284A
Propionibacterium acnes | Propionibacterium acnes |  |  | Microbial Identification | 20 | BPID00285A
Propionibacterium propionicum | Propionibacterium propionicum |  |  | Microbial Identification | 100 | BPID00286A
Proteus mirabilis | Proteus spp | Proteus mirabilis,Proteus vulgaris | Candidatus hamiltonella | Microbial Identification | 200 | BPID00287A
Pseudomonas aeruginosa | Pseudomonas aeruginosa |  |  | Microbial Identification | 30 | BPID00288A
Pseudomonas fluorescens | Pseudomonas spp 1 | Pseudomonas veronii,Pseudomonas rhodesiae,Pseudomonas koreensis,Pseudomonas umsongensis,Pseudomonas libanensis,Pseudomonas chlororaphis,Pseudomonas fluorescens | Marinobacter hydrocarbonoclasticus,Pseudomonas fragi,Pseudomonas mandelii,Pseudomonas savastanoi,Marinobacter alkaliphilus | Microbial Identification | 40 | BPID00289A
Pseudomonas putida | Pseudomonas spp 2 | Pseudomonas entomophila,Pseudomonas nitroreducens,Pseudomonas alcaligenes,Pseudomonas plecoglossicida,Pseudomonas putida | Pseudomonas mendocina,Pseudomonas stutzeri,Pseudomonas mosselii,Pseudomonas oryzihabitans | Microbial Identification | 100 | BPID00290A
Pseudomonas straminea | Pseudomonas spp 3 | Pseudomonas fulva,Pseudomonas straminea | Pseudomonas fluorescens,Pseudomonas koreensis,Pseudomonas mosselii | Microbial Identification | 100 | BPID00291A
Pseudoramibacter alactolyticus | Pseudoramibacter alactolyticus |  |  | Microbial Identification | 20 | BPID00292A
Rahnella aquatilis | Ewing./Rahnella spp | Ewingella americana,Rahnella aquatilis |  | Microbial Identification | 20 | BPID00293A
Ralstonia pickettii | Ralstonia pickettii |  |  | Microbial Identification | 20 | BPID00294A
Rhodococcus equi | Rhodococcus equi |  |  | Microbial Identification | 30 | BPID00295A
Rothia dentocariosa | Rothia spp | Rothia aeria,Rothia dentocariosa |  | Microbial Identification | 30 | BPID00296A
Rothia mucilaginosa | Rothia mucilaginosa |  |  | Microbial Identification | 30 | BPID00297A
Ruminococcus bromii | Ruminococcus bromii |  |  | Microbial Identification | 30 | BPID00298A
Ruminococcus gnavus | Ruminococcus gnavus |  |  | Microbial Identification | 30 | BPID00299A
Ruminococcus obeum | Ruminococcus obeum |  |  | Microbial Identification | 30 | BPID00300A
Ruminococcus torques | Ruminococcus torques |  |  | Microbial Identification | 30 | BPID00301A
Salmonella enterica | Salmonella enterica |  | Citrobacter amalonaticus | Microbial Identification | 100 | BPID00302A
Selenomonas infelix | Selenomonas infelix |  |  | Microbial Identification | 20 | BPID00303A
Selenomonas noxia | Selenomonas noxia |  |  | Microbial Identification | 20 | BPID00304A
Selenomonas sputigena | Selenomonas sputigena |  |  | Microbial Identification | 20 | BPID00305A
Shigella dysenteriae | Shigella dysenteriae |  | Salmonella bongori | Microbial Identification | 100 | BPID00307A
Shuttleworthia satelles | Shuttleworthia satelles |  |  | Microbial Identification | 20 | BPID00308A
Sneathia sanguinegens | Sneathia sanguinegens |  |  | Microbial Identification | 20 | BPID00309A
Solobacterium moorei | Solobacterium moorei |  |  | Microbial Identification | 20 | BPID00310A
Sphingomonas paucimobilis | Sphingomonas paucimobilis |  |  | Microbial Identification | 20 | BPID00311A
Sphingomonas sp. AO1 | Sphingomonas sp. AO1 |  |  | Microbial Identification | 50 | BPID00312A
Sporobacter termitidis | Sporobacter termitidis |  |  | Microbial Identification | 100 | BPID00313A
Staphylococcus aureus | Staphylococcus aureus |  | Staphylococcus epidermidis | Microbial Identification | 100 | BPID00314A
Staphylococcus caprae | Staph. spp 1 | Staphylococcus capitis,Staphylococcus caprae | Staphylococcus aureus,Staphylococcus epidermidis,Staphylococcus pettenkoferi,Staphylococcus pseudintermedius | Microbial Identification | 20 | BPID00315A
Staphylococcus epidermidis | Staphylococcus epidermidis |  | Staphylococcus aureus,Staphylococcus haemolyticus,Staphylococcus pettenkoferi | Microbial Identification | 100 | BPID00316A
Staphylococcus saprophyticus | Staph. spp 2 | Staphylococcus arlettae,Staphylococcus saprophyticus |  | Microbial Identification | 100 | BPID00317A
Stenotrophomonas maltophilia | Pseud./Sten./Xanth. | Xanthomonas retroflexus,Pseudomonas geniculata,Stenotrophomonas maltophilia | Stenotrophomonas koreensis | Microbial Identification | 30 | BPID00318A
Streptobacillus moniliformis | Streptobacillus moniliformis |  |  | Microbial Identification | 100 | BPID00319A
Streptococcus agalactiae | Streptococcus agalactiae |  |  | Microbial Identification | 30 | BPID00320A
Streptococcus anginosus | Streptococcus anginosus |  |  | Microbial Identification | 30 | BPID00321A
Streptococcus australis | Streptococcus australis |  | Streptococcus infantis | Microbial Identification | 20 | BPID00322A
Streptococcus constellatus | Streptococcus spp 1 | Streptococcus intermedius,Streptococcus constellatus |  | Microbial Identification | 20 | BPID00323A
Streptococcus downei | Streptococcus downei |  |  | Microbial Identification | 30 | BPID00324A
Streptococcus gordonii | Streptococcus gordonii |  | Streptococcus anginosus | Microbial Identification | 200 | BPID00325A
Streptococcus infantis | Streptococcus infantis |  | Streptococcus cristatus,Streptococcus oralis,Streptococcus pneumoniae,Streptococcus pseudopneumoniae,Streptococcus salivarius | Microbial Identification | 20 | BPID00326A
Streptococcus mitis | Streptococcus mitis |  | Streptococcus infantis,Streptococcus oralis,Streptococcus pneumoniae,Streptococcus porcinus,Streptococcus pseudopneumoniae | Microbial Identification | 100 | BPID00327A
Streptococcus mutans | Streptococcus mutans |  |  | Microbial Identification | 400 | BPID00328A
Streptococcus oralis | Streptococcus spp 2 | Streptococcus pneumoniae,Streptococcus infantis,Streptococcus oralis | Streptococcus equi,Streptococcus pseudopneumoniae,Streptococcus mitis,Streptococcus phocae | Microbial Identification | 40 | BPID00329A
Streptococcus parasanguinis | Streptococcus parasanguinis |  |  | Microbial Identification | 100 | BPID00330A
Streptococcus pneumoniae | Streptococcus pneumoniae |  | Streptococcus infantis,Streptococcus oralis,Streptococcus pseudopneumoniae,Streptococcus mitis | Microbial Identification | 20 | BPID00331A
Streptococcus pyogenes | Streptococcus pyogenes |  |  | Microbial Identification | 50 | BPID00332A
Streptococcus salivarius | Streptococcus spp 3 | Streptococcus thermophilus,Streptococcus salivarius |  | Microbial Identification | 100 | BPID00333A
Streptococcus sanguinis | Streptococcus sanguinis |  | Streptococcus pseudopneumoniae,Streptococcus genomosp. | Microbial Identification | 50 | BPID00334A
Streptococcus sinensis | Streptococcus sinensis |  |  | Microbial Identification | 100 | BPID00335A
Streptococcus suis | Streptococcus suis |  |  | Microbial Identification | 20 | BPID00336A
Streptomyces bikiniensis | Streptomyces bikiniensis |  |  | Microbial Identification | 50 | BPID00337A
Streptomyces griseus | Streptomyces spp 1 | Streptomyces mediolani,Streptomyces microflavus,Streptomyces anulatus,Streptomyces parvus,Streptomyces finlayi,Streptomyces griseus |  | Microbial Identification | 40 | BPID00338A
Streptomyces somaliensis | Streptomyces spp 2 | Streptomyces albidoflavus,Streptomyces somaliensis |  | Microbial Identification | 40 | BPID00339A
Subdoligranulum variabile | Subdoligranulum variabile |  |  | Microbial Identification | 20 | BPID00340A
Tannerella forsythia | Tannerella forsythia |  |  | Microbial Identification | 40 | BPID00341A
Treponema denticola | Treponema denticola |  |  | Microbial Identification | 20 | BPID00342A
Treponema pallidum | Treponema pallidum |  |  | Microbial Identification | 50 | BPID00343A
Treponema socranskii | Treponema socranskii |  |  | Microbial Identification | 30 | BPID00344A
Trichomonas vaginalis | Trichomonas vaginalis |  |  | Microbial Identification | 50 | BPID00345A
Turicibacter sanguinis | Turicibacter sanguinis |  |  | Microbial Identification | 20 | BPID00346A
Ureaplasma parvum | Ureaplasma parvum |  |  | Microbial Identification | 100 | BPID00347A
Ureaplasma urealyticum | Ureaplasma urealyticum |  |  | Microbial Identification | 20 | BPID00348A
Varibaculum cambriense | Varibaculum cambriense |  |  | Microbial Identification | 30 | BPID00349A
Veillonella dispar | Veillonella dispar |  |  | Microbial Identification | 100 | BPID00350A
Veillonella parvula | Veillonella parvula |  | Veillonella dispar | Microbial Identification | 50 | BPID00351A
Vibrio alginolyticus | Vibrio alginolyticus |  | Vibrio campbellii,Vibrio harveyi,Vibrio orientalis,Vibrio rotiferianus,Vibrio parahaemolyticus | Microbial Identification | 100 | BPID00352A
Vibrio cholerae | Vibrio cholerae |  |  | Microbial Identification | 30 | BPID00353A
Vibrio parahaemolyticus | Vibrio parahaemolyticus |  | Vibrio harveyi,Vibrio orientalis,Vibrio shilonii | Microbial Identification | 40 | BPID00354A
Vibrio vulnificus | Vibrio vulnificus |  | Vibrio aestuarianus | Microbial Identification | 40 | BPID00355A
Weissella confusa | Weissella confusa |  |  | Microbial Identification | 30 | BPID00356A
Yersinia enterocolitica | Yersinia enterocolitica |  |  | Microbial Identification | 100 | BPID00357A
Yersinia pestis | Yersinia spp | Yersinia pestis,Yersinia pseudotuberculosis | Yersinia rohdei | Microbial Identification | 100 | BPID00358A
bacinfo name | label | bacinfo descr. exact match | May detect |  | Sensitivity | #N/A
badA | badA | Surface protein/Bartonella adhesin | Bartonella henselae | virulence factor gene | 30 | BPVF00453A
bepB | bepB | BepB protein | Bartonella henselae | virulence factor gene | 30 | BPVF00454A
ptxA | ptxA | pertussis toxin subunit 1 precursor | Bordetella pertussis | virulence factor gene | 20 | BPVF00455A
wbkA | wbkA | mannosyltransferase | Brucella canis,Brucella ovis,Brucella suis,Brucella pinnipedialis,Brucella microti,Brucella abortus,Brucella melitensis | virulence factor gene | 40 | BPVF00456A
wzt | wzt | O-antigen export system ATP-binding protein | Brucella canis,Brucella ovis,Brucella suis,Brucella pinnipedialis,Brucella microti,Brucella melitensis | virulence factor gene | 30 | BPVF00457A
flhA | flhA | flagellar biosynthesis protein | Campylobacter jejuni | virulence factor gene | 30 | BPVF00458A
fliF | fliF | flagellar M-ring protein | Campylobacter jejuni | virulence factor gene | 20 | BPVF00459A
waaC | waaC | putative lipopolysaccharide heptosyltransferase | Campylobacter jejuni | virulence factor gene | 20 | BPVF00460A
pkn5 | pkn5 | S/T Protein Kinase | Chlamydia trachomatis | virulence factor gene | 100 | BPVF00461A
CT456 | CT456 | type III translocated protein | Chlamydia trachomatis | virulence factor gene | 20 | BPVF00462A
tcdB | tcdB | toxin B | Clostridium difficile | virulence factor gene | 30 | BPVF00463A
tcdA | tcdA | toxin A | Clostridium difficile | virulence factor gene | 20 | BPVF00464A
cloSI | cloSI | alpha-clostripain | Clostridium perfringens | virulence factor gene | 20 | BPVF00465A
spaA | spaA | Putative surface-anchored fimbrial subunit | Corynebacterium diphtheriae | virulence factor gene | 20 | BPVF00466A
spaB | spaB | Putative surface anchored protein | Corynebacterium diphtheriae | virulence factor gene | 20 | BPVF00467A
ace (E. faecalis) | ace (E. faecalis) | collagen adhesin protein | Enterococcus faecalis | virulence factor gene | 40 | BPVF00468A
efaA | efaA | endocarditis specific antigen | Enterococcus faecalis | virulence factor gene | 20 | BPVF00469A
aslA | aslA | putative arylsulfatase | Escherichia fergusonii,Escherichia coli | virulence factor gene | 20 | BPVF00470A
chuS | chuS | Putative heme/hemoglobin transport protein | Escherichia coli | virulence factor gene | 20 | BPVF00471A
eae | eae | intimin adherence protein | Escherichia coli | virulence factor gene | 30 | BPVF00472A
stx2A | stx2A | shiga-like toxin II A subunit encoded by bacteriophage BP-933W | Escherichia coli | virulence factor gene | 20 | BPVF00473A
stx1B | stx1B | shiga-like toxin 1 subunit B encoded within prophage CP-933V | Escherichia coli,Shigella dysenteriae | virulence factor gene | 20 | BPVF00474A
hap | hap | adhesion and penetration protein | Haemophilus influenzae | virulence factor gene | 40 | BPVF00475A
tbpA | tbpA | transferrin-binding protein 1 precursor | Haemophilus influenzae | virulence factor gene | 20 | BPVF00476A
flaB | flaB | flagellin B (flaB) | Helicobacter pylori | virulence factor gene | 30 | BPVF00477A
oipA | oipA | outer membrane protein | Helicobacter pylori | virulence factor gene | 30 | BPVF00478A
flgG | flgG | flagellar basal-body rod protein (flgG) | Helicobacter pylori | virulence factor gene | 20 | BPVF00479A
ureA | ureA | urease alpha subunit (ureA) (urea amidohydrolase) | Helicobacter pylori | virulence factor gene | 30 | BPVF00480A
ureI | ureI | urease accessory protein (ureI) | Helicobacter pylori | virulence factor gene | 20 | BPVF00481A
icmK | icmK | IcmK (DotH) | Legionella pneumophila | virulence factor gene | 20 | BPVF00482A
lepA | lepA | LepA, interaptin | Legionella pneumophila | virulence factor gene | 30 | BPVF00483A
rpoS | rpoS | rpoS | Legionella pneumophila | virulence factor gene | 20 | BPVF00484A
htpB | htpB | htpB | Legionella pneumophila | virulence factor gene | 30 | BPVF00485A
plcA | plcA | phosphatidylinositol-specific phospholipase c | Listeria monocytogenes | virulence factor gene | 20 | BPVF00486A
iap | iap | P60 extracellular protein, invasion associated protein Iap | Listeria monocytogenes | virulence factor gene | 20 | BPVF00487A
InlA | InlA | Internalin A | Listeria monocytogenes | virulence factor gene | 20 | BPVF00488A
bsh | bsh | bile salt hydrolase | Listeria monocytogenes | virulence factor gene | 20 | BPVF00489A
clpC | clpC | endopeptidase Clp ATP-binding chain C | Listeria monocytogenes | virulence factor gene | 20 | BPVF00490A
mbtA | mbtA | mbtA | Mycobacterium bovis,Mycobacterium tuberculosis,Mycobacterium africanum,Mycobacterium canettii | virulence factor gene | 30 | BPVF00491A
mbtD | mbtD | mbtD | Mycobacterium bovis,Mycobacterium tuberculosis,Mycobacterium africanum,Mycobacterium canettii | virulence factor gene | 20 | BPVF00492A
mbtE | mbtE | mbtE | Mycobacterium bovis,Mycobacterium tuberculosis,Mycobacterium africanum,Mycobacterium canettii | virulence factor gene | 20 | BPVF00493A
lbpA | lbpA | lactoferrin-binding protein A | Neisseria meningitidis,Neisseria lactamica,Neisseria gonorrhoeae | virulence factor gene | 100 | BPVF00494A
pilG | pilG | pilus assembly protein PilG | Neisseria meningitidis | virulence factor gene | 30 | BPVF00495A
fleN | fleN | flagellar synthesis regulator FleN | Pseudomonas aeruginosa | virulence factor gene | 30 | BPVF00496A
flgK | flgK | flagellar hook-associated protein 1 FlgK | Pseudomonas aeruginosa | virulence factor gene | 30 | BPVF00497A
fliG | fliG | flagellar motor switch protein FliG | Pseudomonas aeruginosa | virulence factor gene | 20 | BPVF00498A
fliN | fliN | flagellar motor switch protein FliN | Pseudomonas aeruginosa | virulence factor gene | 30 | BPVF00499A
lasI | lasI | autoinducer synthesis protein LasI | Pseudomonas aeruginosa | virulence factor gene | 20 | BPVF00500A
invA | invA | invasion protein | Salmonella enterica | virulence factor gene | 20 | BPVF00501A
fimH | fimH | minor fimbrial subunit | Salmonella enterica | virulence factor gene | 40 | BPVF00502A
phoP | phoP | response regulator in two-component regulatory system with PhoQ, transcribes genes expressed under low Mg+ concentration (OmpR family) | Salmonella enterica | virulence factor gene | 200 | BPVF00503A
spaO | spaO | surface presentation of antigens; secretory proteins | Salmonella enterica | virulence factor gene | 20 | BPVF00504A
spaP | spaP | surface presentation of antigens; secretory proteins | Salmonella enterica | virulence factor gene | 20 | BPVF00505A
stxA | stxA | Shiga toxin subunit A; RNA-N-glycosidase; catalyticsubunit | Escherichia coli,Shigella dysenteriae | virulence factor gene | 20 | BPVF00506A
stxB | stxB | Shiga toxin subunit B; receptor binding subunit | Escherichia coli,Shigella dysenteriae | virulence factor gene | 20 | BPVF00507A
iucA | iucA | IucA | Shigella flexneri,Shigella sonnei,Escherichia coli,Shigella boydii | virulence factor gene | 20 | BPVF00508A
iucB | iucB | IucB | Shigella flexneri,Shigella sonnei,Escherichia coli,Shigella boydii | virulence factor gene | 20 | BPVF00509A
iucC | iucC | IucC | Shigella flexneri,Shigella sonnei,Escherichia coli,Shigella boydii | virulence factor gene | 30 | BPVF00510A
iucD | iucD | IucD | Shigella boydii | virulence factor gene | 30 | BPVF00511A
iutA | iutA | IutA | Shigella flexneri,Shigella sonnei,Escherichia coli,Shigella boydii | virulence factor gene | 20 | BPVF00512A
hla | hla | Alpha-Hemolysin precursor | Staphylococcus aureus | virulence factor gene | 20 | BPVF00513A
hlb | hlb | beta-hemolysin | Staphylococcus aureus | virulence factor gene | 20 | BPVF00514A
hlgB | hlgB | gamma-hemolysin component B | Staphylococcus aureus | virulence factor gene | 30 | BPVF00515A
hlgC | hlgC | gamma-hemolysin component C | Staphylococcus aureus | virulence factor gene | 20 | BPVF00516A
lukF | lukF | Panton-Valentine leukocidin chain F precursor | Staphylococcus aureus | virulence factor gene | 20 | BPVF00517A
spa | spa | Immunoglobulin G binding protein A precursor | Staphylococcus aureus | virulence factor gene | 200 | BPVF00518A
neuC | neuC | UDP-N-acetylglucosamine-2-epimerase NeuC | Streptococcus agalactiae | virulence factor gene | 20 | BPVF00519A
cpsL | cpsL | polysaccharide biosynthesis protein CpsL | Streptococcus agalactiae | virulence factor gene | 40 | BPVF00520A
ply | ply | pneumolysin | Streptococcus pneumoniae | virulence factor gene | 30 | BPVF00521A
lytA | lytA | autolysin | Streptococcus pneumoniae | virulence factor gene | 20 | BPVF00522A
speB | speB | pyrogenic exotoxin B | Streptococcus pyogenes | virulence factor gene | 20 | BPVF00523A
slo | slo | streptolysin O precursor | Streptococcus dysgalactiae,Streptococcus pyogenes | virulence factor gene | 20 | BPVF00524A
clpB | clpB | clpB protein | Vibrio cholerae | virulence factor gene | 20 | BPVF00525A
vasH | vasH | sigma-54 dependent transcriptional regulator | Vibrio cholerae | virulence factor gene | 30 | BPVF00526A
ace (V. cholerae) | ace (V. cholerae) | accessory cholera enterotoxin | Vibrio cholerae | virulence factor gene | 20 | BPVF00527A
ctxA | ctxA | cholera enterotoxin, A subunit | Vibrio cholerae | virulence factor gene | 20 | BPVF00528A
zot | zot | zona occludens toxin | Vibrio cholerae | virulence factor gene | 30 | BPVF00529A
fliC2 | fliC2 | flagellin | Yersinia enterocolitica | virulence factor gene | 20 | BPVF00530A
fliA | fliA | RNA polymerase sigma factor for flagellar operon | Yersinia enterocolitica | virulence factor gene | 20 | BPVF00531A
YE2522 | YE2522 | thermoregulated motility protein | Yersinia enterocolitica | virulence factor gene | 200 | BPVF00532A
ystA | ystA | enterotoxin | Yersinia enterocolitica | virulence factor gene | 20 | BPVF00533A
inv | inv | In vitro mammalian cells invasion | Yersinia enterocolitica | virulence factor gene | 100 | BPVF00534A
psaC | psaC | outer membrane usher protein PsaC precursor | Yersinia pseudotuberculosis,Yersinia pestis | virulence factor gene | 100 | BPVF00535A
psaA | psaA | pH 6 antigen precursor (antigen 4) (adhesin) | Yersinia pseudotuberculosis,Yersinia pestis | virulence factor gene | 40 | BPVF00536A
ail | ail | attachment invasion locus protein | Yersinia pseudotuberculosis,Yersinia pestis | virulence factor gene | 30 | BPVF00537A
ybtT | ybtT | yersiniabactin biosynthetic protein YbtT | Yersinia pseudotuberculosis,Yersinia pestis | virulence factor gene | 20 | BPVF00538A
psaB | psaB | chaperone protein PsaB precursor | Yersinia pseudotuberculosis,Yersinia pestis | virulence factor gene | 20 | BPVF00539A
Gene name | Gene name | Antibiotic classification | Also detects |  | Sensitivity | #N/A
AAC(6)-Ib-cr | AAC(6)-Ib-cr | Fluoroquinolone resistance |  | antibiotic resistance gene | 100 | BPAR00366A
aacC1 | aacC1 | Aminoglycoside-resistance |  | antibiotic resistance gene | 50 | BPAR00367A
aacC2 | aacC2 | Aminoglycoside-resistance |  | antibiotic resistance gene | 30 | BPAR00368A
aacC4 | aacC4 | Aminoglycoside-resistance |  | antibiotic resistance gene | 20 | BPAR00369A
aadA1 | aadA1 | Aminoglycoside-resistance |  | antibiotic resistance gene | 200 | BPAR00370A
aadB | aadB | Aminoglycoside-resistance |  | antibiotic resistance gene | 20 | BPAR00371A
aphA1 | aphA1 | Aminoglycoside-resistance |  | antibiotic resistance gene | 30 | BPAR00372A
aphA6 | aphA6 | Aminoglycoside-resistance |  | antibiotic resistance gene | 40 | BPAR00373A
mecA | mecA | Beta-lactam resistance |  | antibiotic resistance gene | 40 | BPAR00374A
BES-1 | BES-1 | Class A beta-lactamase |  | antibiotic resistance gene | 20 | BPAR00375A
BIC-1 | BIC-1 | Class A beta-lactamase |  | antibiotic resistance gene | 100 | BPAR00376A
CTX-M-1 Group | CTX-M-1 Group | Class A beta-lactamase | Detects CTX-M-1 type (37 variants) | antibiotic resistance gene | 50 | BPAR00377A
CTX-M-8 Group | CTX-M-8 Group | Class A beta-lactamase | Detects CTX-M-8 type (3 variants) | antibiotic resistance gene | 40 | BPAR00378A
CTX-M-9 Group | CTX-M-9 Group | Class A beta-lactamase | Detects CTX-M-9 type (40 variants) | antibiotic resistance gene | 30 | BPAR00379A
GES | GES | Class A beta-lactamase | GES,IBC | antibiotic resistance gene | 20 | BPAR00380A
IMI & NMC-A | IMI & NMC-A | Class A beta-lactamase | NMC-A,IMI-2,IMI-3 | antibiotic resistance gene | 30 | BPAR00381A
KPC | KPC | Class A beta-lactamase | KPC-1,KPC-2,KPC-3,KPC-4,KPC-5,KPC-6,KPC-7,KPC-8,KPC-9,KPC-10,KPC-11 | antibiotic resistance gene | 40 | BPAR00382A
Per-1 group | Per-1 group | Class A beta-lactamase | Per-1,Per-3,Per-4,Per-5 | antibiotic resistance gene | 30 | BPAR00383A
Per-2 group | Per-2 group | Class A beta-lactamase | Per-2,Per-6 | antibiotic resistance gene | 50 | BPAR00384A
SFC-1 | SFC-1 | Class A beta-lactamase |  | antibiotic resistance gene | 50 | BPAR00385A
SFO-1 | SFO-1 | Class A beta-lactamase |  | antibiotic resistance gene | 20 | BPAR00386A
SHV | SHV | Class A beta-lactamase |  | antibiotic resistance gene | 200 | BPAR00387A
SHV(156D) | SHV(156D) | Class A beta-lactamase |  | antibiotic resistance gene | 100 | BPAR00388A
SHV(156G) | SHV(156G) | Class A beta-lactamase |  | antibiotic resistance gene | 50 | BPAR00389A
SHV(238G240E) | SHV(238G240E) | Class A beta-lactamase |  | antibiotic resistance gene | 30 | BPAR00390A
SHV(238G240K) | SHV(238G240K) | Class A beta-lactamase |  | antibiotic resistance gene | 40 | BPAR00391A
SHV(238S240E) | SHV(238S240E) | Class A beta-lactamase |  | antibiotic resistance gene | 50 | BPAR00392A
SHV(238S240K) | SHV(238S240K) | Class A beta-lactamase |  | antibiotic resistance gene | 30 | BPAR00393A
SME | SME | Class A beta-lactamase | SME-1,SME-2,SME-3 | antibiotic resistance gene | 30 | BPAR00394A
TLA-1 | TLA-1 | Class A beta-lactamase |  | antibiotic resistance gene | 50 | BPAR00395A
VEB | VEB | Class A beta-lactamase | VEB-1,VEB-2,VEB-3,VEB-4,VEB-5,VEB-6,VEB-7 | antibiotic resistance gene | 20 | BPAR00396A
ccrA | ccrA | Class B beta-lactamase |  | antibiotic resistance gene | 30 | BPAR00397A
IMP-1 group | IMP-1 group | Class B beta-lactamase | IMP-1,IMP-3,IMP-4,IMP-6,IMP-10,IMP-25,IMP-26 | antibiotic resistance gene | 50 | BPAR00398A
IMP-12 group | IMP-12 group | Class B beta-lactamase | IMP-12,IMP-14,IMP-16,IMP-18 | antibiotic resistance gene | 200 | BPAR00399A
IMP-2 group | IMP-2 group | Class B beta-lactamase | IMP-2,IMP-8,IMP-11,IMP-19,IMP-20,IMP-21,IMP-24 | antibiotic resistance gene | 30 | BPAR00400A
IMP-5 group | IMP-5 group | Class B beta-lactamase | IMP-5,IMP-7,IMP-9,IMP-13,IMP-15,IMP-22 | antibiotic resistance gene | 200 | BPAR00401A
NDM | NDM | Class B beta-lactamase | NDM-1,NDM-2 | antibiotic resistance gene | 50 | BPAR00402A
VIM-1 group | VIM-1 group | Class B beta-lactamase | VIM-1,VIM-2,VIM-3,VIM-4,VIM-5,VIM-6,VIM-8,VIM-9,VIM-10,VIM-11,VIM-12,VIM-14,VIM-15,VIM-16,VIM-17,VIM-18,VIM-19,VIM-20,VIM-23,VIM-24,VIM-25,VIM-26 | antibiotic resistance gene | 50 | BPAR00403A
VIM-13 | VIM-13 | Class B beta-lactamase | VIM-13 (28 variants) | antibiotic resistance gene | 20 | BPAR00404A
VIM-7 | VIM-7 | Class B beta-lactamase |  | antibiotic resistance gene | 40 | BPAR00405A
ACC-1 group | ACC-1 group | Class C beta-lactamase | ACC-1,ACC-2,ACC-4 | antibiotic resistance gene | 100 | BPAR00406A
ACC-3 | ACC-3 | Class C beta-lactamase |  | antibiotic resistance gene | 30 | BPAR00407A
ACT 5/7 group | ACT 5/7 group | Class C beta-lactamase | ACT-5,ACT-7 | antibiotic resistance gene | 30 | BPAR00408A
ACT-1 group | ACT-1 group | Class C beta-lactamase | ACT-1,ACT-2,ACT-3,ACT-4,ACT-6 | antibiotic resistance gene | 100 | BPAR00409A
CFE-1 | CFE-1 | Class C beta-lactamase |  | antibiotic resistance gene | 50 | BPAR00410A
CMY-10 Group | CMY-10 Group | Class C beta-lactamase | CMY-1,CMY-8,CMY-9,CMY-10,CMY-19 | antibiotic resistance gene | 30 | BPAR00411A
DHA | DHA | Class C beta-lactamase | DHA-1,DHA-2,DHA-3,DHA-5,DHA-6,DHA-7 | antibiotic resistance gene | 20 | BPAR00412A
FOX | FOX | Class C beta-lactamase | FOX-1,FOX-2,FOX-3,FOX-4,FOX-5,FOX-6,FOX-7 | antibiotic resistance gene | 100 | BPAR00413A
LAT | LAT | Class C beta-lactamase | LAT-1,LAT-3,LAT-4,CMY-2 group | antibiotic resistance gene | 100 | BPAR00414A
MIR | MIR | Class C beta-lactamase | MIR-1,MIR-2,MIR-3,MIR-4,MIR-5 | antibiotic resistance gene | 30 | BPAR00415A
MOX | MOX | Class C beta-lactamase | MOX-1,MOX-2,MOX-3,MOX-4,MOX-5,MOX-6,MOX-7 | antibiotic resistance gene | 30 | BPAR00416A
OXA-10 Group | OXA-10 Group | Class D beta-lactamase | OXA-10,OXA-11,OXA-14,OXA-16,OXA-17,OXA-19,OXA-28,OXA-35,OXA-142,OXA-145,OXA-147 | antibiotic resistance gene | 20 | BPAR00417A
OXA-18 | OXA-18 | Class D beta-lactamase |  | antibiotic resistance gene | 30 | BPAR00418A
OXA-2 Group | OXA-2 Group | Class D beta-lactamase | OXA-2,OXA-15,OXA-32,OXA-34,OXA-141,OXA-161 | antibiotic resistance gene | 40 | BPAR00419A
OXA-23 Group | OXA-23 Group | Class D beta-lactamase | OXA-23,OXA-27,OXA-49,OXA-73,OXA-133,OXA-146,OXA-165,OXA-166,OXA-167,OXA-168,OXA-169,OXA-170,OXA-171 | antibiotic resistance gene | 50 | BPAR00420A
OXA-24 Group | OXA-24 Group | Class D beta-lactamase | OXA-24,OXA-25,OXA-26,OXA-40,OXA-72,OXA-139,OXA-160 | antibiotic resistance gene | 20 | BPAR00421A
OXA-45 | OXA-45 | Class D beta-lactamase |  | antibiotic resistance gene | 100 | BPAR00422A
OXA-48 Group | OXA-48 Group | Class D beta-lactamase | OXA-48,OXA-162,OXA-163,OXA-181 | antibiotic resistance gene | 50 | BPAR00423A
OXA-50 Group | OXA-50 Group | Class D beta-lactamase | OXA-50 group (50 variants) | antibiotic resistance gene | 20 | BPAR00424A
OXA-51 Group | OXA-51 Group | Class D beta-lactamase | OXA-51 group (65 variants) | antibiotic resistance gene | 100 | BPAR00425A
OXA-54 | OXA-54 | Class D beta-lactamase |  | antibiotic resistance gene | 20 | BPAR00426A
OXA-55 | OXA-55 | Class D beta-lactamase | OXA-55,OXA-SH | antibiotic resistance gene | 30 | BPAR00427A
OXA-58 Group | OXA-58 Group | Class D beta-lactamase | OXA-58,OXA-96,OXA-97,OXA-164 | antibiotic resistance gene | 20 | BPAR00428A
OXA-60 | OXA-60 | Class D beta-lactamase | OXA-60,OXA-60a,OXA-60b,OXA-60c | antibiotic resistance gene | 30 | BPAR00429A
OXA-62 | OXA-62 | Class D beta-lactamase |  | antibiotic resistance gene | 50 | BPAR00430A
ereB | ereB | Erythromycin resistance |  | antibiotic resistance gene | 20 | BPAR00431A
QepA | QepA | Fluoroquinolone resistance | QepA1,QepA2 | antibiotic resistance gene | 50 | BPAR00432A
QnrA | QnrA | Fluoroquinolone resistance | QnrA1,QnrA2,QnrA3,QnrA4,QnrA5,QnrA6,QnrA7 | antibiotic resistance gene | 40 | BPAR00433A
QnrB-1 group | QnrB-1 group | Fluoroquinolone resistance | QnrB1,QnrB2,QnrB3,QnrB6,QnrB7,QnrB9,QnrB13,QnrB14,QnrB15,QnrB16,QnrB17,QnrB18,QnrB20,QnrB23,QnrB24,QnrB29,QnrB30 | antibiotic resistance gene | 20 | BPAR00434A
QnrB-31 group | QnrB-31 group | Fluoroquinolone resistance | QnrB31,QnrB32 | antibiotic resistance gene | 20 | BPAR00435A
QnrB-4 group | QnrB-4 group | Fluoroquinolone resistance | QnrB4,QnrB11,QnrB12,QnrB22 | antibiotic resistance gene | 30 | BPAR00436A
QnrB-5 group | QnrB-5 group | Fluoroquinolone resistance | QnrB5,QnrB10,QnrB19 | antibiotic resistance gene | 40 | BPAR00437A
QnrB-8 group | QnrB-8 group | Fluoroquinolone resistance | QnrB8,QnrB21,QnrB25,QnrB27,QnrB28 | antibiotic resistance gene | 20 | BPAR00438A
QnrC | QnrC | Fluoroquinolone resistance |  | antibiotic resistance gene | 30 | BPAR00439A
QnrD | QnrD | Fluoroquinolone resistance |  | antibiotic resistance gene | 40 | BPAR00440A
QnrS | QnrS | Fluoroquinolone resistance | QnrS1,QnrS2,QnrS3,QnrS4 | antibiotic resistance gene | 40 | BPAR00441A
ermA | ermA | Macrolide Lincosamide Streptogramin_b |  | antibiotic resistance gene | 100 | BPAR00442A
ermB | ermB | Macrolide Lincosamide Streptogramin_b |  | antibiotic resistance gene | 20 | BPAR00443A
ermC | ermC | Macrolide Lincosamide Streptogramin_b |  | antibiotic resistance gene | 100 | BPAR00444A
mefA | mefA | Macrolide Lincosamide Streptogramin_b |  | antibiotic resistance gene | 100 | BPAR00445A
msrA | msrA | Macrolide Lincosamide Streptogramin_b |  | antibiotic resistance gene | 100 | BPAR00446A
oprj | oprj | Multidrug resistance efflux pump |  | antibiotic resistance gene | 50 | BPAR00447A
oprm | oprm | Multidrug resistance efflux pump |  | antibiotic resistance gene | 20 | BPAR00448A
tetA | tetA | Tetracycline efflux pump |  | antibiotic resistance gene | 40 | BPAR00449A
tetB | tetB | Tetracycline efflux pump |  | antibiotic resistance gene | 30 | BPAR00450A
vanB | vanB | Vancomycin resistance |  | antibiotic resistance gene | 100 | BPAR00451A
vanC | vanC | Vancomycin resistance |  | antibiotic resistance gene | 30 | BPAR00452A
Hs/Mm.GAPDH | [5 empty] | BPCL00363A
Hs/Mm.HBB1 | [5 empty] | BPCL00364A
Pan Aspergillus/Candida | [5 empty] | BPCL00359A
Pan Bacteria 1 | [5 empty] | BPCL00360A
Pan Bacteria 3 | [5 empty] | BPCL00362A
PPC | [5 empty] | BPCL00365A

## Assays (hidden)
Species/Gene
Actinomyces gerencseriae
Actinomyces israelii
Aeromonas hydrophila
Akkermansia muciniphila
Arcobacter butzleri
Arcobacter skirrowii
Bacteroides thetaiotaomicron
Bacteroides vulgatus
Bifidobacterium adolescentis
Bifidobacterium dentium
Bifidobacterium longum
Campylobacter jejuni
Campylobacter upsaliensis
Catellicoccus marimammalium
Citrobacter freundii
Clostridium difficile
Clostridium perfringens
Clostridium septicum
Desulfovibrio desulfuricans
Desulfovibrio vulgaris
Enterococcus casseliflavus
Enterococcus faecalis
Enterococcus faecium
eae
stx2A
stxA
Helicobacter pylori
Lactobacillus gasseri
Legionella pneumophila
Listeria monocytogenes
Morganella morganii
Mycobacterium avium
Mycobacterium intracellulare
Ruminococcus bromii
Ruminococcus obeum
Salmonella enterica
Shigella dysenteriae
Staphylococcus aureus
Streptococcus agalactiae
Streptococcus suis
Vibrio cholerae
Vibrio parahaemolyticus
Vibrio vulnificus
Yersinia enterocolitica
Yersinia pestis
Pan Bacteria 1
Pan Bacteria 3
PPC
Actinomyces gerencseriae
Actinomyces israelii
Aeromonas hydrophila
Akkermansia muciniphila
Arcobacter butzleri
Arcobacter skirrowii
Bacteroides thetaiotaomicron
Bacteroides vulgatus
Bifidobacterium adolescentis
Bifidobacterium dentium
Bifidobacterium longum
Campylobacter jejuni
Campylobacter upsaliensis
Catellicoccus marimammalium
Citrobacter freundii
Clostridium difficile
Clostridium perfringens
Clostridium septicum
Desulfovibrio desulfuricans
Desulfovibrio vulgaris
Enterococcus casseliflavus
Enterococcus faecalis
Enterococcus faecium
eae
stx2A
stxA
Helicobacter pylori
Lactobacillus gasseri
Legionella pneumophila
Listeria monocytogenes
Morganella morganii
Mycobacterium avium
Mycobacterium intracellulare
Ruminococcus bromii
Ruminococcus obeum
Salmonella enterica
Shigella dysenteriae
Staphylococcus aureus
Streptococcus agalactiae
Streptococcus suis
Vibrio cholerae
Vibrio parahaemolyticus
Vibrio vulnificus
Yersinia enterocolitica
Yersinia pestis
Pan Bacteria 1
Pan Bacteria 3
PPC